CERTIFICATE OF COMPLIANCE

This document is used to demonstrate compliance with requirements in §110.9, §130.0, §130.2, §140.7, and §141.0(b)2L for outdoor lighting scopes using the prescriptive path for nonresidential and hotel/motel occupancies. It is also used to document compliance with requirements in §160.5, §170.2(e)6, §180.1(a) and §180.2(b)4Bv for outdoor lighting scopes using the prescriptive path for multifamily and mixed-use occupancies. Multifamily includes dormitory and senior living facilities.

| Project Name: | Enforcement Agency: |
| --- | --- |
| Dwelling Address: | Permit Number: |
| City and Zip Code: | Date Permit Issued: |

| A. GENERAL INFORMATION |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Project Location (city) |  |  |  |  | 04 | Total Illuminated Hardscape Area (ft2) |  |  |  |  |
| 02 | Climate Zone |  |  |  |  |  |  |  |  |  |  |
| 03 | Outdoor Lighting Zone per Title 24, Part 1 §10-114 or as designated by Authority Having Jurisdiction (AHJ): |  |  |  |  |  |  |  |  |  |
| ¨ | LZ-0: Very Low- Undeveloped Parkland |  |  | ¨ | LZ-2: Moderate- Urban Clusters | ¨ | LZ-4: High-Must be reviewed by CA Energy Commission for Approval |  |  |  |
| ¨ | LZ-1: Low- Rural Areas |  |  | ¨ | LZ-3: Moderately High- Urban Areas |  |  |  |  |  |
| 05 | Occupancy Types within Project: |  |  |  |  |  |  |  |  |  |
| ¨ | Office | ¨ | High-Rise Residential Multifamily/ MF Mixed-use >= 4 stories (includes dormitory, senior living) |  |  | ¨ | School | ¨ |  | Warehouse |
| ¨ | Parking Garage | ¨ | Retail |  |  | ¨ | Hotel/Motel | ¨ |  | Healthcare |  |  |

| B. PROJECT SCOPE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table includes outdoor lighting systems that are within the scope of the permit application and are demonstrating compliance using the prescriptive path outlined in §140.7/§170.2(e)6 or §141.0(b)2L/§180.2(b)4Bv for alterations. |  |  |  |  |  |  |  |  |
| My project consists of: |  |  |  |  |  |  |  |  |
| 01 |  |  |  | 02 |  |  |  |  |
| ¨ | New Lighting System |  |  | Must Comply with Allowances from §140.7/§170.2(e)6. |  |  |  |  |
| ¨ | Altered Lighting System |  |  | Is your alteration increasing the connected lighting load (Watts)? |  |  | o Yes | o No |
| 03 |  |  |  |  | 04 | 05 |  |  |
| % of Existing Luminaires Being Altered1 |  |  |  |  | Sum Total of Luminaires Being Added or Altered | Calculation Method |  |  |
| o < 10% |  | o ≥ 10% and < 50% | o ≥ 50% |  |  |  |  |  |
| Please proceed to Table F. Outdoor Lighting Fixture Schedule to define the project's luminaires. |  |  |  |  |  |  |  |  |
| 1 FOOTNOTES: % of Existing Luminaires Being Altered = (Sum Total of Luminaires Being Added or Altered / Existing Luminaires within the Scope of the Permit Application) x 100 |  |  |  |  |  |  |  |  |

| C. COMPLIANCE RESULTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Results in this table are automatically calculated from data input and calculations in Tables G through N. Note: If any cell on this table says "COMPLIES with Exceptional Conditions" refer to Table D. Exceptional Conditions for guidance or see the applicable Table referenced below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Calculation of Total Allowed Lighting Power (Watts) §140.7/§170.2(e)6 or §141.0(b)2L/§180.2(b)4Bv |  |  |  |  |  |  |  |  |  |  |  | Compliance Results |  |  |  |
| 01 | + | 02 | + | 03 | + | 04 | + | 05 | OR | 06 | = | 07 | > | 08 | 09 |
| General Hardscape Allowance §140.7(d)1/ §170.2(e)6 |  | Per Application §140.7(d)2/ §170.2(e)6 |  | Sales Frontage §140.7(d)2 |  | Ornamental §140.7(d)2/ §170.2(e)6 |  | Per Specific Area §140.7(d)2/ §170.2(e)6 |  | Existing Power Allowance §141.0(b)2L/ §180.2(b)4Bv |  | Total Allowed (Watts) |  | Total Actual (Watts) | 07 Must be > 08 |
| (See Table I) |  | (See Table J) |  | (See Table K) |  | (See Table L) |  | (See Table M) |  | (See Table N) |  |  |  | (See Table F) |  |
|  | + |  | + |  | + |  | + |  | OR |  | = |  | > |  | COMPLIES or DOES NOT COMPLY |
| Shielding Compliance (See Table G for Details) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | "COMPLIES" or "DOES NOT COMPLY" or "Not Applicable" |
| Controls Compliance (See Table H for Details) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | "COMPLIES with Exceptional Conditions" or "COMPLIES" or "DOES NOT COMPLY" |

D. EXCEPTIONAL CONDITIONS

This table is auto-filled with uneditable comments because of selections made or data entered in tables throughout the form.

E. ADDITIONAL REMARKS

This table includes remarks made by the permit applicant to the Authority Having Jurisdiction.

| F. OUTDOOR LIGHTING FIXTURE SCHEDULE |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| For new or altered lighting systems demonstrating compliance with §140.7/§170.2(e)6 all luminaires being installed, and any existing luminaires remaining or being moved within the spaces covered by the permit application are included in the Table below. For altered lighting systems using the Existing Power method per §141.0(b)2L, only new luminaires being installed, and replacement luminaires being installed as part of the project scope are included (ie, existing luminaires remaining, or existing luminaires being moved are not included). Outdoor lighting attached to multifamily buildings and controlled from the inside of a dwelling unit are included in Table H. and are not included here. All other multifamily outdoor lighting is included here. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Designed Wattage: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 | 02 |  | 03 | 04 | 05 |  | 06 |  | 07 | 08 | 09 | 10 |  |
| Name or Item Tag | Complete Luminaire Description |  | Watts per luminaire1, 2 | How Wattage is Determined | Total Number Luminaires2 |  | Luminaire Status3 |  | Excluded per §140.7(a)/ §170.2(e)6A | Design Watts | Cutoff Req. ≥ 6,200 initial lumen output §130.2(b)/§160.5(c)14 | Field Inspector |  |
|  |  |  |  |  |  |  |  |  |  |  |  | Pass | Fail |
|  |  | o Linear |  |  |  |  |  |  | o |  |  | o | o |
|  |  |  |  |  |  |  |  | Total Designed Watts: |  |  |  |  |  |
| * NOTES: Selections with a * require a note in the space below explaining how compliance is achieved. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EX: Luminaire is lighting a statue; EXCEPTION 2 to §130.2(b). |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If the users select options with a *, the Name or Item Tag (uneditable) should show up in Notes section. If users unselect options with a *, the note should disappear. |  | This box should work just like the one on the indoor lighting form except the text in the notes box when it's triggered should read "Explain here why item with asterisk complies" |  |  |  |  |  |  |  |  |  |  |  |
| 1 FOOTNOTES: Authority Having Jurisdiction may ask for Luminaire cut sheets to confirm wattage used for compliance per §130.0(c)/§160.5(b). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 For linear luminaires, wattage should be indicated as W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 05 instead of number of luminaires. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 Select “New” for new luminaires in a new outdoor lighting project or for added luminaires in an alteration. Select “Altered” for replacement luminaires in an alteration. Select “Existing to Remain” for existing luminaires within the project scope that are not being altered and are remaining. Select “Existing Reinstalled” for existing luminaires which are being removed and reinstalled as part of the project scope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 Compliance with mandatory shielding requirements is required for luminaires with initial lumen output ≥ 6,200 unless exempted by §130.2(b)/§160.5(c). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| G. SHIELDING REQUIREMENTS (BUG) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table includes fixtures of ≥ 6,200 initial luminaire lumens indicated on Table F as needing to comply with Shielding Requirements. Maximum lumens can be found in Title 24, Part 11, Section 5.106.8. |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 |  |
| Name or Item Tag | Complete Luminaire Description | Backlight Rating2 |  |  | Uplight Rating 2 |  |  | Glare Rating2 |  |  | Field Inspector |  |
|  |  | Mounting Height from Property Line1 | Max Allowable Backlight Rating3 | Backlight Rating Per Design | Lighting Type | Max Allowable Uplight Rating3 | Uplight Rating Per Design | Mounting Height from Property Line1 | Max Allowable Glare Rating3 | Glare Rating Per Design | Pass | Fail |
|  |  |  |  |  |  |  |  |  |  |  | o | o |
| 1 FOOTNOTES: Mounting Height is labeled MH in this table 2 Authority having jurisdiction may ask for luminaire cut sheets or other documentation to confirm luminaire type, backlight, uplight,and glare ratings used for compliance per §130.2(b)/§160.5(c). 3 BUG ratings with a lower number than the 'Max Allowable' are compliant. Ex. If Max Allowable is Bug Rating is B4, then B0, B1, B2, B3 and B4 are all compliant. |  |  |  |  |  |  |  |  |  |  |  |  |  |

| H. OUTDOOR LIGHTING CONTROLS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| This table demonstrates compliance with controls requirements for all new or altered luminaires installed as part of the permit application. For alteration projects, luminaires which are existing to remain (ie untouched) and luminaires which are removed and reinstalled (wiring only) do not need to be included in this table even if they are within the spaces covered by the permit application. Outdoor lighting for nonresidential buildings, parking garages and common service areas in multifamily buildings must be documented separately from outdoor lighting attached to multifamily buildings and controlled from the inside of a dwelling unit. |  |  |  |  |  |
| Mandatory Controls for Nonresidential Occupancies, Parking Garages & Common Service Areas in Multifamily Buildings |  |  |  |  |  |
| 01 | 02 | 03 | 04 | 05 |  |
| Area Description | Shut-Off | Auto-Schedule | Motion Sensor | Field Inspector |  |
|  | §130.2(c)1/§160.5(c) | §130.2(c)2/§160.5(c) | §130.2(c)3/§160.5(c) | Pass | Fail |  |
|  |  |  |  | o | o |  |

| Outdoor Lighting Controlled from Inside Multifamily Dwelling Units |  |  |  |
| --- | --- | --- | --- |
| This table documents compliance with mandatory requirements for outdoor lighting attached to multifamily buildings and controlled from the inside of a dwelling unit per §160.5(a). Outdoor lighting systems in common use areas providing shared provisions for living, eating, cooking, or sanitation to dwelling units that would otherwise lack these provisions may document compliance with §160.5(a) in this table or may document compliance with outdoor lighting for nonresidential occupancies. |  |  |  |
| 01 | 02 | 03 | 04 |
| Space Name | Compliant Light Sources1,2 §160.5(a)1 | Mandatory Controls §160.5(a) | Recessed Downlights3 §160.5(a)1C |
|  |  | Shut-Off |  |
|  |  |  | i. Shall not contain screw base lamp sockets; and ii. Have a label that certifies the luminaire is airtight with air leakage less than 2.0 cfm at 75 Pascals when tested in accordance with ASTM E283. An exhaust fan housing with integral light shall not be required to be certified airtight; and iii. Be sealed with a gasket or caulk between the luminaire housing and ceiling and have all air leak paths between conditioned and unconditioned spaces sealed with a gasket or caulk,or be installed per manufacturer’s instructions to maintain airtightness between the luminaire housing and ceiling; and iv. Meet the clearance and installation requirements of California Electrical Code Section 410.116 for recessed luminaires; and v. Lamps and other separable light sources that are not compliant with the JA8 elevated temperature requirements, including marking requirements, shall not be installed in enclosed or recessed luminaires. |
| 1 FOOTNOTE: Text has been abbreviated, please refer to Table 160.5-A to confirm compliance with the specific light source technologies listed. 2 Authority having jurisdiction may ask for cutsheets or other documentation to confirm compliance of light source. 3 Recessed luminaires marked for use in fire-rated installations, and recessed luminaires installed in non-insulated ceilings are excepted from ii and iii. |  |  |  |

| I. LIGHTING POWER ALLOWANCE (per §140.7/170.2(e)) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table includes areas using the allowance calculations per §140.7/§170.2(e)6. General Hardscape Allowance is per Table 140.7-A/ Table 170.2-R while "Use it or lose it" Allowances are per Table 140.7-B/Table 170.2-S. Luminaires that qualify for one of the "Use it or lose it" allowances shall not qualify for another "Use it or lose it" allowance. Outdoor lighting attached to multifamily buildings and controlled from the inside of a dwelling unit are included in Table H. and are not included here. All other multifamily outdoor lighting is included here. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ¨ General Hardscape Allowance | "Use it or lose it" Allowances (select all that apply) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ¨ Per Application |  |  |  | ¨ Sales Frontage |  |  |  |  | ¨ Ornamental |  |  |  | ¨ Per Specific Area |  |  |  |  |
| Table I (below) | Table J |  |  |  | Table K |  |  |  |  | Table L |  |  |  | Table M |  |  |  |  |  |  |
| Calculated General Hardscape Lighting Power Allowance per Table 140.7-A for Nonresidential & Hotel/Motel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 02 |  | 03 |  | 04 |  |  |  | 05 | 06 |  | 07 |  | 08 |  |  | 09 |  |  |
| Area Description |  | Area Wattage Allowance (AWA) |  |  |  |  |  |  | Linear Wattage Allowance (LWA) |  |  |  |  |  |  | Total General AWA + LWA (Watts) |  |  |  |  |
|  |  | Illuminated Area (ft2) |  | Allowed Density (W/ft2) |  |  |  | Area Allowance (Watts) | Perimeter Length (lf) |  | Allowed Density (W/lf) |  | Linear Allowance (Watts) |  |  |  |  |  |  |  |
| 1 FOOTNOTES: Number of entrances to parking areas, trail heads, fee payment kiosks, outhouses and toilet facilities on site where lighting is within project scope. |  |  |  |  |  |  |  |  | Initial Wattage Allowance for Entire Site (Watts): |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | Instances of Initial Wattage Allowance (LZ 0 only)1 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | Total General Hardscape Allowance (Watts): |  |  |  |  |  |  | sum of col09+(IWA*instances) |  |  |  |  |
| Calculated General Hardscape Lighting Power Allowance per Table 170.2-R for Multifamily & Multifamily Mixed-Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 02 |  |  | 03 |  |  | 04 |  |  |  |  |  | 05 |  |  |  |  |  |  |
| Area Description |  |  | Area Wattage Allowance (AWA) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Illuminated Area (ft2) |  |  | Allowed Density (W/ft2) |  |  |  |  |  | Area Allowance (Watts) |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Initial Wattage Allowance for Entire Site (Watts): |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Instances of Initial Wattage Allowance (LZ 0 only)1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Total General Hardscape Allowance (Watts): |  |  |  |  |  |  |  | sum of col05 (AWA) + (G22 (IWA)*instances) |  |  |  |
| 1 FOOTNOTES: Number of entrances to parking areas, trail heads, fee payment kiosks, outhouses and toilet facilities on site where lighting is within project scope. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| J. LIGHTING ALLOWANCE: PER APPLICATION |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table includes areas using the wattage allowance per application from Table-140.7-B/Table 170.2-S. |  |  |  |  |  |  |  |  |  |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 |
| Area Description | Application per Table 140.7-B1 | CALCULATED ALLOWANCE (Watts) |  |  | DESIGN WATTS |  |  |  | Additional Allowance (Watts) |
|  |  | # of Locations | Allowance per Location (Watts)2 | Extra Allowance (Watts) | Luminaire Name or Item Tag | Watts per Luminaire3 | # of Luminaires3 | Design Watts |  |
| Total Design Watts for this Area: |  |  |  |  |  |  |  |  |  |
| Total Allowance (Watts) All Areas: |  |  |  |  |  |  |  |  |  |
| 1 FOOTNOTES: Primary entrance applications are only available for senior care facilities, healthcare facilities, police stations, hospitals, fire stations, and emergency vehicle facilities. 2 The Allowance per Location for ATMs is 100W for the first ATM and 35W for each additional per Table 140.7-B/Table 170.2-S. 3 For luminaires indicated in Table F as linear, wattage in column 07 is W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 08 instead of number of luminaires. |  |  |  |  |  |  |  |  |  |

| K. LIGHTING ALLOWANCE: SALES FRONTAGE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table includes areas using the wattage allowance for Outdoor Sales Frontage from Table-140.7-B. This allowance may be used for one or two frontage side(s) per site. |  |  |  |  |  |  |  |  |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 |
| Area Description | CALCULATED ALLOWANCE (Watts) |  |  | DESIGN WATTS |  |  |  | Additional Allowance (Watts) |
|  | Linear ft. of Sales Frontage (lf) | Allowed Density (W/lf) | Extra Allowance (Watts) | Luminaire Name or Item Tag | Watts per Luminaire1 | # of Luminaires1 | Design Watts |  |
| Total Design Watts for this Area: |  |  |  |  |  |  |  |  |
| Total Allowance (Watts) All Areas: |  |  |  |  |  |  |  |  |
| 1 FOOTNOTES: For luminaires indicated in Table F as linear, wattage in column 06 is W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 07 instead of number of luminaires. |  |  |  |  |  |  |  |  |

| L. LIGHTING ALLOWANCE: ORNAMENTAL |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table includes all ornamental luminaires within the scope of the permit application to calculate the allowance per Table 140.7-B/Table 170.2-S. |  |  |  |  |  |  |  |  |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 |
| Area Description | CALCULATED ALLOWANCE (Watts) |  |  | DESIGN WATTS |  |  |  | Additional Allowance (Watts) |
|  | Illuminated Area (ft2) | Allowed Density (W/ft2) | Extra Allowance (Watts) | Luminaire Name or Item Tag | Watts per Luminaire1,2 | # of Luminaires2 | Design Watts |  |
|  |  |  | Total Design Watts for this Area: |  |  |  |  |  |
|  |  |  |  |  | Total Allowance (Watts) Ornamental: |  |  |  |
| 1 FOOTNOTES: Luminaires qualifying for this allowance shall be rated < 50W and shall be post-top luminaires, lanterns, pendants or chandeliers. 2 For luminaires indicated in Table F as linear, wattage in column 06 is W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 07 instead of number of luminaires. |  |  |  |  |  |  |  |  |

| M. LIGHTING ALLOWANCE: PER SPECIFIC AREA |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table includes areas using the wattage allowance per specific area type from Table 140.7-B/Table 170.2-S. More than one specific area allowance may be taken in a single project, if applicable. However, multiple specific area allowances may not be taken for the exact same area on the site. |  |  |  |  |  |  |  |  |  |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 |
| Area Description | Specific Area Type per Table 140.7-B | CALCULATED ALLOWANCE (Watts) |  |  | DESIGN WATTS |  |  |  | Additional Allowance (Watts) |
|  |  | Specific Area (ft2)1 | Allowed Density (W/ft2) | Extra Allowance (Watts) | Luminaire Name or Item Tag | Watts per Luminaire2 | # of Luminaires2 | Design Watts |  |
| 1 FOOTNOTES: See Table 140.7-B/Table 170.2-S for the rules for calculating the specific areas (ft2) for these additional lighting allowances. 2 For luminaires indicated in Table F as linear, wattage in column 07 is W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 08 instead of number of luminaires. |  |  |  |  |  | Total Design Watts for this Area: |  |  |  |
|  |  |  |  |  |  | Total Allowance (Watts) All Areas: |  |  |  |

| N. EXISTING CONDITIONS POWER ALLOWANCE (alterations only) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table includes all existing luminaires being replaced to establish the lighting power allowance per §141.0(b)2Lii, §141.0(b)2Liii or §180.2(b)4Bvb and §180.2(b)4Bvc. Existing luminaires that are remaining or being moved should NOT be included. Outdoor lighting attached to multifamily buildings and controlled from the inside of a dwelling unit are included in Table H. and are not included here. All other multifamily outdoor lighting is included here. |  |  |  |  |  |  |  |  |  |  |  |  |
| Existing Conditions Wattage: |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 | 02 |  | 03 | 04 |  |  | 05 |  |  | 06 | 07 |  |
| Name or Item Tag | Complete Luminaire Description |  | Watts per luminaire1,2 | How Wattage is Determined |  |  | # of Luminaires Being Replaced2 |  |  | Existing Watts | Field Inspector |  |
|  |  |  |  |  |  |  |  |  |  |  | Pass | Fail |
|  |  |  |  |  |  |  |  |  |  |  | o | o |
|  |  |  |  |  |  |  |  |  | Total Existing Watts: |  |  |  |
|  |  |  |  |  |  | Allowance per §141.0(b)2L/§180.2(b)4Bv: |  |  |  |  |  |  |
| * NOTES: Selections with a * require a note in the space below explaining how compliance is achieved. EX: Photograph of existing luminaire |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 FOOTNOTES: Authority Having Jurisdiction may ask for Luminaire cut sheets to confirm wattage used for compliance per §130.0(c)/§160.5(b). |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 For linear luminaires, wattage should be indicated as W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 05 instead of number of luminaires. |  |  |  |  |  |  |  |  |  |  |  |  |

| O. DECLARATION OF REQUIRED CERTIFICATES OF INSTALLATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Selections have been made based on information provided in this document. If any selections have been changed by the permit applicant, an explanation should be included in Table E. Additional Remarks. These documents must be provided to the building inspector during construction and can be found online. |  |  |  |  |
| YES | NO | Form/Title | Field Inspector |  |
|  |  |  | Pass | Fail |
| ● | m | LMCI-LTO-01-E - Must be submitted for all buildings. | o | o |

| P. DECLARATION OF REQUIRED CERTIFICATES OF ACCEPTANCE |  |  |  |  |
| --- | --- | --- | --- | --- |
| Selections have been made based on information provided in this document. If any selections have been changed by the permit applicant, an explanation should be included in Table E. Additional Remarks. These documents must be provided to the building inspector during construction and must be completed through an Acceptance Test Technician Certification Provider (ATTCP). For more information visit: http://www.energy.ca.gov/title24/attcp/providers.html. |  |  |  |  |
| YES | NO | Form/Title | Field Inspector |  |
|  |  |  | Pass | Fail |
| ● | m | LMCA-LTO-02-A - Must be submitted for all outdoor lighting controls except for alterations where controls area added to < 20 luminaires. | o | o |

| Documentation Author's Declaration Statement |  |
| --- | --- |
| - I certify that this Certificate of Compliance documentation is accurate and complete. |  |
| Documentation Author Name: | Documentation Author Signature: |
| Company: | Signature Date: |
| Address: | CEA/HERS Certification Identification (if applicable): |
| City/State/Zip: | Phone: |
| Responsible Person's Declaration statement |  |
| ### I certify the following under penalty of perjury, under the laws of the State of California: - The information provided on this Certificate of Compliance is true and correct. - I am eligible under Division 3 of the Business and Professions Code to accept responsibility for the building design or system design identified on this Certificate of Compliance (responsible designer). - The energy features and performance specifications, materials, components, and manufactured devices for the building design or system design identified on this Certificate of Compliance conform to the requirements of Title 24, Part 1 and Part 6 of the California Code of Regulations. - The building design features or system design features identified on this Certificate of Compliance are consistent with the information provided on other applicable compliance documents, worksheets, calculations, plans and specifications submitted to the enforcement agency for approval with this building permit application. - I will ensure that a completed signed copy of this Certificate of Compliance shall be made available with the building permit(s) issued for the building, and made available to the enforcement agency for all applicable inspections. I understand that a completed signed copy of this Certificate of Compliance is required to be included with the documentation the builder provides to the building owner at occupancy. |  |
| Responsible Designer Name: | Responsible Designer Signature: |
| Company : | Date Signed: |
| Address: | License: |
| City/State/Zip: | Phone: |

A. General Information

- Enter the City the project is located in.

- Enter the Climate Zone.

- Select the applicable Outdoor Lighting Zone.

- Enter the Total Illuminated Hardscape Area.

- Select the applicable Occupancy Types within the Project.

B. Project Scope

- Select whether the Lighting System is New or Altered.

- Is your alteration increasing the connected lighting load (Watts): Select Yes or No.

- Select the percent of existing luminaires being altered.

- Enter the sum total of luminaires being added or altered

- Calculation Method: Select from dropdown.

C. Compliance Results

- Results in this table are automatically calculated from data input and calculations in Tables G through N.

D. Exceptional Conditions

- This table is auto-filled with uneditable comments because of selections made or data entered in tables throughout the form.

E. Additional Remarks

Enter any notes or comments for the AHJ.

F. Outdoor Lighting Schedule

- Enter the Name or Item Tag.

- Enter a Description of the Luminaire and select if it is Linear.

- Enter the Watts per Luminaire.

- How Wattage is Determined: Select from dropdown.

- Enter the number of Luminaires

- Luminaire Status: Select from dropdown

- Check the box if luminaire is excluded from §140.7(a)/§170.2(e)6A

- This field is filled out automatically.

- Cutoff Req. ≥ 6,200 initial lumen output: Select from dropdown.

- This is a Pass or Fail checkbox for field inspector.

G. Shielding Requirement (BUG)

- This field is filled out automatically

- This field is filled out automatically

- Mounting Height from Property Line: Select from dropdown

- This field is filled out automatically.

- Enter the Backlight Rating per Design.

- Lighting Type: Select from dropdown.

- This field is filled out automatically.

- Enter the Uplight Rating per Design.

- Mounting Height from Property Line: Select from dropdown

- This field is filled out automatically.

- Enter the Glare Rating per Design.

- This is a Pass or Fail checkbox for the field inspector.

H. Outdoor Lighting Controls

Mandatory Controls for Nonresidential Occupancies, Parking Garages & Common Service Areas in Multifamily Buildings

- Enter the Area Description

- Shut-Off Controls: Select from dropdown

- Auto-schedule controls: Select from dropdown

- Motion Sensor controls: Select from dropdown.

- This is a Pass or Fail checkbox for the field inspector.

Outdoor Lighting Controlled from Inside Multifamily Dwelling Units

- Enter the Space Name.

- Compliant Light Sources: Select from dropdown.

- Shut-Off Controls: Select from dropdown.

- Recessed Downlights static text

I. Lighting Power Allowance

- Select the applicable “Use it or lose it” Allowances.

Calculated General Hardscape Lighting Power Allowance per Table 140.7-A for Nonresidential & Hotel/Motel

- Enter the Area Description.

- Enter the AWA Illuminated Area.

- This field is filled out automatically.

- This field is filled out automatically.

- Enter the LWA Perimeter Length.

- This field is filled out automatically.

- This field is filled out automatically.

- This field is filled out automatically.

Calculated General Hardscape Lighting Power Allowance per Table 140.7-A 170.2-R for Multifamily & Multifamily Mixed-Use

- Enter the Area Description.

- Enter the AWA Illuminated Area.

- This field is filled out automatically.

- This field is filled out automatically.

J. Lighting Allowance: Per Application

- Enter the Area Description.

- Application per Table 140.7-B: Select from dropdown.

- Enter the Number of Locations.

- This field is filled out automatically.

- This field is filled out automatically.

- Luminaire Name or Item Tag: Select from dropdown.

- This field is filled out automatically.

- Enter the Number of Luminaires

- This field is filled out automatically.

- This field is filled out automatically.

K. Lighting Allowance: Sales Frontage

- Enter the Area Description.

- Enter the Linear feet of Sales Frontage.

- This field is filled out automatically.

- This field is filled out automatically.

- Luminaire Name or Item Tag: Select from dropdown.

- This field is filled out automatically.

- Enter the Number of Luminaires.

- This field is filled out automatically.

- This field is filled out automatically.

L. Lighting Allowance: Ornamental

- Enter the Area Description.

- This field is filled out automatically.

- This field is filled out automatically.

- This field is filled out automatically.

- Luminaire Name or Item Tag: Select from dropdown.

- This field is filled out automatically.

- Enter the Number of Luminaires.

- This field is filled out automatically.

- This field is filled out automatically.

M. Lighting Allowance: Per Specific Area

- Enter the Area Description.

- Specific Area Type per Table 140.7-B: Select from dropdown.

- Enter the Specific Area

- This field is filled out automatically.

- This field is filled out automatically.

- Luminaire Name or Item Tag: Select from dropdown

- This field is filled out automatically.

- Enter the Number of Luminaires.

- This field is filled out automatically.

- This field is filled out automatically.

N. Existing Conditions Power Allowance (alterations only)

- Enter the Name or Item Tag.

- Enter the Complete Luminaire Description.

- Enter the Watts per Luminaire.

- How Wattage is Determined?: Select from dropdown.

- Enter the Number of Luminaires Being Replaced

- This field is filled out automatically.

- This is a Pass or Fail checkbox for the field inspector.

O. Declaration of Required Certificates of Installation

- Selections have been automatically made based on information provided in this document. If any selections have been changed by the permit applicant, an explanation should be included in Table E. Additional Remarks.

P. Declaration of Required Certificates of Acceptance

- Selections have been made based on information provided in this document.  If any selections have been changed by the permit applicant, an explanation should be included in Table E. Additional Remarks.