CERTIFICATE OF INSTALLATION

This Certificate of Installation documents the installation of indoor lighting features, materials, components, and manufactured devices required to demonstrate compliance with Title 24, Part 6 per §10-103(a)3 for nonresidential, hotel/motel and high-rise residential occupancies.

| Project Name: | Enforcement Agency: |
| --- | --- |
| Dwelling Address: | Permit Number: |
| City and Zip Code: | Date Permit Issued: |

| A. GENERAL INFORMATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 01 | Project Location (city): |  | 05 | Authority Having Jurisdiction: |  |
| 02 | Zip Code: |  | 06 | Building Permit #: |  |
| 03 | Date of Permit Set used for construction: |  | 07 | Date of As-built Set: |  |
| 04 | Name of Permit Set used for construction: |  | 08 | Name of As-built Set: |  |

| B. INSTALLER SCOPE |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table indicates construction systems and materials documented on this Certificate of Installation. |  |  |  |  |  |  |  |  |  |
| 01 |  | 02 |  | 03 |  |  |  |  |  |
| Luminaires |  | Space Types |  | Controls1 |  |  |  |  |  |
| □ | General Lighting | □ | Conditioned | □ | Time-switch | □ | Occupancy Sensors | □ | Dimmers |
|  |  |  |  | □ | Daylighting | □ | Interlocked Systems | □ | Shut-off |
| □ | Decorative/ Accent | □ | Unconditioned | □ | Area Controls | □ | Demand Response | □ | Videoconferencing Studio Controls |
|  |  |  |  | □ | Multi-level | □ | Institutional Tuning |  |  |

| C. COMPLIANCE RESULTS |  |
| --- | --- |
| This table indicates whether the as-built conditions documented in this form are equal or better than what was documented on the permitted Certificate of Compliance. If the installation is not equal or better, Section 10-103(a)2B requires the Certificate of Compliance to be revised accordingly to demonstrate compliance. |  |
| 01 | INSTALLED FEATURES EXACTLY MATCH DESIGN ON PERMITTED CERTIFICATE OF COMPLIANCE |
| Documented as-built conditions should be verified by inspector from Authority Having Jurisdiction to comply. |  |
| The Certificate of Compliance should be revised to confirm as-built conditions comply and this Certificate of Installation updated accordingly. |  |

D. EXCEPTIONAL CONDITIONS

This table is auto-filled with uneditable comments because of field conditions noted by the installer that may impact mechanical controls requirements documented on the Certificate of Compliance.

E. INSTALLER NOTES

This table includes remarks made by the installer to the Authority Having Jurisdiction.

F. INSTALLATION DETAILS The following tables indicate performance requirements as documented on the permitted Certificate of Compliance for all systems and components included in Table B. Installer Scope. Also indicated are the as-built conditions documented by the installer/ documentation author.

| Indoor Lighting Fixture Schedule for Spaces Other Than Dwelling Units/ Hotel Rooms/ Motel Rooms |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 |
| Name or Item Tag | Fixture Within Scope? | Luminaire Description | Used in Conditioned or Unconditioned Space? | Fixture Type | Linear FT2 of Track | VA of Current Limiter | Voltage of Branch Circuit | Sum of Ampere Rating 1 | Maximum Rated Input Wattage | Rated Wattage per Luminaire | Total Number of Luminaires | Fixture Compliance |
| Per C of C |  |  |  |  |  |  |  |  |  |  |  |  |
| As-built Conditions |  |  |  |  |  |  |  |  |  |  |  |  |

| Residential Dwelling Unit or Hotel/ Motel Room Luminaire Efficacy Requirements |  |
| --- | --- |
| Residential dwelling unit and hotel/motel room lighting fixtures must be installed according the the following requirements. |  |
| The following light sources are considered high efficacy light sources and are not required to comply with Title 24, Part 6 Joint Appendix 8 requirements: |  |
| A. | Pin-based linear fluorescent or compact fluorescent light sources using electronic ballasts. |
| B. | Pulse-start metal halide light sources. |
| C. | High pressure sodium light sources. |
| D. | Have sunrise and sunset prediction accuracy within +/- 15 minutes and timekeeping accuracy within 5 min per year (astronomical only); |
| E. | Luminaires with hardwired high frequency generator and induction lamp. |
| F. | LED light sources installed outdoors. |
| G. | Inseparable solid state LED (SSL) luminaires containing colored light sources that are installed to provide decorative lighting. |
| All other light sources shall be marked with “JA8-2019” or "JA8-2019-E" to qualify as high efficacy light sources. Light sources not marked with “JA8-2019” or “JA8-2019-E” do not meet the efficacy requirements. |  |
| Ceiling recessed downlight luminaires shall not have screw bases regardless of lamp type. |  |

| Indoor Lighting Controls |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 |
| Area Description | Primary Function Area | Demand Response | Manual Area Controls | Multi-Level Controls | Shut-Off Controls | Primary/Skylit Daylighting | Secondary Daylighting | Interlocked Systems | Controls Compliance |
| Per C of C |  |  |  |  |  |  |  |  |  |
| As-built Conditions |  |  |  |  |  |  |  |  |  |

| Controls for Additional Wattage Credit (Power Adjustment Factor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Controls in spaces listed in this table were designed to allow additional wattage as part of the strategy to comply with the Energy Code. |  |  |  |  |  |  |  |
| 01 | 02 |  | 03 | 04 | 05 | 06 | 07 |
| Area Description | Control(s) for Wattage Credit |  | Luminaires Controlled |  |  |  | Controls for Credit Compliance |
|  |  |  | Luminaire Name or Item Tag | Watts per Luminaire | Number of Luminaires | Lighting Controlled (Watts) |  |
| Per C of C |  |  |  |  |  |  |  |
| As-built Conditions |  |  |  |  |  |  |  |

| Documentation Author's Declaration Statement |  |
| --- | --- |
| - I certify that this Certificate of Compliance documentation is accurate and complete. |  |
| Documentation Author Name: | Documentation Author Signature: |
| Company: | Signature Date: |
| Address: | CEA/HERS Certification Identification (if applicable): |
| City/State/Zip: | Phone: |
| Responsible Person's Declaration statement |  |
| ### I certify the following under penalty of perjury, under the laws of the State of California: - The information provided on this Certificate of Compliance is true and correct. - I am eligible under Division 3 of the Business and Professions Code to accept responsibility for the building design or system design identified on this Certificate of Compliance (responsible designer). - The energy features and performance specifications, materials, components, and manufactured devices for the building design or system design identified on this Certificate of Compliance conform to the requirements of Title 24, Part 1 and Part 6 of the California Code of Regulations. - The building design features or system design features identified on this Certificate of Compliance are consistent with the information provided on other applicable compliance documents, worksheets, calculations, plans and specifications submitted to the enforcement agency for approval with this building permit application. - I will ensure that a completed signed copy of this Certificate of Compliance shall be made available with the building permit(s) issued for the building, and made available to the enforcement agency for all applicable inspections. I understand that a completed signed copy of this Certificate of Compliance is required to be included with the documentation the builder provides to the building owner at occupancy. |  |
| Responsible Designer Name: | Responsible Designer Signature: |
| Company : | Date Signed: |
| Address: | License: |
| City/State/Zip: | Phone: |

A. General Information

- Enter the City the project is located in.

- Enter the zip code.

- Enter the Date of Permit Set used for construction.

- Enter the Name of Permit Set used for construction.

- Enter the Authority Having Jurisdiction.

- Enter the Building Permit #.

- Enter the Date of As-Built Set.

- Enter the Name of As-Built Set.

B. Project Scope

- Select applicable luminaires.

- Select applicable space type.

- Select applicable controls.

C. Compliance Results

- This table is automatically filled with uneditable comments based on data entered in Section F.

D. Exceptional Conditions

- This table is auto filled with uneditable comments because of selections made or data entered in tables throughout the form.

E. Installer Notes

- This table is automatically filled with uneditable comments by the installer.

F. INSTALLATION DETAILS

Indoor Lighting Fixture Schedule for Spaces Other Than Dwelling Units/ Hotel Rooms/ Motel Rooms

- This field is filled out automatically.

- Fixture Within Scope: Select from dropdown.

- Enter luminaire description.

- This field is filled out automatically.

- Fixture type: Select from dropdown.

- Enter linear FT2 of track.

- Enter VA of current limiter.

- Enter voltage of branch circuit.

- Enter sum of Ampere rating.

- Enter maximum rated input.

- Enter rated wattage per luminaire.

- Enter total number of luminaires.

- This field is filled out automatically.

Residential Dwelling Unit or Hotel/Motel Room Luminaire Efficacy Requirements

- This table covers the dwelling unit efficacy requirements for multifamily & hotel/motel projects.

Indoor Lighting Controls

- This field is filled out automatically.

- This field is filled out automatically.

- Demand Response: Select from Dropdown.

- Manual Area Controls: Select from Dropdown.

- Multi Area Controls: Select from Dropdown.

- Shut off Controls: Select from Dropdown.

- Primary/skylit Daylighting: Select from Dropdown.

- Secondary daylighting: Select from Dropdown.

- Interlocked systems: Select from Dropdown.

- This field is filled out automatically.

Controls for Additional Wattage Credit

- This field is filled out automatically.

- This field is filled out automatically.

- Luminaire Item or Item Tag: Select from Dropdown.

- This field is filled out automatically.

- Enter number of luminaires.

- This field is filled out automatically.

- This field is filled out automatically.