CERTIFICATE OF INSTALLATION

This Certificate of Installation documents the installation of outdoor lighting features, materials, components, and manufactured devices required to demonstrate compliance with Title 24, Part 6 per §10-103(a)3 for nonresidential, hotel/motel and high-rise residential occupancies.

| Project Name: | Enforcement Agency: |
| --- | --- |
| Dwelling Address: | Permit Number: |
| City and Zip Code: | Date Permit Issued: |

| A. GENERAL INFORMATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 01 | Project Location (city): |  | 05 | Authority Having Jurisdiction: |  |
| 02 | Zip Code: |  | 06 | Building Permit #: |  |
| 03 | Date of Permit Set used for construction: |  | 07 | Date of As-built Set: |  |
| 04 | Name of Permit Set used for construction: |  | 08 | Name of As-built Set: |  |

| B. INSTALLER SCOPE |  |  |  |
| --- | --- | --- | --- |
| This table indicates construction systems and materials documented on this Certificate of Installation. |  |  |  |
| 01 |  | 02 |  |
| □ | Luminaires | □ | Controls |

| C. COMPLIANCE RESULTS |  |
| --- | --- |
| This table indicates whether the as-built conditions documented in this form are equal or better than what was documented on the permitted Certificate of Compliance. If the installation is not equal or better, Section 10-103(a)2B requires the Certificate of Compliance to be revised accordingly to demonstrate compliance. |  |
| 01 | INSTALLED FEATURES EXACTLY MATCH DESIGN ON PERMITTED CERTIFICATE OF COMPLIANCE |
| Documented as-built conditions should be verified by inspector from Authority Having Jurisdiction to comply. |  |
| The Certificate of Compliance should be revised to confirm as-built conditions comply and this Certificate of Installation updated accordingly. |  |

D. EXCEPTIONAL CONDITIONS

This table is auto-filled with uneditable comments because of field conditions noted by the installer that may impact requirements documented on the Certificate of Compliance.

E. INSTALLER NOTES

This table includes remarks made by the installer to the Authority Having Jurisdiction.

F. INSTALLATION DETAILS The following tables indicate performance requirements as documented on the permitted Certificate of Compliance for all systems and components included in Table B. Installer Scope. Also indicated are the as-built conditions documented by the installer/ documentation author.

| Outdoor Lighting Fixture Schedule for Nonresidential Buildings, Parking Garages and Common Service Areas in Multifamily Buildings |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 |
| Name or Item Tag | Fixture Within Scope? | Luminaire Description | Fixture Type | Rated Wattage per Luminaire1 | Total Number of Luminaires | Total Watts | Outdoor Luminaire ≥ 6,200 Lumens | Fixture Compliance |
| Per C of C |  |  |  |  |  |  |  |  |
| As-built Conditions |  |  |  |  |  |  |  |  |
| 1 For linear luminaires, wattage is in W/lf instead of Watts/luminaire. Total linear feet for the luminaire is indicated in column 06 instead of number of luminaires. |  |  |  |  |  |  |  |  |

| Shielding Requirements (BUG) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Backlight |  | Uplight | Glare |  |  |
| 01 |  | 02 | 03 | 04 | 05 | 06 | 07 | 08 |
| Name or Item Tag |  | Luminaire Description | Mounting Height from Property Line | Backlight Rating | Uplight Rating | Mounting Height from Property Line | Glare Rating | Fixture Compliance |
| Per C of C |  |  |  |  |  |  |  |  |
| As-built Conditions |  |  |  |  |  |  |  |  |

| Outdoor Lighting Controls for Nonresidential Buildings, Parking Garages and Common Service Areas in Multifamily Buildings |  |  |  |  |
| --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |
| Area Description | Shut-Off | Auto-Schedule | Motion Sensor | Controls Compliance |
| Per C of C |  |  |  |  |
| As-built Conditions |  |  |  |  |

| Outdoor Lighting Controlled from Inside Multifamily Dwelling Units |  |  |  |
| --- | --- | --- | --- |
| 01 | 02 | 03 | 04 |
| Space Name | Compliant Light Sources1,2 §160.5(a)1 | Mandatory Controls §160.5(a) | Recessed Downlights3 §160.5(a)1C |
|  |  | Shut-Off |  |
| C of C |  |  | i. Shall not contain screw base lamp sockets; and ii. Have a label that certifies the luminaire is airtight with air leakage less than 2.0 cfm at 75 Pascals when tested in accordance with ASTM E283. An exhaust fan housing with integral light shall not be required to be certified airtight; and iii. Be sealed with a gasket or caulk between the luminaire housing and ceiling, and have all air leak paths between conditioned and unconditioned spaces sealed with a gasket or caulk, or be installed per manufacturer’s instructions to maintain airtightness between the luminaire housing and ceiling; and iv. Meet the clearance and installation requirements of California Electrical Code Section 410.116 for recessed luminaires; and v. Lamps and other separable light sources that are not compliant with the JA8 elevated temperature requirements, including marking requirements, shall not be installed in enclosed or recessed luminaires. |
| As-built Conditions |  |  |  |
| C of C |  |  |  |
| As-built Conditions |  |  |  |
| C of C |  |  |  |
| As-built Conditions |  |  |  |

| Documentation Author's Declaration Statement |  |
| --- | --- |
| - I certify that this Certificate of Compliance documentation is accurate and complete. |  |
| Documentation Author Name: | Documentation Author Signature: |
| Company: | Signature Date: |
| Address: | CEA/HERS Certification Identification (if applicable): |
| City/State/Zip: | Phone: |
| Responsible Person's Declaration statement |  |
| ### I certify the following under penalty of perjury, under the laws of the State of California: - The information provided on this Certificate of Compliance is true and correct. - I am eligible under Division 3 of the Business and Professions Code to accept responsibility for the building design or system design identified on this Certificate of Compliance (responsible designer). - The energy features and performance specifications, materials, components, and manufactured devices for the building design or system design identified on this Certificate of Compliance conform to the requirements of Title 24, Part 1 and Part 6 of the California Code of Regulations. - The building design features or system design features identified on this Certificate of Compliance are consistent with the information provided on other applicable compliance documents, worksheets, calculations, plans and specifications submitted to the enforcement agency for approval with this building permit application. - I will ensure that a completed signed copy of this Certificate of Compliance shall be made available with the building permit(s) issued for the building, and made available to the enforcement agency for all applicable inspections. I understand that a completed signed copy of this Certificate of Compliance is required to be included with the documentation the builder provides to the building owner at occupancy. |  |
| Responsible Designer Name: | Responsible Designer Signature: |
| Company : | Date Signed: |
| Address: | License: |
| City/State/Zip: | Phone: |

A. General Information

- This field is filled out automatically with data from the NRCC.

- This field is filled out automatically with data from the NRCC.

- Enter the Date of Permit Set used for construction.

- Enter the Name of Permit Set used for construction.

- Enter the Authority Having Jurisdiction.

- Enter the Building Permit #.

- Enter the Date of As-Built Set.

- Enter the Name of As-Built Set.

B. Project Scope

- Select all applicable construction systems and materials documented for luminaires.

- Select all applicable construction systems and materials documented for controls.

C. Compliance Results

This table is automatically filled with uneditable comments based on data entered in Section F.

D. Exceptional Conditions

This table is automatically filled with uneditable comments because of selections made or data entered in tables throughout the form.

E. Additional Remarks

Enter any notes or comments for the AHJ.

F. Installation Details

Outdoor Lighting Fixture Schedule for Nonresidential Buildings, Parking Garages and Common Service Areas in Multifamily Buildings

- This field is filled out automatically.

- Fixture Within Scope: Select from dropdown.

- Enter the Luminaire Description.

- Fixture Type: Select from dropdown.

- Enter the Rated Wattage per Luminaire.

- Enter the Total Number of Luminaires.

- This field is filled out automatically.

- Outdoor Luminaire ≥ 6,200 Lumens: Select from the dropdown.

- This field is filled out automatically.

Shielding Requirements (BUG)

- This field is filled out automatically.

- Shut-Off: Select from dropdown.

- Auto-Schedule: Select from dropdown.

- Motion Sensor: Select from dropdown.

- This field is filled out automatically.

Outdoor Lighting Controls for Nonresidential Buildings, Parking Garages and Common Service Areas in Multifamily Buildings

- This field is filled out automatically.

- Shut-Off: Select from dropdown.

- Auto-Schedule: Select from dropdown.

- Motion Sensor: Select from dropdown.

- This field is filled out automatically.

Outdoor Lighting Controlled from Inside Multifamily Dwelling Units

- This field is filled out automatically.

- Compliant Light Sources: Select from dropdown.

- Mandatory Controls Shut-Off: Select from dropdown.

- This field covers additional requirements for recessed downlights.