| ## A. General Information Do not use this form to show solar ready compliance for hotel/motel occupancies and high-rise multifamily buildings with ten stories or fewer and all other nonresidential buildings with three stories or fewer. Instead, use form NRCC-SRA-01-E |  |  |
| --- | --- | --- |
| 01 | Building Type: |  |
| 02 | Method of Compliance: |  |

| B. Building Meets the Solar Ready Requirements |  |  |
| --- | --- | --- |
| 01 | Compliance with Solar Ready Requirements |  |
| 02 | The construction documents indicate: - The solar zone - A location for inverters and metering equipment - A pathway for routing of conduit from the solar zone to the point of interconnection with the electrical service - A Pathway for routing of plumbing from the solar zone to the water heating system - The structural design loads for roof dead load and roof live load, in the solar zone |  |
| 03 | A copy of the construction documents including all the information above will be provided to the occupant. |  |
| 04 | For Single Family Residences only: - The main electric service panel shall have a minimum busbar rating of 200 amps. - The main electric service panel shall have reserved space to allow for the installation of a double pole circuit breaker. The reserved space shall be positioned at the opposite (load) end from the input feeder location or main circuit location. The reserved space shall be permanently marked as “For Future Solar Electric”. |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| ## C. Residence Not in an Applicable Subdivision |  |
| --- | --- |
| 01 | The single family residence is located in a subdivision with fewer than ten single family residences, or where the application for a tentative subdivision map for the residences was deemed complete by the enforcement agency, before January 1, 2014. |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |

| ## D. Permanently Installed Solar Photovoltaic (PV) System |  |  |
| --- | --- | --- |
| 01 | Proposed Nameplate DC Power Rating for the PV System (Watts) |  |
| 02 | For Low Rise Multifamily, Enter the Total Area of the Roof (ft2) |  |
| 03 | Compliance Statement: |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| E. Permanently Installed Solar Water Heating System |  |  |
| --- | --- | --- |
| 01 | Solar Water Heating System Rating |  |
| 02 | Required Minimum Solar Savings Fraction of the Proposed Solar Water Heating System |  |
| 03 | Solar Savings Fraction of the Proposed Solar Water Heating System |  |
| 04 | Compliance Statement: |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| F. Smart Thermostats and Alternative Efficiency Measure |  |  |
| --- | --- | --- |
| 01 | All thermostats comply with Reference Joint Appendix JA5 and are capable of receiving and responding to Demand Response Signals prior to granting of an occupancy permit by the enforcing agency. |  |
| 02 | Alternative Efficiency Measure: |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| G. Roof is Designed for Vehicle Traffic or Parking or for Heliport (Applies to Low-rise Multifamily only) |  |  |
| --- | --- | --- |
| 01 | The roof is designed and approved by the Authority Having Jurisdiction to be used for vehicular traffic or parking or for a heliport. |  |
| 02 | Provide Building Plan Reference |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| Documentation Author's Declaration Statement |  |
| --- | --- |
| - I certify that this Certificate of Compliance documentation is accurate and complete. |  |
| Documentation Author Name: | Documentation Author Signature: |
| Company: | Signature Date: |
| Address: | CEA/ HERS Certification Identification (if applicable): |
| City/State/Zip: | Phone: |
| Responsible Person's Declaration statement |  |
| ### I certify the following under penalty of perjury, under the laws of the State of California: ### The information provided on this Certificate of Compliance is true and correct. ### I am eligible under Division 3 of the Business and Professions Code to accept responsibility for the building design or system design identified on this Certificate of Compliance (responsible designer). - That the energy features and performance specifications, materials, components, and manufactured devices for the building design or system design identified on this Certificate of Compliance conform to the requirements of Title 24, Part 1 and Part 6 of the California Code of Regulations. - The building design features or system design features identified on this Certificate of Compliance are consistent with the information provided on other applicable compliance documents, worksheets, calculations, plans and specifications submitted to the enforcement agency for approval with this building permit application. - I will ensure that a registered copy of this Certificate of Compliance shall be made available with the building permit(s) issued for the building, and made available to the enforcement agency for all applicable inspections. I understand that a registered copy of this Certificate of Compliance is required to be included with the documentation the builder provides to the building owner at occupancy. |  |
| Responsible Designer Name: | Responsible Designer Signature: |
| Company: | Date Signed: |
| Address: | License: |
| City/State/Zip: | Phone: |

CF1R-SRA-01-E User Instructions

A. General Information

- Building Type: User selects Building Type from the available options.

- Method of Compliance: User selects Method of Compliance from the available options.

B. Building Meets the Solar Ready Requirements – Optional table based on user selection in cell A02:

- Compliance with Solar Ready Requirement: Auto filled text based on the existence of a registered CF1R-SRA-02.

C. Residence is not in Applicable Subdivision – Optional table based on user selection in cell A02.

D. Permanently Installed Solar Photovoltaic (PV) System – Optional table based on user selection in cell A02:

01	Proposed Nameplate DC Power Rating for the PV System (Watts): User enters the proposed Nameplate DC Power Rating for the installed PV System (Watts).

02	For Low-Rise Multi-Family, Enter the Total Area of the Roof (ft2): If Building type in A01 equals Low Rise Multifamily, user enter the total roof area in ft2.  If Building type in A01 equals Single Family, then box will be auto filled with N/A.

03	Compliance Statement: Auto filled compliance statement text, based on the answers to questions D01 and D02.

E. Permanently Installed Solar Water Heating System – Optional table based on user selection in cell A02:

- Solar Water Heating System Rating: User selects Solar Water Heating System Rating from the available options.

- Required Minimum Solar Savings Fraction of the Proposed Solar Water Heating System: Auto filled minimum solar savings fraction required.

- Solar Savings Fraction of the Proposed Solar Water Heating System: Auto filled proposed solar savings fraction from a registered CF1R-STH-01 or CF1R-STH-02.

- Compliance Statement: Auto filled compliance statement text, based on the answers to questions E01 through E03.

F. Smart Thermostats and Alternative Efficiency Measure – Optional table based on user selection in cell A02.

- Alternative Efficiency Measure: User selects the alternative efficiency option installed.

G. Roof is designed for Vehicle Traffic or Parking or for Heliport (Applies to Low-rise Multifamily only) – Optional table based on user selection in cell A02:

- Provide Building Plan Reference: Enter the Building Plan Reference.

| ## A. General Information Do not use this form to show solar ready compliance for hotel/motel occupancies and high-rise multifamily buildings with ten stories or fewer and all other nonresidential buildings with three stories or fewer. Instead, use form NRCC-SRA-01-E |  |  |
| --- | --- | --- |
| 01 | Building Type: | <<user pick from list 􀂆 Single Family 􀂆Multifamily >> |
| 02 | Method of compliance: | <<user pick from list - Building meets the solar ready requirements - Residence not in an Applicable Subdivision - Permanently Installed Solar Photovoltaic (PV) System - Permanently Installed Solar Water Heating System - Smart Thermostats and Alternative Efficiency Measure - Roof is Designed for Vehicle Traffic or Parking or for Heliport (Applies to Low-rise Multifamily only)>> |

| ## B. Building Meets the Solar Ready Requirements << If Method of Compliance A02 = Building meets the solar ready requirements, then display this table; Else display the section does not apply message>> |  |  |
| --- | --- | --- |
| 01 | Compliance with Solar Ready Requirements | <<auto-filled field, text: if compliant CF1R-SRA-02 is registered then result = "Design complies”; else result = " Registered CF1R-SRA-02 required to continue ">> |
| 02 | The construction documents indicate: - The solar zone - A location for inverters and metering equipment - A pathway for routing of conduit from the solar zone to the point of interconnection with the electrical service - A Pathway for routing of plumbing from the solar zone to the water heating system - The structural design loads for roof dead load and roof live load, in the solar zone |  |
| 03 | A copy of the construction documents including all the information above will be provided to the occupant. |  |
| 04 | For Single Family Residences only: - The main electric service panel shall have a minimum busbar rating of 200 amps. - The main electric service panel shall have reserved space to allow for the installation of a double pole circuit breaker. The reserved space shall be positioned at the opposite (load) end from the input feeder location or main circuit location. The reserved space shall be permanently marked as “For Future Solar Electric”. |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| ## C. Residence not in an Applicable Subdivision << If Method of Compliance A02 = Residence not in an Applicable Subdivision, then display this table; Else display the section does not apply message>> |  |
| --- | --- |
| 01 | The single family residence is located in a subdivision with fewer than ten single family residences, or where the application for a tentative subdivision map for the residences was deemed complete by the enforcement agency, before January 1, 2014. |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |

| ## D. Permanently Installed Solar Photovoltaic (PV) System << If Method of Compliance A02 = Permanently Installed Solar Photovoltaic (PV) System, then display this table; Else display the section does not apply message>> |  |  |
| --- | --- | --- |
| 01 | Proposed Nameplate DC Power Rating for the PV System (Watts) | <<user input, number>> |
| 02 | For Low Rise Multifamily, Enter the Total Area of the Roof (ft2) | <<If Building Type A02 = Low Rise Multifamily user input, number; else N/A>> |
| 03 | Compliance Statement: | <<calculated field. If A01 (building type) = Low Rise Multifamily building, and D01 (nameplate power rating) is greater than or equal to D02 (roof area), then the building complies; Else if A01 (building type) = Single family dwelling, and DO1 (nameplate power rating) is greater than or equal to 1000, then the building complies. ELSE the building does not comply>> |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| E. Permanently Installed Solar Water Heating System << If Method of Compliance A02 = Permanently Installed Solar Water Heating System, then display this table; Else display the section does not apply message>> |  |  |
| --- | --- | --- |
| 01 | Solar Water Heating System Rating | <<user pick from list OG-100 OG-300 |
| 02 | Required Minimum Solar Savings Fraction of the Proposed Solar Water Heating System: | <<calculated field. If A01 (building type) = Single family residence, then display 0.5. If A01 (building type) = Multifamily building and climate zone from CF1R = 1 through 9, then display 0.2. If A01 (building type) = Multifamily building, and climate zone (from CF1R) = 10 through 16, display 0.35>> |
| 03 | Solar Savings Fraction of the Proposed Solar Water Heating System: | <<calculated field. If Solar Water Heating System Rating A01 = OG-100 – Solar Collector Rating, then display the solar savings fraction from a registered CF1R-STH-01; Else if Solar Water Heating System Rating A01 = OG-300 – Solar System Rating, then display the solar savings fraction from a registered CF1R-STH-02; else if no registered solar water heating forms are found, Then display Message “Registered CF1R-STH-01 or CF1R-STH-02 required to continue” >> |
| 04 | Compliance Statement: | <<calculated field. If E03 (solar savings fraction) is equal to or greater than E02 (required minimum solar savings fraction) then the system complies; else display system does not comply>> |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| F. Smart Thermostats and Alternative Efficiency Measure <<If Method of Compliance A02 = Smart Thermostats and Alternative Efficiency Measure, then display this table; Else display the section does not apply message>> |  |  |
| --- | --- | --- |
| 01 | All thermostats comply with Reference Joint Appendix JA5 and are capable of receiving and responding to Demand Response Signals prior to granting of an occupancy permit by the enforcing agency. |  |
| 02 | Alternative Efficiency Measure: | <<user selects one from list: *Install a dishwasher that meets or exceeds ENERGY STAR Program requirements with either a refrigerator that meets or exceeds the ENERGY STAR Program requirements or a whole house fan driven by an electronically commutated motor; or *Install a home automation system capable of, at a minimum, controlling the appliances and lighting of the dwelling and responding to demand response signals; or *Install alternative plumbing piping to permit the discharge from the clothes washer and all showers and bathtubs to be used for an irrigation system in compliance with the California Plumbing Code and any applicable local ordinances; or *Install a rainwater catchment system designed to comply with the California Plumbing Code and any applicable local ordinances, and that uses rainwater flowing from at least 65% of the available roof area>> |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| G. Roof is Designed for Vehicle Traffic or Parking or for Heliport (Applies to Low-rise Multifamily only) << If Building Type A01 = Multifamily and Method of Compliance A02 = Roof is Designed for Vehicle Traffic or Parking or for Heliport, then display this table; Else display the section does not apply message>> |  |  |
| --- | --- | --- |
| 01 | The roof is designed and approved by the Authority Having Jurisdiction to be used for vehicular traffic or parking or for a heliport. |  |
| 02 | Provide Building Plan Reference | <<user input>> |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |