| A. General Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 01 | Project Name: |  | 02 | Date Prepared: |  |
| 03 | Project Location: |  | 04 | Building Front Orientation (deg): |  |
| 05 | CA City: |  | 06 | Number of Dwelling Units with Additions: |  |
| 07 | Zip Code: |  | 08 | Fuel Type: |  |
| 09 | Climate Zone: |  | 10 | Total Conditioned Floor Area (ft2) (Addition): |  |
| 11 | Building Type: |  | 12 | Slab Area (ft2): |  |
| 13 | Project Scope: |  | 14 | Exceptions to Fenestration U-factor and SHGC 150.1(c)3A: |  |

| B. Opaque Surface Details – Framed (Section 150.2(a)) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |  |  | 07 | 08 | 09 | 10 | 11 |
| Tag/ID | Assembly Type | Frame Type | Frame Depth (inches) | Frame Spacing (inches) | Proposed |  |  |  |  |  | Required | Comments |
|  |  |  |  |  | Cavity R-value | Continuous Insulation R-value | U-Factor |  | Appendix JA4 Reference |  | U-Factor |  |
|  |  |  |  |  |  |  |  |  | Table | Cell |  |  |
| Note: - Where insulation is installed above the roofing membrane, or above the layer used to seal the roof from water penetration, the insulation shall have a maximum water absorption of 0.3 percent by volume when tested according to ASTM Standard C272. - Extensions of existing wood-framed walls may retain the dimensions of the existing walls and shall install cavity insulation of R-15 in a 2x4 framing and R-19 in a 2x6 framing. |  |  |  |  |  |  |  |  |  |  |  |  |

| C. Opaque Surface Details – Non-framed (Section 150.1(c)1) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 |
| Tag/ID | Assembly Type | Assembly Materials | Thickness (inches) | Proposed |  |  |  |  | Required | Comments |
|  |  |  |  | Core Insulation R-value | Continuous Insulation R-value | U-Factor | Appendix JA4 Reference |  | U-Factor from Package A |  |
|  |  |  |  |  |  |  | Table | Cell |  |  |
| Note: - Where insulation is installed above the roofing membrane, or above the layer used to seal the roof from water penetration, the insulation shall have a maximum water absorption of 0.3 percent by volume when tested according to ASTM Standard C272. |  |  |  |  |  |  |  |  |  |  |

| D. Opaque Surface Details – Mass Walls (Section 150.1(c)1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 |  | 08 |  | 09 | 10 | 11 |  | 12 |  |
| Tag/ID | Walls Above Grade | Mass Type | Mass Thickness (inches) | Interior Furring Strip Thickness (inches) | Exterior Furring Strip Thickness (inches) | Proposed |  |  |  |  |  | Required |  |  |  |
|  |  |  |  |  |  | Interior Insulation |  | Exterior Insulation |  | Appendix JA4 Reference |  | Interior Insulation |  | Exterior Insulation |  |
|  |  |  |  |  |  | R-value | U-factor | R-value | U-factor | Table | Cell | R-value | U-factor | R-value | U-factor |

| E. Slab Insulation (Table 150.1-A) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| Floor Type | Proposed |  | Required |  | Comments |
|  | R-value | U-factor | Insulation R-value | Insulation U-factor |  |
| Note: - Heated slab floors require mandatory slab insulation (see Table 110.8-A). |  |  |  |  |  |

| F. Radiant Barrier (Section 150.1(c)2) |  |
| --- | --- |
| 01 | 02 |
| Radiant Barrier installed below the roof deck and on all gable end walls | Comment |
| A radiant barrier is required (for Climate Zones 2-15) - Radiant barriers shall meet specific eligibility and installation criteria to receive energy credit for compliance with the Building Energy Efficiency Standards for low-rise residential buildings. Refer to RA4.2.1 - The emittance of the radiant barrier shall be less than or equal to 0.05 as tested in accordance with ASTM C1371 or ASTM E408. - For Prescriptive Compliance the attic shall be ventilated to provide a minimum free ventilation area of not less than 1 ft2 of vent area for each 300 ft2 of attic floor area with no less than 30% upper vents. Ridge vents or gable end vents are recommended to achieve the best performance. The material should be cut to allow for full airflow to the venting. |  |

| G. Roofing Products (Cool Roof) (Section 150.1(c)11) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 |
| Tag/ID | Mass Roof 25 lb/ft2 or Greater | Roof Pitch | Method of Compliance | Product Type | CRRC Product ID Number | Proposed |  |  |  | Required |  |  |
|  |  |  |  |  |  | Initial Solar Reflectance | Aged Solar Reflectance | Thermal Emittance | SRI (Optional) | Aged Solar Reflectance | Thermal Emittance | SRI (Optional) |
| Notes: - Any roof area covered by building integrated photovoltaic panels and solar thermal panels are exempt from the above Cool Roof requirements. - Liquid field applied coatings must comply with installation criteria from section 110.8(i)4. |  |  |  |  |  |  |  |  |  |  |  |  |

| H. Fenestration/Glazing Allowed Areas and Efficiencies (Section 150.2(a)1) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 |
| Addition Type ft2 | Maximum Allowed Fenestration Area for All Orientations ft2 |  | Maximum Allowed West-Facing Fenestration Area Only ft2 |  | Maximum Allowed U-factor (Windows) | Maximum Allowed U-factor (Skylights) | Maximum Allowed SHGC (Windows) | Maximum Allowed SHGC (Skylights) | Comments |
|  | The Greater |  | The Greater |  |  |  |  |  |  |
|  | Maximum Calculated based on Allowed % | Maximum Calculated Allowed ft2 | Maximum Calculated based on Allowed % | Maximum Calculated Allowed ft2 |  |  |  |  |  |

| I. Fenestration Proposed Areas and Efficiencies Note: If meeting Exception 1 to 150.1(c)3A, Installing ≤ 3ft2 glass in door, it is assumed to meet the minimum required U-factor (0.32) & SHGC (0.25). If meeting Exception 1 to 150.1(c)3A, Installing ≤ 3ft2 tubular skylight, it is assumed to meet the minimum required U-factor (0.55) & SHGC (0.30). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 |  | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 |
| Tag/ID | Fenestration Type | Frame Type |  | Dynamic Glazing | Orientation N, S, W, E | Number of Panes | Proposed Fenestration Area (ft2) | Proposed West Facing Fenestration Area (ft2) | Proposed U-factor | Source | Proposed SHGC | Source | Exterior Shading Device | Combined SHGC from CF1R-ENV-03 |
| 15 | Total Proposed Fenestration Area |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | Maximum Allowed Fenestration Area |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | Compliance Statement: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | Total Proposed West-Facing Fenestration Area |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | Maximum Allowed West-Facing Fenestration Area |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | Compliance Statement: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | Proposed Fenestration U-factor (Windows) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | Required Fenestration U-factor (Windows) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | Compliance Statement: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | Proposed Fenestration SHGC (Windows) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | Required Fenestration SHGC (Windows) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | Compliance Statement: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 | Proposed Fenestration U-factor (Skylights) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | Required Fenestration U-factor (Skylights) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 | Compliance Statement: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 | Proposed Fenestration SHGC (Skylights) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 | Required Fenestration SHGC (Skylights) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 32 | Compliance Statement: |  |  |  |  |  |  |  |  |  |  |  |  |  |

| J. Space Conditioning (SC) Systems – Heating/Cooling – Single Family Dwelling (Section 150.2(b) or (Section 150.1(c)7) |  |  |
| --- | --- | --- |
| 01 | 02 | 03 |
| Dwelling Unit Name | Dwelling Unit Total CFA = Sum of Existing + Addition (ft2) | Comments |

| K. Water Heating Systems (Section 150.2(a)1D) or (Section 150.1(c)8) List water heaters and boilers for both domestic hot water (DHW) heaters and hydronic space heating. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 |
| Water Heating System ID or Name | Water Heating System Type | Water Heater Type | # of Water Heaters in System | Water Heater Storage Volume (gal) | Fuel Type | Rated Input Type | Rated Input Value | Heating Efficiency Type | Heating Efficiency Value | Standby Loss (%) | Exterior Insul. R-Value | Back-Up Solar Savings Fraction | Central DHW System Distribution Type | Dwelling Unit DHW System Distribution Type |

| L. Space Conditioning Systems and Water Heating Systems in Multifamily Dwelling Units |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| Dwelling Unit Name | Dwelling Unit Total CFA = Sum of Existing + Addition (ft2) | Central Water Heating System Identification or Name | Dwelling Unit Water Heating System Identification or Name | Dwelling Unit: Alteration to Existing or Installing a New Space Conditioning System? | Comments |

| Documentation Author's Declaration Statement |  |
| --- | --- |
| - I certify that this Certificate of Compliance documentation is accurate and complete. |  |
| Documentation Author Name: | Documentation Author Signature: |
| Company: | Signature Date: |
| Address: | CEA/ HERS Certification Identification (if applicable): |
| City/State/Zip: | Phone: |
| Responsible Person's Declaration statement |  |
| ### I certify the following under penalty of perjury, under the laws of the State of California: - The information provided on this Certificate of Compliance is true and correct. - I am eligible under Division 3 of the Business and Professions Code to accept responsibility for the building design or system design identified on this Certificate of Compliance (responsible designer). - That the energy features and performance specifications, materials, components, and manufactured devices for the building design or system design identified on this Certificate of Compliance conform to the requirements of Title 24, Part 1 and Part 6 of the California Code of Regulations. - The building design features or system design features identified on this Certificate of Compliance are consistent with the information provided on other applicable compliance documents, worksheets, calculations, plans and specifications submitted to the enforcement agency for approval with this building permit application. - I will ensure that a registered copy of this Certificate of Compliance shall be made available with the building permit(s) issued for the building, and made available to the enforcement agency for all applicable inspections. I understand that a registered copy of this Certificate of Compliance is required to be included with the documentation the builder provides to the building owner at occupancy. |  |
| Responsible Designer Name: | Responsible Designer Signature: |
| Company : | Date Signed: |
| Address: | License: |
| City/State/Zip: | Phone: |

For assistance or questions regarding the Energy Standards, contact the Energy Hotline at: 1-800-772-3300

CF1R-ADD-01-E User Instructions

Minimum requirements for prescriptive addition compliance can be found in Building Energy Efficiency Standards Section 150.2(a), and Table 150.1-A (Package A). Completing these compliance documents will require that you have the Reference Appendices for the 2016 Building Energy Efficiency Standards, which contain the Joint Appendices used to determine climate zone and to complete the section for opaque surfaces. When the term CF1R is used it means the CF1R-ADD-01. Worksheets are identified by their entire name and subsequently by only the worksheet number, such as CF1R-ENV-02.

Instructions for sections with column numbers and row letters are given separately.

If any part of the addition does not comply, prescriptive compliance fails, in which case the performance (or computer) compliance approach may be used in an attempt to achieve compliance. Only the new construction is required to meet the requirements specified in this documentation. If any alterations to the existing building are occurring, those are documented on one or more of the CF1R-ALT forms.

A. General Information

- Project Name: Identifying information, such as owner’s name.

- Date Prepared: Date of document preparation.

- Project Location: Legal street address of property or other applicable identifying information.

- Building Front Orientation: Building front expressed in degrees, where North = 0, East = 90, South = 180, and West = 270. The Standards (Section 100.1) include the following additional details for determining orientation:

- North is oriented to within 45 degrees of true north, including 45 degrees east of north;

- East is oriented to within 45 degrees of true east, including 45 degrees south of east;

- South is oriented to within 45 degrees of true south, including 45 degrees west of south;

- West is oriented to within 45 degrees of true west, including 45 degrees north of west.

- CA City: Legal city/town of property.

- Number of Dwelling Units with Additions: 1 for single family, 1 or more for multi-family.

- Zip Code: 5-digit zip code for the project location (used to determine climate zone).

- Fuel Type: Natural Gas, Liquefied Propane Gas, or Electricity.

NOTE: Prescriptive compliance only allows electricity if natural gas is not connected to the building.

- Climate Zone: From Joint Appendix JA2.1.1.

- Total Conditioned Floor Area: Enter the new conditioned floor area, in ft2, as measured from the outside of exterior walls of the addition.

- Building Type: Single Family (includes duplex), or Multi Family (a building that shares common walls and common floors or ceilings).

- Slab Area: Area of the first floor slab of the addition (if any) in ft2.

- Project Scope: 300 ft2 or less, greater than 300 up to 400 ft2, greater than 400 up to 700 ft2, greater than 700 up to 1000 ft2, space heating system, space cooling system, space conditioning duct system, water heating, or fenestration.

- Exceptions to Fenestration U-factor and SHGC: Installing less than or equal to 3 ft2 glass in door, Installing less than or equal to 3 ft2 tubular skylight, Installing less than or equal to 16 ft2 skylight, or NA.

B. Opaque Surface Details - Framed

Additions of 700 ft2 or less require only R-13 wall insulation. Unless otherwise noted, all other requirements of Package A are required when using prescriptive compliance.

- Tag/ID: A label (if any) from the plans, such as A1.4 or wall.

- Assembly Type: Roof, Ceiling, Wall, or Floor.

- Frame Type: Wood or Metal.

- Frame Depth: Nominal dimensions (in inches) of framing material such as 2x4 or 2x6.

- Frame Spacing: 16, 24, or 48 (inches on center).

- Proposed Cavity R-value: Insulation installed between framing members.

Proposed Continuous Insulation: R-value of rigid or continuous insulation (not interrupted by framing). See Table 4.3.4. of the Reference Appendices for metal frame construction.

- Proposed U-factor: The U-factor for the proposed assembly must be less than or equal to Column 10 or have an attached Area Weighted Average Calculation Worksheet (CF1R-ENV-01-E) to show that a weighted U-factor for multiple assemblies will meet the maximum value in Column 10.

- Appendix JA4 Table: Table number used to determine the R-value or U-factor (e.g., an attic assembly is 4.2.1).

- Appendix JA4 Cell: Cell number used to determine the R-value or U-factor (e.g., an R-38 ceiling with 24-inch on center framing is A21).

- Required U-factor: From Package A or from Section 150.2. Value required based on climate zone and assembly type.

- Comments: Any notes regarding location, unique conditions, or attachments.

C. Opaque Surface Details – Non-Framed

- Tag/ID: A label (if any) from the plans, for example, A1.4 or wall.

- Assembly Type: Roof, Wall.

- Assembly Materials: SIP OSB, SIP I-Joist, SIP Single 2x, SIP Double 2x.

- Thickness: Thickness in inches.

- Proposed Core Insulation R-value: Insulation installed within the materials or on the inside. See Joint Appendix JA4 for guidance.

- Proposed Continuous Insulation R-value: Insulation installed on the exterior. See Joint Appendix JA4 for guidance.

- Proposed U-factor: Proposed assembly U-factor from JA4 or CF1R-ENV-02-E. Must be less than or equal to Column 10.

- Appendix JA4 Table: Table number used to determine the R-value or U-factor (e.g., a SIP wall is 4.3.2).

- Appendix JA4 Cell: Cell number used to determine the R-value or U-factor (e.g., a 4.5-inch thick OSB wall with R-18 core insulation and no continuous insulation is A5).

- Required U-factor from Package A: Based on assembly type and climate zone.

- Comments: Any notes regarding location, unique conditions, or attachments.

D. Opaque Surface Details – Mass Walls

- Tag/ID: A label (if any) from the plans, for example, A1.4 or wall.

- Walls Above Grade: Yes or No.

- Mass Type: Clay Brick, Clay Hollow Unit, CMU Light Weight, CMU Medium Weight, CMU Normal Weight, Concrete, ICF. See JA4 for guidance.

- Mass Thickness: Thickness (in inches) of mass.

- Furring Strips Thickness: If furring strips are required to meet the wall R-value or U-factor shown in Columns 11 & 12, indicate the thickness of the furring strip (in inches). See Table 4.3.14 of Joint Appendix 4.

- Exterior Furring Strip t Thickness: If furring strips are required to meet the wall R-value or U-factor shown in Columns 11& 12, indicate the thickness of the furring strip (in inches). See Table 4.3.14 of Joint Appendix 4.

- Proposed Interior Insulation R-value or U-factor: Enter either the R-value or U-factor of proposed insulation on the inside surface of the mass wall. See JA4 for guidance. Use the same descriptor (R-value or U-factor) throughout Table D.

- Proposed Exterior Insulation R-value or U-factor: Enter either the R-value or U-factor of proposed insulation on the outside surface of the mass wall. See JA4 for guidance.

- Appendix JA4 Table: Table number used to determine the R-value or U-factor (e.g., an ICF wall is 4.3.13).

- Appendix JA4 Cell: Cell number used to determine the R-value or U-factor (e.g., an 8-inch thick ICF wall with 2 inches of EPS (R-15.4) is A6).

- Required Interior Insulation: The required R-value or U-factor (whichever descriptor was selected in Column 6) for interior insulation will be completed based on the Table 150.1-A requirements for the wall type.

- Required Exterior Insulation: The required R-value or U-factor (whichever descriptor was selected in Column 7) for exterior insulation will be completed based on the Table 150.1-A requirements for the wall type.

E. Slab Insulation

Slab edge performance specifications and installation criteria are found in Sections 150.0(l) and 150.1(c)1D (Table 150.1-A). Requirements vary by climate zone and slab conditions.

- Floor type: Types include slab-on-grade or raised slab.

- Slab-on-grade floors require slab edge insulation in climate zone 16 only.

- Raised slab must be insulated to R8 in climate zones 1, 2, 11, 13, 14 and 16, R-4 in climate zones 12 and 15, and no insulation is required in climate zones 3-10.

- Proposed R-value: When required, insulation can be specified by either R-value or U-factor (use the same descriptor throughout Table E). When specifying an R-value complete Column 2.

- Proposed U-Factor: When required, specify the U-factor of proposed insulation in Column 3.

- Required Insulation R-value: Specify the value required, which will vary by climate zone and type of slab. Values are from Table 150.1-A.

- Required Insulation U-factor: Specify the value required, which will vary by climate zone and type of slab. Values are from Table 150.1-A.

- Comments: Any notes regarding location, unique conditions, or attachments.

NOTE:	There is a mandatory slab edge insulation requirement for heated slab floors. Since mandatory requirements are not listed on the Certificate of Compliance, this is provided for information purposes only. The specific requirements are in Sections 110.8(g) and Table 110.8-A.

F. Radiant Barrier

- Radiant Barrier installed below the roof deck and on all gable end walls: Yes or No. Radiant barriers are required in climate zones 2-15.

- Comments: Any notes regarding location, unique conditions, or attachments.

NOTE: 	Radiant barrier performance specifications and installation criteria are found in Sections 110.8(j) and 150.1(c)2, and in Residential Appendix RA4.2.1.

G. Roofing Products (Cool Roof)

Roofing requirements are found in Section 110.8(i) and 150.1(c)11. Depending on the climate zone and roof slope, a cool roof (defined as a minimum aged solar reflectance and thermal emittance, or a minimum SRI) may be required by Package A.

NOTE: 	Exceptions include (1) additions of 300 ft2 or less, (2) low-slope roofs (pitch 2:12 or less) in climate zones 1-12, 14 and 16; (3) steep-slope roofs (pitch greater than 2:12) in climate zones 1-9 and 16; (4) roof constructions that have thermal mass over the roof membrane with at least 25 lb/ft2; and (5) any roof area covered by building integrated photovoltaic panels and solar thermal panels (the area of roof not covered by photovoltaic panels would still need to meet any applicable cool roof requirements).

- Tag/ID: A label (if any) from the plans, such as R1.

- Mass Roof 25 lb/ft2 or Greater: Yes or No. Mass roofs are not required to have a cool roof even if the climate zone specifies minimum performance requirements.

- Roof Pitch: Expressed as 4:12, for example, which means the roof rises 4 feet within a span of 12 feet. When roofs have multiple pitches the requirements are based on the pitch of 50% or more of the roof.

- Method of Compliance: Indicate if the method of compliance is going to be based on Aged Solar Reflectance and Thermal Emittance or is it going to be based on the Solar Reflectance Index (SRI).

- Product Type: See Cool Roof Rating Council’s directory. Generally product types include single-ply roof, wood shingles, asphalt roof, metal roof, tile roof.

- The CRRC Product ID Number is obtained from the Cool Roof Rating Council’s Rated Product Directory at www.coolroofs.org/products/results. Products are listed by manufacturer, brand, type of installation, roofing material, and color, as well as product performance.

- Proposed Initial Solar Reflectance: Based on the product chosen from the Cool Roof Rating Council’s Rated Product Directory. If using default assumption indicate NA since the Aged Solar Reflectance is available.

- Proposed Aged Solar Reflectance: Value is from the Cool Roof Rating Council’s Rated Product Directory. If the aged value is not available, calculate the calculated Aged Solar Reflectance using the Solar Reflectance Index (SRI) Calculation worksheet located on the California Energy Commission website or the aging equation ρaged=[0.2+β[ρinitial-0.2], where ρinitial = the initial solar reflectance and soiling resistance β is listed by product type below.

VALUES OF SOILING RESISTANCE β BY PRODUCT TYPE

| Product Type | CRRC Product Category | β |
| --- | --- | --- |
| Field-Applied Coating | Field-Applied Coating | 0.65 |
| Other | Not A Field-Applied Coating | 0.70 |

- Proposed Thermal Emittance: From the product specification default value. If using a calculated SRI, enter the thermal emittance used to calculate SRI.

- Proposed SRI: It is optional to meet the SRI, but if chosen to do so use the Solar Reflectance Index (SRI) Calculation Worksheet found on the California Energy Commission website http://energy.ca.gov/title24/2013standards/documents/solar_reflectance/.

- Required Aged Solar Reflectance: Based on climate zone and roof slope.

- Required Thermal Emittance: Based on climate zone and roof slope.

- Required SRI: Based on climate zone and roof slope.

If the cool roofing requirements will be met by a liquid field applied coating, Section 110.8(i)4 requires the coating be applied across the entire roof surface and meet the dry mil thickness or coverage recommended by the manufacturer.

H. Fenestration/Glazing Allowed Areas and Efficiencies

Fenestration areas are expressed in square feet, not square inches.

The climate zone and size of the addition will affect the area of fenestration (also known as glazing) allowed. If limited to 20%, for example, this is calculated as Conditioned Floor Area (CFA) of the addition x 0.20 = Total ft2 of fenestration allowed.

For additions that are 1,000ft2 or less, but greater than 700ft2, the limit of total fenestration is the greater of 175ft2 or 20% of the CFA of the addition.

For additions that are 700ft2 or less, but greater than 400ft2, the limit of total fenestration is the greater of 120ft2 or 25% of the CFA of the addition.

For additions that are 400ft2 or less, the limit of total fenestration is the greater of 75ft2 or 30% of the CFA of the addition.

For additions that are 1,000ft2 or less, when west-facing fenestration is limited (in climate zones 2, 4, and 6-16), it is limited to either 70ft2 (for additions greater than 700ft2) or 60ft2 (for additions that are 700ft2 or less).

- Addition Type: Based on “Project Scope.” The addition’s area in ft2—whether ≤300, >300 to ≤400, >400 to ≤700, or >700 to ≤1,000.

(2. through 9.—These fields will be completed based on conditioned floor area of the addition and/or climate zone. The values in these fields will be entered into Section I.)

Maximum allowed fenestration area for all orientations is the greater of the values in Column 2 or 3:

- Maximum Calculated based on Allowed %: The addition’s CFA multiplied by the allowed %. The maximum total fenestration area is 30% for additions up to 400 ft2, 25% for additions greater than 400 ft2 but no greater than 700 ft2, and 20% for additions greater than 700 ft2.

- Maximum Calculated Allowed ft2: The maximum total fenestration area is 75ft2 for additions up to 400 ft2, 120ft2 for additions greater than 400 ft2 but no greater than 700 ft2, and 175 ft2 for additions of greater than 700 ft2.

Maximum allowed west-facing area is the greater of the values in Column 4 or 5:

- Maximum Calculated based on Allowed %: The maximum west-facing fenestration area (in climate zones 2, 4, and 6-16) is 5% for additions greater than 700 ft2.

- Maximum Calculated Allowed ft2: The maximum west-facing fenestration area (in climate zones 2, 4, and 6-16) is 60 ft2 for additions no greater than 700 ft2, and 70 ft2 for additions of greater than 700 ft2.

| Addition CFA: | ≤ 400 ft2 |  | > 400 to ≤ 700 ft2 |  | > 700 to ≤ 1,000 ft2 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | The Greater Of: |  | The Greater Of: |  | The Greater Of: |  |
| Orientation | Percentage | Area (ft2) | Percentage | Area (ft2) | Percentage | Area (ft2) |
| West-facing (CZs 2, 4, 6-16) | - | 60 | - | 60 | - | 70 |
| All Orientations | 30% | 75 | 25% | 120 | 20% | 175 |

NOTE: West includes any vertical fenestration oriented to within 45 degrees of true west (in either direction), including 45 degrees north of west, any skylights oriented west, and skylights facing any direction with a pitch of less than 1:12.

- Maximum Allowed U-factor (Windows): Maximum area-weighted average of 0.32 for all climate zones.

- Maximum Allowed U-factor (Skylights): Maximum area-weighted average of 0.32 for all climate zones, unless meeting one of the Exceptions to 150.1(c)3A. If meeting one of the Exceptions, this field will be 0.55.

- Maximum Allowed SHGC (Windows): Maximum area-weighted average of 0.25 for climate zones 2, 4, and 6-16; otherwise N/A.

- Maximum Allowed SHGC (Skylights): Maximum area-weighted average of 0.25 for all climate zones, unless meeting one of the Exceptions to 150.1(c)3A. If meeting one of the Exceptions, this field will be 0.30.

- Comments: Any notes regarding location, unique conditions, or attachments.

I. Fenestration/Glazing Proposed Areas and Efficiencies

- Tag/ID: Provide a name or designator for each unique type of fenestration surface. This designator should be used consistently throughout the plan set (elevations, finish schedules, etc.) such as Window-1, Skylight-1, etc. to identify each surface. It should also be consistently used on the other forms in the compliance documentation.

- Fenestration Type: Indicate the type of fenestration construction e.g., Fixed Window, Operable Window, Skylight, Tubular Skylight, or Glass in Door.

NOTE: Doors with glazing are counted in one of two ways. The entire area of a door with 50% or more glazing is considered fenestration. A door with less than 50% glazing can be considered as all fenestration, or can be calculated as the actual glass area with a 2-inch (0.17 ft) frame all around.

- Frame Type: Metal, metal thermal break, or non-metal.

- Dynamic Glazing: Indicate whether the fenestration has an integrated shading device, chromogenic glazing, or none for no dynamic glazing. Chromogenic glazing shall be considered separately from other fenestration types.

- Orientation: Orientation can be North, East, South, or West. If documentation is for a building that may be built in any direction, in a climate zone that limits west-facing fenestration, complete this section assuming the side of the building with the most fenestration faces west.

NOTE: West includes any vertical fenestration oriented to within 45 degrees of true west, excluding 45 degrees south of west; any skylights oriented west; and skylights facing any direction with a pitch of less than 1:12.

- Number of Panes: Indicate the number of panes for each Tag/ID; is it a single, double, or triple pane window?

- Proposed Fenestration Area (ft2): The size of any windows, doors with glass, or skylights within the floor area of the addition (combine windows with the same characteristics). Indicate the area (in ft2) of each exterior fenestration type, including west-facing fenestration.

- Proposed West Facing Fenestration Area ft2: In climate zones 2, 4, and 6-16, enter the size of any west-facing windows, doors with glass, or skylights within the floor area of the addition. Indicate the area (in ft2) of each exterior west-facing fenestration type separately.

- Proposed U-factor: Enter

(a) the NFRC U-factor based on the proposed brand and type of fenestration using National Fenestration Rating Council (www.nfrc.org) certified values; or

(b) the default value from Table 110.6-A; or

(c) the NA6.2 alternate default U-factor (for non-rated site-built fenestration only); or

(d) the Area-weighted Average from CF1R-ENV-02.

If any products (other than the exceptions noted below) have a higher U-factor than 0.32, first complete a CF1R-ENV-02-E to calculate the area-weighted average U-factor, which must be 0.32 or less, and attach it to the CF1R-ADD-01-E.

NOTES: 	(1)	For the exceptions - up to 3 ft2 of tubular skylights and up to 16 ft2 of skylight area, enter 0.55.

(2)	For the exception – up to 3 ft2 of glass in door, enter 0.32.

(3)	Dynamic glazing is a glazing system that changes its performance U-factor and SHGC based on the physical environment. Dynamic glazing includes chromogenic glazing or integrated shading systems (this does not include internally or externally mounted shading devices). If using dynamic glazing, use the lowest tested U-factor and SHGC in Columns 9 and 11.

- Source: The source of the U-factor data for the fenestration product—indicate whether NFRC, Tables 110.6-A and 110.6-B, Equations NA6-1 and NA6-2, or Area-weighted Average Worksheet (CF1R-ENV-02).

- Proposed SHGC: In climate zones 2, 4, and 6-16, enter

(a) the NFRC SHGC based on the proposed brand and type of fenestration using National Fenestration Rating Council (www.nfrc.org) certified values, or

(b) the default value from Table 110.6-B, or

(c) the NA6.3 alternate default SHGC (for non-rated site-built fenestration only), or

(d) the Area-weighted Average from CF1R-ENV-02.

If any products (other than the exceptions noted below) have a higher SHGC than 0.25 in a climate zone with a maximum SHGC value, first complete a CF1R-ENV-02-E to calculate the area-weighted average SHGC, which must be 0.25 or less, and attach it to the CF1R-ADD-01-E.

NOTES: 	(1)	For the exceptions - up to 3 ft2 of tubular skylights and up to 16 ft2 of skylight area, enter 0.30.

(2)	For the exception – up to 3 ft2 of glass in door, enter 0.25.

- Source: The source of the SHGC data for the fenestration product—indicate whether NFRC, Tables 110.6-A and 110.6-B, Equations NA6-1 and NA6-2, or Area-weighted Average Worksheet (ENV-02).

- Exterior Shading Device: If exterior shading devices are used to meet the SHGC requirement, indicate the type of device (from Table S-1 of CF1R-ENV-03-E Solar Heat Gain Coefficient Worksheet) and attach the CF1R-ENV-03-E.

NOTES: 	(1)	An exterior shading device is not used for products with an NFRC rated U-factor and SHGC based on a factory integrated shading device.

(2)	Chromogenic glazing shall be considered separately from other fenestration.

- Combined SHGC from CF1R-ENV-03: If exterior shading devices are combined with the SHGC value of the fenestration to meet the prescriptive SHGC requirements (as indicated in I. 13), indicate the SHGC calculated on form CF1R-ENV-03 and attach the form for each window with an exterior shading device.

15.-32. Automatically completed entries; no user input required.

J. Space Conditioning Systems – Heating/Cooling – Single Family Dwelling

If an existing space system will condition an addition, the prescriptive requirements do not apply to that system (Exception 4 to Section 150.2(a)).  The enforcement agencies may require verification that the capacity of the existing heating system is adequate to meet the added load of the additional conditioned floor area. Since there is no health and safety code requirement to provide cooling, the enforcement agency will not ask for verification that the capacity of the existing system is adequate to meet the added load of the additional conditioned floor area.

If a new system is installed complete a Certificate of Compliance for Alterations to Space Conditioning Systems (CF1R-ALT-02).

- Dwelling Unit Name: Name of dwelling unit or any other identifying name.

- Dwelling Unit Total CFA – Sum of Existing Plus Addition (ft2): Total dwelling unit conditioned floor area in ft2, as measured from the outside of exterior walls of the dwelling unit or building being altered.

- Comments: Any notes regarding location or unique conditions.

K. Water Heating Systems for Additions

Water heating compliance for an addition is described in Section 150.2(a)1D. When a water heater is added as part of an addition in a single dwelling the Prescriptive Standards allow three options under Section 150.1(c)8.

  - A single gas or propane instantaneous water heater with an input of 200,000 Btu per hour or less and no storage tank, and that meets the requirements of Sections 110.1 and 110.3.

  - A single gas or propane storage type water heater with an input of 105,000 Btu per hour or less, rated volume less than or equal to 55 gallons and that meets the requirements of Sections 110.1 and 110.3. The dwelling unit shall meet all of the requirements for Quality Insulation Installation (QII) as specified in the Reference Appendix RA3.5.

  - A single gas or propane storage type water heater with an input of 105,000 Btu per hour or less, rate volume of more than 55 gallons, and that meets the requirements of Sections 110.1 and 110.3.

  - Electric water heaters can only be used if is not connected to the building.  For recirculation systems, only demand recirculation system with manual control pumps can be used.

- Water Heating System Identification or Name: Enter a unique name for the Water Heating System.

- Water Heating System Type: Domestic Hot Water (DHW), Hydronic, Combined Hydronic, or Central. DHW is for domestic hot water, hydronic is a water heating system used for space heating only; combined hydronic are when the water heater will provide both space conditioning and domestic hot water.

- Water Heater Type: For non-central systems only Small/Consumer Storage, Residential-Duty Commercial Storage, Large/Commercial Storage (less than or equal to 105,000 Btu/h) or Small/Consumer Instantaneous are allowed. For central systems pick from Large/Commercial Storage, Small/Consumer Storage, Residential-Duty Commercial Storage, Heat Pump, Boiler, Large/Commercial Instantaneous, Small/Consumer Instantaneous, Residential-Duty Commercial Instantaneous or Indirect.

- Number of Water Heaters in System: In single family and multi-family with water heaters in each dwelling units the value is 1. For multi-family central systems serving multiple dwelling units enter the total number of water heaters.

- Water Heater Volume (gal): Tank capacity in gallons. For instantaneous water heaters, enter n/a. For multi-family central systems enter the total storage volume.

- Fuel Type: Gas, Propane, or Electric (only if natural gas is not connected to the building)

- Rated Input Type: Enter the equipment input rating type, for gas or propane fired system the units are Btuh, for electric fired system the units are kW.

- Rated Input Value: Enter the numeric value of rated input.

- Heating Efficiency Type: Energy Factor, AFUE, UEF or Thermal Efficiency. From product literature or a California Energy Commission directory.

- Heating Efficiency Value: Enter the value from product literature or a California Energy Commission directory

- Standby Loss (%): Applies only to large storage water heaters. Enter n/a for small storage or instantaneous water heaters.

- Exterior Insulation R-Value: Enter the R-value if exterior insulation on the storage tank is installed

- Back-up Solar Savings Fraction: If compliance requires a back-up solar system, indicate the solar contribution (e.g., 0.30). External calculations are required.

- Central DHW System Distribution Type: For multi-family buildings using a central distribution system a demand recirculation system with at least two distribution loops must be installed. This requirement applies to any building with eight or more units. If the system is non-central or project has individual units enter n/a.

- Dwelling Unit DHW System Distribution Type: For a Central DHW this field shall be Standard. If non-central then pick from Standard, Demand Recirculation – Manual Control, Demand Recirculation – Sensor Control. Non-central electric water heater must be Standard, no recirculation system shall be installed.

L. Space Conditioning and Water Heating in Multifamily Dwelling Units

If an existing space system will condition an addition, the prescriptive requirements do not apply to that system (Exception 4 to Section 150.2(a)).  The enforcement agencies may require verification that the capacity of the existing heating system is adequate to meet the added load of the additional conditioned floor area. Since there is no health and safety code requirement to provide cooling, the enforcement agency will not ask for verification that the capacity of the existing system is adequate to meet the added load of the additional conditioned floor area. If a new space conditioning system is installed complete a Certificate of Compliance for Alterations to Space Conditioning Systems (CF1R-ALT-02)

- Dwelling Unit Name: Enter one unique name for each of the number of dwelling units with additions as identified in Section A field 06.

- Dwelling Unit Total CFA – Sum of Existing Plus Addition (ft2): Total dwelling unit conditioned floor area in ft2, as measured from the outside of exterior walls of the dwelling unit or building being altered.

- Central Water Heating System Identification or Name: Enter the central DHW system names from K. 01.

- Dwelling Unit Water Heating System Identification or Name: Note the applicable water heating system name(s) that were entered in section K or L. If more than one water heating system type is needed in the dwelling unit, add another row of data for the dwelling unit and enter the additional water heating system name.

- Dwelling Unit - Installing a New Space Conditioning System?: If a new Space Conditioning system is planned to be installed, then enter yes, otherwise enter no.

- Comments: Any notes regarding location or unique conditions.

Documentation Declaration Statements

- The person who prepared the CF1R will sign and complete the fields for their name, company (if applicable), address, phone number, certification information (if applicable), date and signature (may be electronic).

- The person who is assuming responsibility for the project being built to comply with Title 24, Part 6, will complete the fields for their name, company (if applicable), address, phone number, license number (if applicable), date and signature (may be electronic).

Registration

The CF1R must be registered with a HERS provider prior to submitting for a building permit.

- ReferencesWater Heaters:

Section 150.1(c) allows a limited number of conditions for water heating. If conditions other than these are proposed, the prescriptive compliance approach cannot be used:

Single Dwelling Unit

- A single gas or propane instantaneous water heater with an input of 200,000 Btu per hour or less and no storage tank, and that meets the requirements of Sections 110.1 and 110.3.

- A single gas or propane storage type water heater with an input of 105,000 Btu per hour or less, rated volume less than or equal to 55 gallons and that meets the requirements of Sections 110.1 and 110.3. The dwelling unit shall meet all of the requirements for Quality Insulation Installation (QII) as specified in the Reference Appendix RA3.5.

- A single gas or propane storage type water heater with an input of 105,000 Btu per hour or less, rate volume of more than 55 gallons, and that meets the requirements of Sections 110.1 and 110.3.

Central System

- All water heaters installed mustcomply with Sections 110.1 and 110.3. The distribution system shall be equipped with a demand recirculation control allowing pump operation to be based on measurement of hot water demand and hot water return temperature. The system shall have at least two loops. Buildings with 8 or less units do not have to comply with the demand recirculation requirement.

| A. General Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 01 | Project Name: | <<User Input: Text>> | 02 | Date Prepared: | <<User Input: Date>> |
| 03 | Project Location: | <<User Input: String>> | 04 | Building Front Orientation (deg): | <<User Input: IntegerNonnegative>> |
| 05 | CA City: | <<User Input: String>> | 06 | Number of Dwelling Units with Additions: | <<User Input: IntegerNonnegative; note if A11=Single Family, then the value=1; else if A11=Multifamily, then the value ≥2>> |
| 07 | Zip Code: | <<User Input: Zipcode>> | 08 | Fuel Type: | <<User selects from list: Electricity, Natural Gas, Propane>> |
| 09 | Climate Zone: | <<User selects from list: 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 16>> | 10 | Total Conditioned Floor Area (ft2) (Addition): | <<User Input: IntegerNonnegative>> |
| 11 | Building Type | <<user select one from list: *Single Family *Multi Family>> | 12 | Slab Area (ft2): | <<User Input: IntegerNonnegative>> |
| 13 | Project Scope: | << user select as many as are applicable from list: *Addition < 300 ft2 *Addition > 300 to < 400 ft2 *Addition > 400 to < 700 ft2 *Addition > 700 to < 1000 ft2 *Space Heating System * Space Cooling System * Space Conditioning Duct System *Water Heating *Fenestration (if selected, show A14)>> | 14 | Exceptions to Fenestration U-factor and SHGC 150.1(c)3A | <<User selects as many as are applicable from list: *NA (do not allow other entries) *Installing ≤ 3ft2 glass in door *Installing ≤ 3ft2 tubular skylight *Installing ≤ 16ft2 skylight |

| B. Opaque Surface Details – Framed (Section 150.2(a)) <<if A13 = one of the items in the following list: *Addition ≤ 300 ft2 *Addition > 300 to ≤ 400 ft2 *Addition > 400 to ≤ 700 ft2 *Addition > 700 to ≤ 1,000 ft2 then display this section but entry is optional, else display the section header and standard “This Section Does Not Apply” message>> |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |  | 07 | 08 | 09 | 10 | 11 |
| Tag/ID | Assembly Type | Frame Type | Frame Depth (inches) | Frame Spacing (inches) | Proposed |  |  |  |  | Required | Comments |
|  |  |  |  |  | Cavity R-value | Continuous Insulation R-value | U-Factor | Appendix JA4 Reference |  | U-Factor |  |
|  |  |  |  |  |  |  |  | Table | Cell |  |  |
| <<User Input: ObjectNamePermissive>> | <<User selects from list: Ceiling, Floor, Roof, Wall>> | << User selects from Wood or Metal>> | << User selects from 2x4, 2x6, 2x8, 2x10, 2x12 or 2x14>> | << user selects from list: 16InchOC, 24InchOC, or 48InchOC>>>> | <<User Input: DecimalNonnegative>> | <<User Input: DecimalNonnegative>> | <<User Input: DecimalNonnegative>> | <<User Input: JA_TableID>> | <<User Input: JA_TableCell>> | <<User Input: DecimalNonnegative>> | <<User Input: Text>> |
| Note: - Where insulation is installed above the roofing membrane or above the layer used to seal the roof from water penetration the insulation shall have a maximum water absorption of 0.3 percent by volume when tested according to ASTM Standard C272. - Extensions of existing wood-framed walls may retain the dimensions of the existing walls and shall install cavity insulation of R-15 in a 2x4 framing and R-19 in a 2x6 framing. |  |  |  |  |  |  |  |  |  |  |  |

| C. Opaque Surface Details – Non-framed (Section 150.1(c)1) <<if A13 = one of the items in the following list: *Addition ≤ 300 ft2 *Addition > 300 to ≤ 400 ft2 *Addition > 400 to ≤ 700 ft2 *Addition > 700 to ≤ 1,000 ft2 then display this section but entry is optional, else display the section header and standard “This Section Does Not Apply” message>> |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 |
| Tag/ID | Assembly Type | Assembly Materials | Thickness (inches) | Proposed |  |  |  |  | Required | Comments |
|  |  |  |  | Core Insulation R-value | Continuous Insulation R-value | U-Factor | Appendix JA4 Reference |  | U-Factor from Package A |  |
|  |  |  |  |  |  |  | Table | Cell |  |  |
| <<User Input: ObjectNamePermissive>> | <<User selects from list: Roof, Wall>> | <<User selects from list: SIP OSB, SIP 2x, SIP 4x, SIP I-Joist>> | <<User Input: DecimalNonnegative>> | <<User Input: DecimalNonnegative>> | <<User Input: DecimalNonnegative>> | <<User Input: DecimalNonnegative>> | <<User Input: JA_TableID>> | <<User Input: JA_TableCell>> | <<User Input: DecimalNonnegative>> | <<User Input: Text>> |
| Note: - Where insulation is installed above the roofing membrane or above the layer used to seal the roof from water penetration the insulation shall have a maximum water absorption of 0.3 percent by volume when tested according to ASTM Standard C272. |  |  |  |  |  |  |  |  |  |  |

| D. Opaque Surface Details – Mass Walls (Section 150.1(c)1) <<if A13 = one of the items in the following list: *Addition ≤ 300 ft2 *Addition > 300 to ≤ 400 ft2 *Addition > 400 to ≤ 700 ft2 *Addition > 700 to ≤ 1,000 ft2 then display this section but entry is optional, else display the section header and standard “This Section Does Not Apply” message>> |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 |  | 08 |  | 09 | 10 | 11 |  | 12 |  |
| Tag/ID | Walls Above Grade | Mass Type | Mass Thickness (inches) | Interior Furring Strip Thickness (inches) | Exterior Furring Strip Thickness (inches) | Proposed |  |  |  |  |  | Required |  |  |  |
|  |  |  |  |  |  | Interior Insulation |  | Exterior Insulation |  | Appendix JA4 Reference |  | Interior Insulation |  | Exterior Insulation |  |
|  |  |  |  |  |  | R-value | U-factor | R-value | U-factor | Table | Cell | R-value | U-factor | R-value | U-factor |
| <<User Input: ObjectNamePermissive>> | <<User selects from list: Yes or No>> | <<User selects from list: Clay Brick, Clay Hollow Unit, CMU Light Weight, CMU Medium Weight, CMU Normal Weight, Concrete or Insulating Concrete Forms>> | <<User Input: DecimalNonnegative>> | <<User Input: DecimalNonnegative>> | <<User input: DecimalNonnegative>> | <<User Input: DecimalNonnegative; Note: Either R-value or U-factor is required, not both. The same descripted should be used throughout this table.>> | <<User Input: DecimalNonnegative; Note: Either R-value or U-factor is required, not both. The same descripted should be used throughout this table >> | <<User Input: DecimalNonnegative; Note: Either R-value or U-factor is required, not both. The same descripted should be used throughout this table >> | <<User Input: DecimalNonnegative; Note: Either R-value or U-factor is required, not both. The same descripted should be used throughout this table >> | <<User Input: JA_TableID>> | <<User Input: JA_TableCell>> | <<User Input: DecimalNonnegative; Note: Either R-value or U-factor is required, not both. The same descripted should be used throughout this table >> | <<User Input: DecimalNonnegative; Note: Either R-value or U-factor is required, not both. The same descripted should be used throughout this table >> | <<User Input: DecimalNonnegative; Note: Either R-value or U-factor is required, not both. The same descripted should be used throughout this table >> | <<User Input: DecimalNonnegative; Note: Either R-value or U-factor is required, not both. The same descripted should be used throughout this table >> |

| E. Slab Insulation (Table 150.1-A) <<if A13 = one of the items in the following list: *Addition ≤ 300 ft2 *Addition > 300 to ≤ 400 ft2 *Addition > 400 to ≤ 700 ft2 *Addition > 700 to ≤ 1,000 ft2 then display this section but entry is optional, else display the section header and standard “This Section Does Not Apply” message>> |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| Floor Type | Proposed |  | Required |  | Comments |
|  | R-value | U-factor | Insulation R-value | Insulation U-factor |  |
| <<User selects from list: Slab on grade, Slab raised>> | <<User Input: DecimalNonnegative>> | <<User Input: DecimalNonnegative>> | <<User Input: DecimalNonnegative>> | <<User Input: DecimalNonnegative>> | <<User Input: Text>> |
| - Heated slab floors require mandatory slab insulation (see Table 110.8-A). |  |  |  |  |  |

| F. Radiant Barrier (Section 150.1(c)2) <<if A13 = one of the items in the following list: *Addition ≤ 300 ft2 *Addition > 300 to ≤ 400 ft2 *Addition > 400 to ≤ 700 ft2 *Addition > 700 to ≤ 1,000 ft2 then display this section, else display the section header and standard “This Section Does Not Apply” message>> |  |  |
| --- | --- | --- |
| 01 |  | 02 |
| Radiant Barrier installed below the roof deck and on all gable end walls |  | Comment |
| << place YES, NO, NA as a drop down>> << if A09 is 2-15 and a No or NA is displayed, ‘Do NO PROCEED’>> |  | <<User Input: Text>> |
| A radiant barrier is required (for Climate Zones 2-15) - Radiant barriers shall meet specific eligibility and installation criteria to receive energy credit for compliance with the Building Energy Efficiency Standards for low-rise residential buildings. Refer to RA4.2.1 - The emittance of the radiant barrier shall be less than or equal to 0.05 as tested in accordance with ASTM C1371 or ASTM E408. - For Prescriptive Compliance the attic shall be ventilated to provide a minimum free ventilation area of not less than one square foot of vent area for each 300 ft2 of attic floor area with no less than 30 percent upper vents. Ridge vents or gable end vents are recommended to achieve the best performance. The material should be cut to allow for full airflow to the venting. |  |

| G. Roofing Products (Cool Roof) (Section 150.1(c)11) <<If A13= one of the items in the following list: *Addition > 300 to < 400 ft2 *Addition > 400 to < 700 ft2 *Addition > 700 to < 1000 ft2 then display this section, else display the section header, and standard “The Section Does Not Apply” message>> |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 |
| Tag/ID | Mass Roof 25 lb/ft2 or greater | Roof Pitch | Method of compliance | Product Type | CRRC Product ID Number | Proposed |  |  |  | Required |  |  |
|  |  |  |  |  |  | Initial Solar Reflectance | Aged Solar Reflectance | Thermal Emittance | SRI (Optional) | Aged Solar Reflectance | Thermal Emittance | SRI (Optional) |
| <<User Input: ObjectNamePermissive>> | <<User selects from list: Yes or No; if Yes, meets cool roofs done. Else No go to 03>> | <<User selects from list: Roof pitch is > 2:12 or Roof pitch is ≤ 2:12>> | << User selects from list: Not in an applicable climate zone, Aged Solar Reflectance and Thermal Emittance, or SRI>> | <<User selects from CRRC product list: Asphalt Shingles, Built-up Roofing, Clay Roof Tiles, Factory Applied Coating, Field Applied Coating, Metal Roof, Modified Bitumin Sheet, Roof Pavers, Single Ply Thermoplastic, Single Ply Thermoset, Metal Shakes Shingles Fluid Applied Membrane, Polymer Composite Steep Slope, Spray Polyurethane Foam, Stone Aggregate Ballast>> | <<User input From the CRRC Directory if user knows what they are going to install. Else NA>> | <<if cell 04 = ‘Not in an applicable climate zone’ then result = NA; Else If the user knows what they are installing, the user enters the DecimalNonnegative value from the CRRC Directory, Else allow user to enter NA>> | <<if cell 04 = ‘Not in an applicable climate zone’ then result = NA; else User Input: DecimalNonnegative>> | <<if cell 04 = ‘Not in an applicable climate zone’ then result = NA; else User Input: DecimalNonnegative>> | <<if CoolRoofComplianceMethod does not equal SolarReflectanceIndex then result is NA; Else user enters value from CRRC directory or from a completed SRI Worksheet>> | << for Climate Zones 13 & 15 shown in Section A cell 09, and if cell 03 of Section G indicates a ≤ 2:12 roof pitch place a 0.63 else for Climate Zones 10-15 and if G03 indicates roof pitch is >2:12 place a 0.20. Else for all other combination of climate zone and roof pitch, the result = NA>> | <<for Climate Zones 13 & 15 shown in Section A cell 09, and if cell 03 of Section G indicates ≤ 2:12 roof pitch and G04 is Aged Solar Reflectance and Thermal Emittance then Thermal Emittance is 0.75. For climate zones 10-15 if G03 indicates roof pitch is > 2:12 then Thermal Emittance is 0.75. Else for all other combinations of climate zone, roof pitch and cool roof compliance method, the result = NA>> | << if cell 04 indicates SRI and cell 03 indicates ≤ 2:12 place 75 for climate 13 and 15 based on Section A cell 09. But if cell 03 indicates >2:12, SRI should be 16 for climate zones 10-15 based on Section A cell 09. All other climate zone and roof pitch shall be NA>> |
| NOTES: - Any roof area covered by building integrated photovoltaic panels and solar thermal panels are exempt from the above Cool Roof requirements. - Liquid field applied coatings must comply with installation criteria from section 110.8(i)4. |  |  |  |  |  |  |  |  |  |  |  |  |

| H. Fenestration/Glazing Allowed Areas and Efficiencies (Section 150.2(a)1) <<if A13 contains Fenestration then display this section, else display the section header and standard “This Section Does Not Apply” message>> |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 |
| Addition Type ft2 | Maximum Allowed Fenestration Area For All Orientations ft2 |  | Maximum Allowed West-Facing Fenestration Area Only ft2 |  | Maximum Allowed U-factor (Windows) | Maximum Allowed U-factor (Skylights) | Maximum Allowed SHGC (Windows) | Maximum Allowed SHGC (Skylights) | Comments |
|  | The Greater |  | The Greater |  |  |  |  |  |  |
|  | Maximum Calculated based on Allowed % | Maximum Calculated Allowed ft2 | Maximum Calculated based on Allowed % | Maximum Calculated Allowed ft2 |  |  |  |  |  |
| <<This value is auto-filled with the Project Scope in section A: *Addition ≤ 300 ft2 *Addition > 300 to ≤ 400 ft2 *Addition > 400 to ≤ 700 ft2 *Addition > 700 to ≤ 1,000 ft2>> | <<Calculated Value: If H01 equals Addition < 300 ft2 or Addition > 300 to < 400 ft2, value equals A10 * 0.30 Elseif Addition > 400 to < 700 ft2, value equals A10 * 0.25 Elseif Addition > 700 to < 1000 ft2, , value equals A10 * 0.20>> | <<Calculated Value: If H01 equals Addition < 300 ft2 or Addition > 300 to < 400 ft2, value equals 75ft2 Elseif Addition > 400 to < 700 ft2, value equals 120ft2 Elseif Addition > 700 to < 1000 ft2, value equals 175ft2>> | <<Calculated Value: if A09 = 1, 3 or 5, then value equals NA; Else if H01 equals Addition < 300 ft2, Addition > 300 to < 400 ft2, or Addition > 400 to < 700 ft2, then value equals N/A; Else if Addition > 700 to < 1000 ft2, value equals (A10*0.05)>> | <<Calculated Value: If A09 = 1, 3 or 5, then value equals NA; Else if H01 equals Addition < 300 ft2, Addition > 300 to < 400 ft2 or Addition > 400 to < 700 ft2, then value equals 60ft2; Elseif Addition > 700 to < 1000 ft2, value equals 70ft2>> | <<0.32>> | <<If A14 contains Installing ≤ 3ft2 tubular skylight, or Installing ≤ 16ft2 skylight, then report 0.55; Else report 0.32>> | <<If A09 equals 1, 3 or 5 then report N/A; Else report 0.25>> | <<If A14 contains Installing ≤ 3ft2 tubular skylight, or Installing ≤ 16ft2 skylight, then report 0.30; Else report 0.25>> | <<User Input: Text>> |

| I. Fenestration Proposed Areas and Efficiencies Note: If meeting Exception 1 to 150.1(c)3A, Installing ≤ 3ft2 glass in door, it is assumed to meet the minimum required U-factor (0.32) & SHGC (0.25). If meeting Exception 1 to 150.1(c)3A, Installing ≤ 3ft2 tubular skylight, it is assumed to meet the minimum required U-factor (0.55) & SHGC (0.30). <<if A13 contains Fenestration then display this section, else display the section header and standard “This Section Does Not Apply” message>> |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 |  | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 |  | 14 |
| Tag/ ID | Fenestration Type | Frame Type |  | Dynamic Glazing | Orientation N, S, W, E | Number of Panes | Proposed Fenestration Area (ft2) | Proposed West Facing Fenestration Area (ft2) | Proposed U-factor | Source | Proposed SHGC | Source | Exterior Shading Device |  | Combined SHGC from CF1R-ENV-03 |
| << User Input: String (max 50 characters)>> | << User selects from list: *fixed window, *operable window, *skylight *tubular skylight (only allow if A14 contains Installing ≤ 3 ft2 tubular skylight), *glass in door (only allow if A14 contains Installing ≤ 3 ft2 glass in door>> | << User selects from list: Metal, Metal Thermal Break and non-metal>> |  | << User selects from list: NONE, Chromogenic Glazing, Integrated Shading device>> | <<User selects from list: North, East, South and West>> | <<User selects from list: Single pane, Double pane and Triple pane>> | << If I05 equals North, East or South, then enter user defined number in this column>> | << If I05 equals West, then enter user defined number in this column>> | <<User Input: DecimalNonnegative>> | <<User selects from list: NFRC, Tables 110.6-A and 110.6-B, Equations NA6-1 and NA6-2, or Area-weighted Average Worksheet (ENV-02)>> | <<User Input: DecimalNonnegative>> | <<User selects from list: NFRC, Tables 110.6-A and 110.6-B, Equations NA6-1 and NA6-2, or Area-weighted Average Worksheet (ENV-02)>> | <<User selects from list: Drop Arm Awnings, Louvered Sun Screen, Low Sun Angle Louvered Sun Screen, None, Operable Awnings, South-facing Overhang, Retractable Awnings, Roll Down Blinds Or Slats, Standard Bug Screen, Sun Screen, Vertical Roller Or Shades>> |  | <<If I13 equal to None, or I04 contains Chromogenic glazing, then report N/A; Else report value from CF1R-ENV-03>> |
| 15 | Total Proposed Fenestration Area |  |  |  |  |  |  |  |  |  |  |  | <<calculate (sum of column I07 and I08)>> |  |  |
| 16 | Maximum Allowed Fenestration Area |  |  |  |  |  |  |  |  |  |  |  | <<Report Greatest Value from H02 or H03>> |  |  |
| 17 | Compliance Statement |  | <<If I15 is equal to or less than I16 then report: Design Complies with the Total Allowed Fenestration Area Else report: Total Proposed Fenestration Area Exceeds Allowable, Do Not Proceed >> |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | Total Proposed West-Facing Fenestration Area |  |  |  |  |  |  |  |  |  |  |  |  | <<calculate (sum of column I08)>> |  |
| 19 | Maximum Allowed West-Facing Fenestration Area |  |  |  |  |  |  |  |  |  |  |  |  | << Report Greatest Value from H04 or H05>> |  |
| 20 | Compliance Statement |  | <<If I18 is equal to or less than I19, or I19 equals N/A, then report: Design Complies with the Total Allowed West-facing Fenestration Area Else report: Total Proposed West-facing Fenestration Area Exceeds Allowable, Do Not Proceed>> |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | Proposed Fenestration U-factor (Windows) |  |  |  |  |  |  |  |  |  |  |  |  | <<If I02 contains fixed or operable window and if all associated values listed in column I09 are less than or equal to 0.32 then enter the largest value from list; If I02 does not contain fixed or operable window then value equals NA; Else enter the weighted average value from the CF1R-ENV-02>> |  |
| 22 | Required Fenestration U-factor (Windows) |  |  |  |  |  |  |  |  |  |  |  |  | << Report Value from H06>> |  |
| 23 | Compliance Statement |  | <<If I21 equals NA then value equals NA; If I21 is equal to or less than I22 then report: Design Complies with the Maximum Allowed Fenestration U-value Else report: Fenestration U-value Exceeds Allowable, Do Not Proceed>> |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | Proposed Fenestration SHGC (Windows) |  |  |  |  |  |  |  |  |  |  |  |  | <<If I02 contains fixed or operable window and if all associated values listed in column I11 or I14 are less than or equal to 0.25 then report the single largest value from the two lists; If I02 does not contain fixed or operable window then value equals NA; Else enter the weighted average value from the CF1R-ENV-02>> |  |
| 25 | Required Fenestration SHGC (Windows) |  |  |  |  |  |  |  |  |  |  |  |  | <<Report Value from H08>> |  |
| 26 | Compliance Statement |  | <<If I24 equals NA then value equals NA; If I24 is equal to or less than I25, or I25 equals N/A, then report: Design Complies with the Maximum Allowed Fenestration SHGC Else report: Fenestration SHGC Exceeds Allowable, Do Not Proceed>> |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 | Proposed Fenestration U-factor (Skylights) |  |  |  |  |  |  |  |  |  |  |  |  | <<If I02 contains skylights then enter the largest value from I09; If I02 does not contain skylights then value equals NA>> |  |
| 28 | Required Fenestration U-factor (Skylights) |  |  |  |  |  |  |  |  |  |  |  |  | << Report Value from H07>> |  |
| 29 | Compliance Statement |  | <<If I27 equals NA then value equals NA; If I27 is equal to or less than I28 then report: Design Complies with the Maximum Allowed Fenestration U-value Else report: Fenestration U-value Exceeds Allowable, Do Not Proceed>> |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 | Proposed Fenestration SHGC (Skylights) |  |  |  |  |  |  |  |  |  |  |  |  | <<If I02 contains skylight then enter the single largest associated value from columnsI11 or I14; If I02 does not contain skylight then value equals NA>> |  |
| 31 | Required Fenestration SHGC (Skylights) |  |  |  |  |  |  |  |  |  |  |  |  | <<Report Value from H09>> |  |
| 32 | Compliance Statement |  | <<If I30 equals NA then value equals NA; If I30 is equal to or less than I31 then report: Design Complies with the Maximum Allowed Fenestration SHGC Else report: Fenestration SHGC Exceeds Allowable, Do Not Proceed>> |  |  |  |  |  |  |  |  |  |  |  |  |

| J. Space Conditioning (SC) Systems – Heating/Cooling – Single Family Dwelling (Section 150.2(b) or (Section 150.1(c)7) <<if A11=Multifamily, then display the section does not apply message; elseif none of the following are selected in A13: Space Heating System, or Space Cooling System, or Space Conditioning Duct System, then display the section does not apply message; else if one or more of the following are selected in A13: Space Heating System, or Space Cooling System, or Space Conditioning Duct System, then require one row of data in this table>> <<the data registry shall require a CF1R-ALT-02 for the dwelling>> |  |  |
| --- | --- | --- |
| 01 | 02 | 03 |
| Dwelling Unit Name | Dwelling Unit Total CFA = Sum of Existing + Addition (ft2) | Comments |
| <<User Input: ObjectNamePermissive>> | <<User Input: IntegerNonnegative>> | <<User Input: Text>> |

| K. Water Heating Systems (Section 150.2(a)1D) or (Section 150.1(c)8) List water heaters and boilers for both domestic hot water (DHW) heaters and hydronic space heating. <<if Water Heating is not selected in A13, then display the section does not apply message, else display the section but entry is optional and allow user to add multiple rows>> |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 |
| Water Heating System ID or Name | Water Heating System Type | Water Heater Type | # of Water Heaters in System | Water Heater Storage Volume (gal) | Fuel Type | Rated Input Type | Rated Input Value | Heating Efficiency Type | Heating Efficiency Value | Standby Loss (%) | Exterior Insul. R-Value | Back-Up Solar Savings Fraction | Central DHW System Distribution Type | Dwelling Unit DHW System Distribution Type |
| <<user input text; do not allow duplicate entries in this column; allow user to enter multiple rows as needed>> | <<user pick from list, DHW, Hydronic, Combined Hydronic, Central>> | <<if K02 = DHW then user pick from list: Small storage, Large storage, Consumer Sotrage, Commercial storage, Consumer instantaneous, Small Instantaneous, or Residential-Duty Commercial storage; Else user pick one from list: Large Storage, Small Storage, Heat Pump, Boiler, Large Instantaneous, Small Instantaneous, Consumer Storage, Commercial storage, Consumer Instantaneous, Commercial Instantaneous, Residential-Duty Commercial, Residential-Duty Commercial Instantaneous, or Indirect.>> | <<User Input: IntegerNonnegative>> | <<user input number xxx.x, or if A03 = instantaneous enter N/A>> | <<user pick one from list: Natural Gas, Propane, or Electricity.>> | <<If Fuel Type L06 = Natural Gas, Propane, then Rated Input Type = Btu/Hr. Else if Fuel Type = Electricity then Rated Input = kW>> | <<User Input: DecimalNonnegative; range check: if Water Heater Type = Small storage, large storage, Consumer storage, Commercial storage, or Reisdnetial-duty commercial storage then value must be ≤ 105,000>> | << user pick from list: *Energy Factor, *AFUE *Thermal Efficiency*Uniform Energy Factor>> | <<User Input: DecimalNonnegative>> | <<user input DecimalNonnegative x.xx, or select N/A>> | <<user input DecimalNonnegative xx, or select N/A>> | <<user input DecimalNonnegative, or select N/A>> | <<user pick from list: *n/a - not a central DHW system *Multi-family: Recirculating demand control; *>> | <<If K14≠ n/a, then value= *Standard Distribution System Elseif K14 = N/A, and Water Heater Type = Small Storage, Large storage, Consumer Storage, Commercial storage, or Residential-duty commercial storage, then user pick from list: *HERS-Verified Pipe Insulation; or *HERS-Verified Compact Hot Water Distribution System; Else user pick from list: *Standard Distribution System; *Demand Recirculation – Manual Control *Demand Recirculation – Sensor Control *Point of Use>> |

| L. Space Conditioning Systems and Water Heating Systems in Multifamily Dwelling Units <<If A11=Single Family, then display the section does not apply message; Elseif none of the following are selected in A13: Space Heating System, or Space Cooling System, or Space Conditioning Duct System, Water Heating, then display the section does not apply message; else if one or more of the following are selected in A13: Space Heating System, or Space Cooling System, or Space Conditioning Duct System, or Water Heating, then require one (1) row of to be entered in this section for each of the quantity of dwelling units entered in A06; require one (1) unique dwelling unit name in L01 for each of the quantity of dwelling units entered in A06; >> <<the data registry shall require one CF1R-ALT-02 and one CF2R-MCH-01b for each unique dwelling unit name reported in this section for which L05=yes>> <<the data registry shall require one (1) CF2R-PLB-01 for buildings that have one (1) or more systems for which K14≠ n/a>> <<The data registry shall require one (1) CF2R-PLB-02 for each of the dwelling unit names reported in L01 for which L04 ≠ n/a>> |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| Dwelling Unit Name | Dwelling Unit Total CFA = Sum of Existing + Addition (ft2) | Central Water Heating System Identification or Name | Dwelling Unit Water Heating System Identification or Name | Dwelling Unit: Alteration to Existing or Installing a New Space Conditioning System? | Comments |
| <<user entry text; require at least the same quantity of unique dwelling unit names to be entered in this column as are identified in A06; do not allow duplicate dwelling unit names>> | <<user enter integer ≥ 0; for each dwelling unit name in L01>> | << if all values in column K14=n/a, then value = n/a; else, user pick from list comprised of all the Water Heating Systems in K01 that do not have a value of n/a in K14, or allow user to pick n/a if the dwelling unit is not served by a central DHW system>> | <<if no water heating systems are planned to be installed in this dwelling, then user pick from list value=n/a, else allow user to pick multiple items from list comprised of all the Water Heating System Names contained in K01 for which K14=n/a>> | <<user pick from list: yes; no>> | <<user input text>> |