| A. General System Information |  |  |
| --- | --- | --- |
| 01 | Water Heating System Name: |  |
| 02 | Conditioned Floor Area (ft2): |  |
| 03 | Climate Zone: |  |
| 04 | Solar System Manufacturer: |  |
| 05 | Model Number: |  |
| 06 | SRCC Certification Number: |  |

| B. Inputs for Systems SRCC OG-300 |  |  |
| --- | --- | --- |
| 01 | Solar Energy Factor of OG-300 Solar Water Heating System (as listed in SRCC directory ) |  |
| 02 | Type of Back Up Water Heater: Gas or Electric |  |
| 03 | Calculated Solar Savings Fraction: |  |

| Documentation Author's Declaration Statement |  |
| --- | --- |
| - I certify that this Certificate of Compliance documentation is accurate and complete. |  |
| Documentation Author Name: | Documentation Author Signature: |
| Company: | Signature Date: |
| Address: | CEA/HERS Certification Identification (if applicable): |
| City/State/Zip: | Phone: |
| Responsible Person's Declaration statement |  |
| ### I certify the following under penalty of perjury, under the laws of the State of California: - The information provided on this Certificate of Compliance is true and correct. - I am eligible under Division 3 of the Business and Professions Code to accept responsibility for the building design or system design identified on this Certificate of Compliance (responsible designer). - That the energy features and performance specifications, materials, components, and manufactured devices for the building design or system design identified on this Certificate of Compliance conform to the requirements of Title 24, Part 1 and Part 6 of the California Code of Regulations. - The building design features or system design features identified on this Certificate of Compliance are consistent with the information provided on other applicable compliance documents, worksheets, calculations, plans and specifications submitted to the enforcement agency for approval with this building permit application. - I will ensure that a registered copy of this Certificate of Compliance shall be made available with the building permit(s) issued for the building, and made available to the enforcement agency for all applicable inspections. I understand that a registered copy of this Certificate of Compliance is required to be included with the documentation the builder provides to the building owner at occupancy. |  |
| Responsible Designer Name: | Responsible Designer Signature: |
| Company: | Date Signed: |
| Address: | License: |
| City/State/Zip: | Phone: |

# Section A. General System Information

# 01  Water Hetaing System Name: Enter the Water Heating System Name

02  Conditioned Floor Area (ft2): Enter the Conditioned Floor Area

03  Climate Zone: Enter the Climate Zone of the System Being Installed

04  Solar System Manufacturer: Enter the Solar Water Heating System Manufacturer

05  Model Number: Enter the Model Number

06  SRCC Certification Number: Enter the SRCC Certification Number

# Section B. Inputs for Systems SRCC OG-300

# 01  Solar Energy Factor of OG-300 Solar Water Heating System: Enter the Solar Energy Factor of OG-300 Solar Water Heating System (as listed in SRCC directory)

02  Type of Back Up Water Heater: Pick the Type of Back up Water Heater: Gas or Electric

03  Calculated Solar Savings Fraction: (auto-filled)

| A. General System Information |  |  |
| --- | --- | --- |
| 01 | Water Heating System Name: | <<text (from Certificate of Compliance)>> |
| 02 | Conditioned Floor Area (ft2): | <<numeric (from Certificate of Compliance)>> |
| 03 | Climate Zone: | <<numeric (from Certificate of Compliance)>> |
| 04 | Solar System Manufacturer: | <<text (user input)>> |
| 05 | Solar System Model Number: | <<text (user input)>> |
| 06 | Solar System SRCC Certification Number: | <<text (user input)>> |

| B. Inputs for Systems SRCC OG-300 |  |  |
| --- | --- | --- |
| 01 | Enter Solar Energy Factor of OG-300 Solar Water Heating System (as listed in SRCC directory) | <<text (user input)>> |
| 02 | Type of Back Up Water Heater: Gas or Electric | <<user selects either gas or electric (user input)>> EF is 0.6 for gas; EF is 0.9 for electric |
| 03 | Calculated Solar Savings Fraction: | <<numeric from calculation below>> |

| Step # | Description | Units | B03 calculation |
| --- | --- | --- | --- |
| 1 | Enter Solar Energy Factor of OG-300 solar water heating system as listed in SRCC directory | Dimensionless | From B01 |
| 2 | Enter Energy Factor of Water Heater (enter .6 for gas .9 for electric) | Dimensionless | From B02 |
| 3 | Constant - 41045 (amount of energy used in SRCC test ) | BTU | 41045.00 |
| 4 | Constant - 3500 average parasitic loss value in SRCC test | BTU | 3500.00 |
| 5 | Gallons per day usage value calculated as: (21.5+0.014*conditioned floor area) | Gallons | (21.5+0.014*A02) |
| 6 | Constant - 64.3 gallons used in SRCC test method | Gallons | 64.30 |
| 7 | Constant - Hot water supply temperature 135 | Degrees Fahrenheit | 135.00 |
| 8 | Enter inlet water temperature (Inlet water temperature values are listed on Table 1 by climate zone ) | Degrees Fahrenheit | Inlet water temperature from Table 1 based on Climate Zone A03 |
| 9 | Difference in supply and inlet water temperature (subtract line 8 from line 7) | Degrees Fahrenheit | line 7 – line 8 |
| 10 | Constant - 1500 Solar radiation value used in SRCC test (Solar radiation added as specified in SRCC RM-1) | Btu/ft2 - day | 1500.00 |
| 11 | Solar radiation level from Table 1 | Btu/ft2 - day | Solar radiation level from Table 1 based on Climate Zone A03 |
| 12 | Intermediate step to get line 13 | BTU | Multiply line 2 by line 3 |
| 13 | This is part of the step to get SF. SF = 1 – EF/SEF, or SF = 1 – (EF(Qaux+Qpar)/Qdel). The value of this step is EF * (QAux + Qpar) | BTU | Divide line 12 by line 1 |
| 14 | Adjustment of daily water usage to take account of the difference between the test house and the actual dwelling. | Dimensionless | Divide line 5 by line 6 |
| 15 | Adjustment to delta T to take account of the difference between the test house and actual dwelling. | Dimensionless | Divide the result in line 9 by 77 |
| 16 | This step applies the adjustments to Delta T and water usage, to the value in step 13 (EF*(Qaux+Qpar)) | BTU | Multiply lines 13, 14 and 15 |
| 17 | This step represents the second term of the SF equation (EF(Qaux+Qpar)/Qdel) or (EF/SEF) | Dimensionless | Divide line 16 by line 3 |
| 18 | Adjustment to incident solar radiation to take account of the difference between the test house and the actual dwelling. | Dimensionless | Divide line 10 by line 11 |
| 19 | EF/SEF term multiplied by the solar radiation adjustment above. | Dimensionless | Multiply line 17 by line 18 |
| 20 | Solar Fraction = 1 – (EF/SEF) | Dimensionless | Subtract line 19 from 1 |
|  |  |  | B03 = Line 20 |

| TABLE 1 |  |  |
| --- | --- | --- |
| Climate Zone | Water Temperature | Solar Radiation |
| 1 | 53.90 | 1220 |
| 2 | 57.52 | 1220 |
| 3 | 57.69 | 1533 |
| 4 | 59.12 | 1601 |
| 5 | 57.93 | 1602 |
| 6 | 61.55 | 1599 |
| 7 | 62.63 | 1586 |
| 8 | 62.97 | 1682 |
| 9 | 63.76 | 1685 |
| 10 | 63.76 | 1612 |
| 11 | 61.00 | 1580 |
| 12 | 59.65 | 1670 |
| 13 | 63.99 | 1726 |
| 14 | 61.48 | 1827 |
| 15 | 73.55 | 1884 |
| 16 | 50.54 | 1513 |