RB V2016.2.00 – Change Notes

All compliance document

- Update revdate format to remove “/”

ResHvac.xsd

- Add the following to ResidentialWaterHeaterType:

  - Consumer Instantaneous

  - Commercial Instantaneous

  - Consumer Storage

  - Commercial Storage

  - Residential-Duty Commercial Storage

  - Residential-Duty Commercial Instantaneous

- Add the following to ResidentialHeatingSystemType:

  - Packaged gas furnace

CF1R-ADD-01

- K03 – revised pseudo code

  - <<if K02 = DHW, then user pick one from list: Small storage, Large storage, Consumer storage, Commercial storage, Consumer instantaneous, Small instantaneous, or Residential-duty commercial storage; Else user pick one from list:… Consumer storage, Commercial storage, Consumer instantaneous, Commercial instantaneous, Residential-duty commercial storage, Residential-duty commercial instantaneous, or Indirect>>

- K06 – revised pseudo code

  - <<user pick one from list: Natural Gas, Propane, Oil, or Electricity>>

- K07 – revised pseudo code

  - <<If Fuel Type L06 = Natural Gas, Propane, Oil then Rated Input Type = Btu/hr…>>

- K08 – modified pseudo code

  - <<User input: DecimalNonnegative; range check: if Water Heater Type = Small storage, large storage, Consumer storage, commercial storage, or Residential-duty commercial storage, then value must be ≤ 105,000>>

- K15 – modified pseudo code

  - <<if K14 ≠ n/a, then value = *Standard Distribution System; Elseif K14 = N/A and Water Heater Type = Small Storage or Consumer Storage, then user pick from list: *HERS-Verified Pipe Insulation, or *HERS-Verified Compact Hot Water Distribution System; Else if L14 = n/a, then user pick from list: *Standard Distribution System, *Demand Recirculation – Manual Control, *Demand Recirculation – Sensor Control, *Point of Use>>

CF1R-ALT-01

- E04 – schema only change

  - displayterm should read: Roof deck insulation

- G22 – revised pseudo code

  - <<Report value = 0.32>>

- G25 – revised pseudo code

  - <<If A09 = 1, 3 or 5, then report NAS; else report 0.25>>

- G28 – revised pseudo code

  - <<If F01 contains ‘Add Fenestration/Glazing ≤ 16 ft2 Skylight’ then report 0.55; Else report 0.32>>

- G31 – revised pseudo code

  - <<If F01 contains ‘Add Fenestration/Glazing ≤ 16ft2 Skylight’ then report 0.30; else report 0.25>>

- H20 – revised pseudo code

  - <<If F01 contains ‘Replace Fenestration/Glazing ≤ 75ft2 Window’ then report 0.40; Else report 0.32>>

- H23 – revised pseudo code

  - <<If A09 = 1, 3 or 5, then report NA; Elseif F01 contains ‘Replace Fenestration/Glazing ≤ 75ft2 Window’ then report 0.35; Else report 0.25>>

- H26 – revised pseudo code

  - <<Report value = 0.55>>

- H29 – revised pseudo code

  - <<Report value = 0.30>>

- J03 – revised pseudo code

  - <<user pick one from list: Large storage, Small storage, Heat pump, Boiler, Large instantaneous, small instantaneous, Indirect, Consumer storage, Commercial storage, Consumer instantaneous, Commercial instantaneous, Residential-duty commercial storage, or Residential-duty commercial instantaneous>>

- J06 – revised pseudo code

  - <<user pick one from list: Natural Gas, Propane, Oil, or Electricity>>

- J07 – revised pseudo code

  - <<If Fuel Type J06 = Natural Gas, Propane, Oil then Rated Input Type = Btu/hr…

- J08 – modified pseudo code

  - <<User input: IntergerNonnegative; range check: if Water Heat Type = Small storage, Large storage, Consumer storage, Commercial storage, or Residential-duty commercial storage, then value must be ≤ 105,000>>

- J15 – add enumerated value:

  - Point of Use

CF1R-ALT-02

- D02/E02/F02 – add enumerated value:

  - Packaged gas furnace

- D05/E05/F05 – revised pseudo code

  - <<…default minimum value for AFUE=80; or default minimum value for HSPF…>>

CF1R-NCB-01

- J02 – add enumerated value:

  - Packaged Gas Furnace

- L03 – revised pseudo code

  - <<if L02 = DHW, then user pick one from list: Small storage, Large storage, Consumer storage, Commercial storage, Consumer instantaneous, Small instantaneous or Residential-duty commercial storage; Else user pick one from list:… Consumer instantaneous, Commercial instantaneous, Consumer storage, Commercial storage, Residential-duty commercial storage or Indirect>>

- L06 – modified pseudo code

  - <<user pick one from list: Natural Gas, Propane, Oil>>

- L07 – modified pseudo code

  - <<If fuel Type L06 = Natural Gas, Propane, Oil then Rated Input Type = Btu/Hr>>

- L08 – modified pseudo code

  - <<user input: IntegerNonnegative; range check, if L03 = Small storage, Large storage, Consumer storage, Commercial storage, or Residential-duty commercial storage, then value must be ≤ 105,000>>

- L15 – revised pseudo code

  - <<if L14 ≠ n/a, then value = *Standard Distribution System; Elseif L14 = N/A and Water Heater Type = Small Storage or Consumer Storage, then user pick from list: *HERS-Verified Pipe Insulation, or *HERS-Verified Compact Hot Water Distribution System; Else if L14 = n/a, then user pick from list: *Standard Distribution System, *Demand Recirculation – Manual Control, *Demand Recirculation – Sensor Control, *Point of Use>>

- Section N. – added note

  - “Quality Insulation Installation – Section 150.1(c)8ii…”

CF1R-STH-01

- Included in revision batch due to SDD restructuring

CF1R-STH-02

- Included in revision batch due to SDD restructuring

CF2R-ENV-01

- A06 – revised pseudo code

  - <<auto filled text: referenced from CF1R; but user can override with value equal to or less than CF1R>>

- A08 – revised pseudo code

  - <<auto filled text: referenced from CF1R; but allow user to override>>

CF2R-ENV-03

- A04/B04 – revised column header

  - “Assembly Thickness (inches)”

- A08/A10, B08/B10, C08/C09, D07/D09, E06 – revise pseudo code

  - <<pull from CF1R but user can override with value equal to or greater than CF1R; else NA >>

CF2R-ENV-04

- B01 – revised static text and pseudo code

  - Type of Vent (For instance, eyebrow vent, eave vent, round vent)

  - <<user pick from list: *eyebrow vent; *Eave vent; *Round vent>>

- C01 – revised static text and pseudo code

  - Type of Vent (For instance, eyebrow vent, eave vent, round vent, ridge vent)

  - <<user pick from list: *Eyebrow vent, *Eave vent, *Round Vent, *Ridge vent>>

- C02 – revised static text

  - NFA Per Vent (in2)/Per Liner Foot (ft) (Manufacturer’s Specification Sheet)

- C03 – revised static text

  - Number of Vents/Linear Feet Installed

CF2R-MCH-01a

- B04 – add enumerated value

  - Packaged gas furnace

- C02 – revised pseudo code

  - <<If B04 = ‘Combined Hydronic’ then report NA; Else auto filled text: referenced from CF1R for this system name>>

- C03 – revised pseudo code

  - <<If B04 = ‘Combined Hydronic’ then report NA; Else auto filled text: referenced from CF1R for this system name>>

- D04 – add enumerated value:

  - Packaged gas furnace

- D05 – modified pseudo code

  - <<reference value from B05 as default; if B05 = No Cooling, then allow user to override and pick: *Central split AC; note: cooling system type “No Cooling” is the flag for heating-only system type>>

- D09 – revised pseudo code

  - <<calculated field: reference value from B11>>

- E03 – revised pseudo code

  - <<reference value from C02; note: values may be *AFUE; *COP; *HSPF; or *NA>>

- E04 – revised pseudo code

  - <<If C03 = NA, then report NA; else user input, numeric, 100.0 ≥ xx.x ≥ 0.0; check value must be ≥ value in C03, to comply; else flag non-compliance value and do not allow registration to proceed>>

- I03 – revised pseudo code

  - <<reference value from C02; note: values may be *AFUE; *COP; HSPF; or *NA>>

- I04 – revised pseudo code

  - <<If C03 = NA, then report NA; Else user input, numeric…>>

- J09 – revised pseudo code

  - <<Default value = None>>

- M08 – revised pseudo code

  - <<If F03 > 14, then result = yes; if F08 < 45000 and F04 > 12.2, then result = yes; elseif F08 >= 45000 and F04 > 11.7 then result = yes; else result = no>>

CF2R-MCH-01b

- C02 – add enumerated value:

  - Packaged gas furnace

- C04 – revised pseudo code

  - <<if C02 = hydronic, hydronic + forced air, combined hydronic, combined hydronic + forced air, hydronic HP or hydronic HP + forced air, then display NA; else reference value from CF1R as default…>>

- C05 – revised pseudo code

  - <<if C02 = hydronic, hydronic + forced air, combined hydronic, combined hydronic + forced air, hydronic HP or hydronic HP + forced air, then display NA; else reference value from CF1R as default… default minimum value for AFUE = 80; or…>>

- D03 – revised pseudo code

  - <<if C05 = NA, then report NA; Else user input, numeric,…>>

CF2R-MCH-01c

- B03 – revised pseudo code

  - <<If B02 = hydronic, hydronic + forced air, combined hydronic, combined hydronic + forced air, hydronic HP or hydronic HP + forced air, then display NA; else auto filled text: referenced from CF1R for this system name>>

- B04 – revised pseudo code

  - <<If B02 = hydronic, hydronic + forced air, combined hydronic, combined hydronic + forced air, hydronic HP or hydronic HP + forced air, then display NA; else auto filled text: referenced from CF1R for this system name>>

- B10 – add enumerated value

  - NA

- C04 – ad enumerated value

  - Packaged gas furnace

- D03 – add enumerated value

  - NA

- D04 – revised pseudo code

  - <<if B04 = NA, then report NA; else user input numeric…>>

- H03 – add enumerated value

  - NA

- H04 – revised pseudo code

  - <<if B04 = NA, then report NA; else user input numeric…>>

CF2R-MCH-01d

- C02 – revised pseudo code

  - <<If B03 = ‘Combined Hydronic’ then report NA; else auto filled text referenced from CF1R for this system name>>

- C03 – revised pseudo code

  - <<If B03 = ‘Combined Hydronic’ then report NA; else auto filled text: referenced from CF1R for this system name>>

- D04 – add enumerated value:

  - Packaged gas furnace

- F03 – revised pseudo code

  - <<if SC system shown in Section C, then user pick one from list: *AFUE; *COP; *HSPF; or *NA; else as default reference the value from C02; allow user to override default and pick from list *AFUE; *COP; *HSPF; or *NA flag non-default value…>>

- F04 – revised pseudo code

  - <<If C03 = NA, then report NA; else user input numeric…>>

- J03 – revised pseudo code

  - <<reference value from C02; note: values may be *AFUE; *COP; *HSPF; or *NA>>

- J04 – revised pseudo code

  - <<If C03 = NA, then report NA; else user input numeric…>>

- O09 – revised pseudo code

  - <<If G03 > 14, then result=yes; if G08 < 45000 and G04 > 12.2, then result=yes; elseif G08 >= 45000 and G04 > 11.7, then result=yes; else result=no>>

CF2R-PLB-01a

- A03/B03 – add enumerated values:

  - Consumer Instantaneous

  - Commercial Instantaneous

  - Consumer Storage

  - Commercial Storage

  - Residential-Duty Commercial Storage

  - Residential-Duty Commercial Instantaneous

- A14/B14 – removed enumerated value

  - Pipe Insulation

- B08 – revised pseudo code

- <<User input value which must pass the following range tests:

If B06 = Natural Gas or Propane, then

If B03 = Large Storage or Commercial Storage, then value must be > 75,000 Btu/hr;

If B03 = Small Storage or Consumer Storage, then value must be ≤ 75,000 Btu/hr;

If B03 = Large Instant or Commercial Instant, then value must be > 200,000 Btu/hr;

If B03 = Small Instant or Consumer Instant, then value must be ≤ 200,000 Btu/hr;

Else if B03 = Residential-Duty Commercial Storage, then value must be ≤ 105,000 Btu/hr;

Else if B06 = Oil, then

If B03 = Large Storage, then value must be >105,000 Btu/hr;

If B03 = Small Storage, then value must be ≤ 105,000 Btu/hr;

If B03 = Large Instant, then value must be > 210,000 Btu/hr;

Else if B03 = Small Instant, then value must be ≤ 210,000 Btu/hr;

Else if B06 = Electricity, then

If B03 = Large Storage or Large Instant or Commercial Storage or Commercial Instant, then value must be > 12 kW;

If B03 = Small Storage or Small Instant or Consumer Storage or Consumer Instant or Heat Pump, then value must be ≤ 12 kW;

Else if B03 = Residential-Duty Commercial Instantaneous, then value must be ≤ 58.6 kW;

End If

Last range check: If A08 ≠ NA, then value must be +/-10% of the reported value in A08. If the value passes all range tests, it is stored in WaterHeaterElectricFiredRatedInput, if B06 = Electricity. Otherwise the value is stored in WaterHeaterGasFiredRatedInput>>

CF2R-PLB-01b

- New compliance document

CF2R-PLB-02a

- B03/C03 – add enumerated values:

  - Consumer Instantaneous

  - Commercial Instantaneous

  - Consumer Storage

  - Commercial Storage

  - Residential-Duty Commercial Storage

  - Residential-Duty Commercial Instantaneous

- B14/C14 – modified pseudo code

  - <<reference value fromCF1R; if B13 = NA then allowed values are: *Standard Distribution system; *Point of Use; *Parallel Piping;… If B13 ≠ N/A then allowed values are: *Standard Distribution System>>

- C08 – revised pseudo code

  - <<User input value which must pass the following range tests:

If B06 = Natural Gas or Propane, then

If B03 = Large Storage or Commercial Storage, then value must be > 75,000 Btu/hr;

If B03 = Small Storage or Consumer Storage, then value must be ≤ 75,000 Btu/hr;

If B03 = Large Instant or Commercial Instant, then value must be > 200,000 Btu/hr;

If B03 = Small Instant or Consumer Instant, then value must be ≤ 200,000 Btu/hr;

Else if B03 = Residential-Duty Commercial Storage, then value must be ≤ 105,000 Btu/hr;

Else if B06 = Oil, then

If B03 = Large Storage, then value must be >105,000 Btu/hr;

If B03 = Small Storage, then value must be ≤ 105,000 Btu/hr;

If B03 = Large Instant, then value must be > 210,000 Btu/hr;

Else if B03 = Small Instant, then value must be ≤ 210,000 Btu/hr;

Else if B06 = Electricity, then

If B03 = Large Storage or Large Instant or Commercial Storage or Commercial Instant, then value must be > 12 kW;

If B03 = Small Storage or Small Instant or Consumer Storage or Consumer Instant or Heat Pump, then value must be ≤ 12 kW;

Else if B03 = Residential-Duty Commercial Instantaneous, then value must be ≤ 58.6 kW;

End If

Last range check: If A08 ≠ NA, then value must be +/-10% of the reported value in A08. If the value passes all range tests, it is stored in WaterHeaterElectricFiredRatedInput, if B06 = Electricity. Otherwise the value is stored in WaterHeaterGasFiredRatedInput>>

- C14 – missing enumerated value:

  - Point of Use

CF2R-PLB-02b

- New compliance document

CF2R-STH-01

- Included in revision batch due to SDD restructuring

CF2R-SPV-01a,b,c

- Included in revision batch due to SDD restructuring

CF3R-ENV-21

- C13 – revise static text

  - “All single-member window and door headers shall be insulated to a minimum of R-3 for a 2x4 framing, or equivalent width, and a minimum of R-5 for all other assemblies. Insulation is to be placed between the interior face of the header and inside surface of the interior wall finish. No header insulation is required for single-member headers that are the same width as the wall, so long as the entire wall has at least R-2 insulation.”

CF3R-ENV-22

- A04 – revised static text

  - “All penetrations shall be sealed to the surrounding drywall or have a secondary air barrier created around the fixture; with the exception of fire sprinklers.”

CF2R-MCH-23a,b,c,d

- A03 – revised pseudo code

  - <<if the parent is a MCH-01b and a “yes” answer was given in B08 or B09, then A03 ≠ “alteration”; else user pick from complete list: *New; or *Replacement; or *Alteration>>

CF2R/3R-MCH-23a

- D01 – revised pseudo code

  - <<calculated field: if A03 = Alteration, then value = 300; Elseif parent is MCH-01a, and C08 ≠ NA, then reference value from MCH-01a C08; Else value = 350>>

CF3R-MCH-23a,b,c,d

- A03 – revised pseudo code

  - <<auto filled text: referenced from CF2R-MCH-23>>

CF2R/3R-MCH-25a,b,c,d,e,f

- A15 – displayterm misspelled: “Weigh-in With HERS Rater Observation” (schema only change)

CF3R-MCH-26

- A05 – revised pseudo code

  - <<if A04 contains CEC or DOE result equals NA; else pull AHRI Certification number from CF2R-MCH-26>>

CF2R-MCH-27a,b,c,d

- A02 – revised pseudo code

  - <<reference value from CF1R, but allow user to override and select one from list: Single Family, Multifamily, Non-dwelling Unit>>

- A06 – modified pseudo code

  - <<user pick from list: **Continuous; **Intermittent; or **N/A>>

- A07 – modified pseudo code

  - <<user pick one from list: **Fan Ventilation Rate Method (4.1.1); **Total Ventilation Rate Method (4.1.2); or **N/A>>

- A08 – modified pseudo code

  - <<calculated value if registered CF1R form equals CF1R-PRF-01, reference data from CF1R (note default report from CF1R equivalent to exhaust) and allow user to override and select *N/A; else if registered CF1R form equals CF1R-NCB-01, user pick one from list: **Standalone – Exhaust… **N/A>>

- A09 – inserted new row

  - IAQ Fan Location

<<user input, text>>

- Added static text to the bottom of Section A.

  - “Note: Non-dwelling units do not meet the definition for a dwelling unit as defined in Section 100.1(b). Non-dwelling units are not designed to provide independent living facilities and do not provide permanent provisions for living, sleeping, eating, cooking and sanitation.”

CF2R-MCH-27e

- New compliance document

CF3R-MCH-27a,b,c,d

- A09 – inserted new row

  - IAQ Fan Location

<<Auto filled text: reference data from CF2R>>

CF2R-MCH-28

- A05 – inserted new row

  - Number of Additional Return Ducts (Not Used for Compliance)

<<user input: number>>

- Section F. – inserted new table

  - F. Additional Returns Ducts (Not Used for Compliance)

<<only shown if the input to A05 ≠ 0, and require the same number of rows as what was reported in A05>>

  - F01 – Installed Return Duct Diameter

<<user input, integer, maximum 50 characters>>

  - F02 – Installed Total Return Filter Grille Gross Area

<<user input, integer, maximum 50 characters>>

CF3R-MCH-28

- A05 – inserted new row

  - Number of Additional Return Ducts (Not Used for Compliance)

<<user input: number>>

- Section G. – inserted new table

  - G. Additional Returns Ducts (Not Used for Compliance)

<<only shown if the input to A05 ≠ 0, and require the same number of rows as what was reported in A05>>

  - G01 – Installed Return Duct Diameter

<<auto filled: reference text from CF2R>>

  - G02 – Installed Total Return Filter Grille Gross Area

<<auto filled: reference text from CF2R>>

CF2R/3R-PLB-21a

- A03/B03 – add enumerated values:

  - Consumer Instantaneous

  - Commercial Instantaneous

  - Consumer Storage

  - Commercial Storage

  - Residential-Duty Commercial Storage

  - Residential-Duty Commercial Instantaneous

- A14/B14 – removed enumerated value

  - Pipe Insulation

- B08 – revised pseudo code

  - <<User input value which must pass the following range tests:

If B06 = Natural Gas or Propane, then

If B03 = Large Storage or Commercial Storage, then value must be > 75,000 Btu/hr;

If B03 = Small Storage or Consumer Storage, then value must be ≤ 75,000 Btu/hr;

If B03 = Large Instant or Commercial Instant, then value must be > 200,000 Btu/hr;

If B03 = Small Instant or Consumer Instant, then value must be ≤ 200,000 Btu/hr;

Else if B03 = Residential-Duty Commercial Storage, then value must be ≤ 105,000 Btu/hr;

Else if B06 = Oil, then

If B03 = Large Storage, then value must be >105,000 Btu/hr;

If B03 = Small Storage, then value must be ≤ 105,000 Btu/hr;

If B03 = Large Instant, then value must be > 210,000 Btu/hr;

Else if B03 = Small Instant, then value must be ≤ 210,000 Btu/hr;

Else if B06 = Electricity, then

If B03 = Large Storage or Large Instant or Commercial Storage or Commercial Instant, then value must be > 12 kW;

If B03 = Small Storage or Small Instant or Consumer Storage or Consumer Instant or Heat Pump, then value must be ≤ 12 kW;

Else if B03 = Residential-Duty Commercial Instantaneous, then value must be ≤ 58.6 kW;

End If

Last range check: If A08 ≠ NA, then value must be +/-10% of the reported value in A08. If the value passes all range tests, it is stored in WaterHeaterElectricFiredRatedInput, if B06 = Electricity. Otherwise the value is stored in WaterHeaterGasFiredRatedInput>>

CF2R/3R-PLB-21b

- New compliance documents

CF2R/3R-PLB-22a

- B03/C03 – add enumerated values:

  - Consumer Instantaneous

  - Commercial Instantaneous

  - Consumer Storage

  - Commercial Storage

  - Residential-Duty Commercial Storage

  - Residential-Duty Commercial Instantaneous

- C08 – revised pseudo code

  - <<User input value which must pass the following range tests:

If B06 = Natural Gas or Propane, then

If B03 = Large Storage or Commercial Storage, then value must be > 75,000 Btu/hr;

If B03 = Small Storage or Consumer Storage, then value must be ≤ 75,000 Btu/hr;

If B03 = Large Instant or Commercial Instant, then value must be > 200,000 Btu/hr;

If B03 = Small Instant or Consumer Instant, then value must be ≤ 200,000 Btu/hr;

Else if B03 = Residential-Duty Commercial Storage, then value must be ≤ 105,000 Btu/hr;

Else if B06 = Oil, then

If B03 = Large Storage, then value must be >105,000 Btu/hr;

If B03 = Small Storage, then value must be ≤ 105,000 Btu/hr;

If B03 = Large Instant, then value must be > 210,000 Btu/hr;

Else if B03 = Small Instant, then value must be ≤ 210,000 Btu/hr;

Else if B06 = Electricity, then

If B03 = Large Storage or Large Instant or Commercial Storage or Commercial Instant, then value must be > 12 kW;

If B03 = Small Storage or Small Instant or Consumer Storage or Consumer Instant or Heat Pump, then value must be ≤ 12 kW;

Else if B03 = Residential-Duty Commercial Instantaneous, then value must be ≤ 58.6 kW;

End If

Last range check: If A08 ≠ NA, then value must be +/-10% of the reported value in A08. If the value passes all range tests, it is stored in WaterHeaterElectricFiredRatedInput, if B06 = Electricity. Otherwise the value is stored in WaterHeaterGasFiredRatedInput>>

CF2R/3R-PLB-22b

- New compliance documents