HeatPumpWaterHeaterModel

Add:

NEEA Tier 3 Generic 40

NEEA Tier 3 Generic 50

NEEA Tier 3 Generic 65

NEEA Tier 3 Generic 80

Generic 11kW

Generic 20 kW

Generic 26 kW

Generic 40 kW

Generic 45 kW

All Models from CHPWH tab of spreadsheet (Column B)

HeatPumpWaterHeaterSimulationGroup

Add:

Tier 3 Generic 40

Tier 3 Generic 50

Tier 3 Generic 65

Tier 3 Generic 80

Generic 11 kW

Generic 20 kW

Generic 26 kW

Generic 40 kW

Generic 45 kW

Add new Simulation groups

Tier3Generic40SimulationGroup

- Add models from spreadsheet

Tier3Generic50SimulationGroup

- Add models from spreadsheet

Tier3Generic65SimulationGroup

- Add models from spreadsheet

Tier3Generic80SimulationGroup

- Add models from spreadsheet

NyleC25A_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC60A_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC90A_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC125A_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC185A_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC250A_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC60A_CWP_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC90A_CWP_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC125A_CWP_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC185A_CWP_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

NyleC250A_CWP_SPSimulationGroup

- Add models from CHPWH tab on spreadsheet

Generic5kWSimulationGroup

- Add models from CHPWH tab on spreadsheet

Generic11kWSimulationGroup

- Add models from CHPWH tab on spreadsheet

Generic20kWSimulationGroup

- Add models from CHPWH tab on spreadsheet

Generic26kWSimulationGroup

- Add models from CHPWH tab on spreadsheet

Generic40kWSimulationGroup

- Add models from CHPWH tab on spreadsheet

Generic45kWSimulationGroup

- Add models from CHPWH tab on spreadsheet

CF2R-PLB-01b

- B02 – revised schema

  - <xsd:element name="B02_HeatPumpWaterHeaterModelBrand" type="hvac:HeatPumpWaterHeaterModelBrand">

- B12 – add field

  - Simulated Equipment Make and Model

  - <<if performance, hide column from user, needed for equivalency lookup; Reference value from XML; Elseif prescriptive, do not require field>>

  - “Hvac: HeatPumpWaterHeaterSimulationGroup”

  - C02 – revised pseudo code and schema

    - <<If performance, user input is equal to B02 as default, and allow user to override with an equivalent system based on the simulated equipment in B12; elseif prescriptive, value = Sanden>> <<Reference values from B02>>

    - Add allowed Simulation Groups

NyleC25A_SPSimulationGroup

NyleC60A_SPSimulationGroup

NyleC90A_SPSimulationGroup

NyleC125A_SPSimulationGroup

NyleC185A_SPSimulationGroup

NyleC250A_SPSimulationGroup

NyleC60A_CWP_SPSimulationGroup

NyleC90A_CWP_SPSimulationGroup

NyleC125A_CWP_SPSimulationGroup

NyleC185A_CWP_SPSimulationGroup

NyleC250A_CWP_SPSimulationGroup

Generic5kWSimulationGroup

Generic11kWSimulationGroup

Generic20kWSimulationGroup

Generic26kWSimulationGroup

Generic40kWSimulationGroup

Generic45kWSimulationGroup

CF2R-PLB-02a

- G03 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- G04 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- G05 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- G06 – revised pseudo code

  - <<Reference value from CF1R-PRF; else if prescriptive or not available in XML and A09 = Standard Distribution System, then value = (G03*0.4) +(G04*0.4)+(G05*0.2); else if A09 = Demand Recirculation Manual Control, then value = G05>>

- G07 – revised pseudo code

  - << Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, value = ((a+b *CFA)/n) >>

- G08 – new field

  - Design Compactness Factor

  - <<Reference value from CF1R-PRF; elseif prescriptive, then value = n/a>>

  - G09 – new field

    - Calculated Compactness Factor

    - <<Value = 0.3 + 0.4 * (G06/G07), if performance, value must be ≤ G08; elseif prescriptive, value must be ≤ 0.7 >>

CF2R-PLB-02b

- B03 – add allowed simulation groups to performance option

  - Tier3Generic40SimulationGroup

  - Tier3Generic50SimulationGroup

  - Tier3Generic65SimulationGroup

  - Tier3Generic80SimulationGroup

- D03 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- D04 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- D05 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- D06 – revised pseudo code

  - <<Reference value from CF1R-PRF; else if prescriptive or not available in XML and A07= Standard Distribution System, then value = (D03*0.4) +(D04*0.4)+(D05*0.2); else if A07 = Demand Recirculation Manual Control, then value = D05>>

- D07 – revised pseudo code

  - << Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, value = ((a+b *CFA)/n)>>

- D08 – new field

  - Design Compactness Factor

  - <<Reference value from CF1R-PRF; elseif prescriptive, then value = n/a>>

  - D09 – new field

    - Calculated Compactness Factor

    - <<Value = 0.3 + 0.4 * (D06/D07), if performance, value must be ≤ D08; elseif prescriptive, value must be ≤ 0.7 >>

CF2R/3R-PLB-22a

- G03 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- G04 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- G05 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- G06 – revised pseudo code

  - <<Reference value from CF1R-PRF; else if prescriptive or not available in XML and A10 = Standard Distribution System, then value = (G03*0.4) +(G04*0.4)+(G05*0.2); else if A10 = Demand Recirculation Manual Control, then value = G05>>

- G07 – revised pseudo code

  - << Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, value = ((a+b *CFA)/n) >>

- G08 – new field

  - Design Compactness Factor

  - <<Reference value from CF1R-PRF; elseif prescriptive, then value = n/a>>

  - G09 – new field

    - Calculated Compactness Factor

    - <<Calculated value = 0.3 + 0.4 * (G06/G07), if performance, value must be ≤ G08; elseif prescriptive, value must be ≤ 0.7 >>

- H03 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- H04 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- H05 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- H06 – revised pseudo code

  - <<Reference value from CF1R-PRF; else if prescriptive or not available in XML and A10 = Standard Distribution System, then value = (H03*0.4) +(H04*0.4)+(H05*0.2); else if A10 = Demand Recirculation Manual Control, then value = H05>>

- H07 – revised pseudo code

  - << Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, value = ((a+b *CFA)/n) >>

- H08 – new field

  - Design Compactness Factor

  - <<Reference value from CF1R-PRF; elseif prescriptive, then value = n/a>>

  - H09 – new field

    - Calculated Compactness Factor

    - <<Calculated value = 0.3 + 0.4 * (H06/H07), if performance, value must be ≤ H08; elseif prescriptive, value must be ≤ 0.7 >>

CF2R/3R-PLB-22b

- B03 – add allowed simulation groups to performance option

  - Tier3Generic40SimulationGroup

  - Tier3Generic50SimulationGroup

  - Tier3Generic65SimulationGroup

  - Tier3Generic80SimulationGroup

- D03 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- D04 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- D05 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- D06 – revised pseudo code

  - <<Reference value from CF1R-PRF; else if prescriptive or not available in XML and A07= Standard Distribution System, then value = (D03*0.4) +(D04*0.4)+(D05*0.2); else if A07 = Demand Recirculation Manual Control, then value = D05>>

- D07 – revised pseudo code

  - << Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, value = ((a+b *CFA)/n)>>

- D08 – new field

  - Design Compactness Factor

  - <<Reference value from CF1R-PRF; elseif prescriptive, then value = n/a>>

  - D09 – new field

    - Calculated Compactness Factor

    - <<Value = 0.3 + 0.4 * (D06/D07), if performance, value must be ≤ D08; elseif prescriptive, value must be ≤ 0.7 >>

- E03 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- E04 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- E05 – revised pseudo code

  - <<Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, user input>>

- E06 – revised pseudo code

  - <<Reference value from CF1R-PRF; else if prescriptive or not available in XML and A07= Standard Distribution System, then value = (E03*0.4) +(E04*0.4)+(E05*0.2); else if A07 = Demand Recirculation Manual Control, then value = E05>>

- E07 – revised pseudo code

  - << Reference Value from CF1R-PRF; Else if prescriptive compliance or not available in XML, value = ((a+b *CFA)/n)>>

- E08 – new field

  - Design Compactness Factor

  - <<Reference value from CF1R-PRF; elseif prescriptive, then value = n/a>>

  - E09 – new field

    - Calculated Compactness Factor

    - <<Value = 0.3 + 0.4 * (E06/E07), if performance, value must be ≤ E08; elseif prescriptive, value must be ≤ 0.7 >>