RB V2019.1.004 Change Notes

ResHVAC base schema

- ResidentialHeatingSystemType – add new values from CBECC

  - SPVHP

  - PTHP

- ResidentialCoolingSystemType – add new values from CBECC

  - SPVAC

  - SPVHP

  - PTAC

  - PTHP

- HeatPumpWaterHeaterModel – add new values

  - Add all new models that are highlighted green in the revised NEEA spreadsheet

- HeatPumpWaterHeaterSimulationGroup - add new values

  - Add 9 new simulation groups from column D/E in NEEA spreadsheet

- HeatPumpWaterHeatersTier3NEEA – add new values

  - Add all new models that are highlighted green in the NEEA spreadsheet

- Efficiency Type – add new value

  - CEER

CF1R-ALT-01

- J05 – revised pseudo code only (correct in schema)

  - <<if J043 = 1, then user select from Consumer instantaneous or Consumer Storage; if J043 = 2 or 4, then value = Consumer storage; if J043 is 3, then value = NEEA Tier 3 heat pump water heater>>

- J07 - revised pseudo code only (correct in schema)

  - << If J043 = 1, then user picks from list *Natural gas, *Propane; elseif J043 = 2 or 3, then value = Heat Pump; elseif J043 = 4, then value = Electricity>>

- Section J end note – revised schema (correct in pseudo code)

  - <d:line1/> Single Family &amp;amp; Multifamily with Individual Water Heaters

CF1R-ALT-02

- C09 of Logic Table – revised pseudo code

  - e.g. new ducted hydronic AHU fan coil unit or furnace

- D09 – revised pseudo code

  - << if D08= no cooling component altered, then value =n/a, else user pick from list:

*SEER;

*EER

*CEER>>

- E09 – revised pseudo code

  - << if E08= no cooling component altered, then value =n/a, else user pick from list:

*SEER;

*EER

*CEER>>

- F09 – revised pseudo code

  - << if F08= no cooling component altered, then value =n/a, else user pick from list:

*SEER;

*EER

*CEER>>

- M09 of Logic Table – revised pseudo code

  - e.g. entirely new ductless hydronic heating system (boiler heating only); or new wall heater.

- O09 of logic table – revised pseudo code

  - e.g. new ducted hydronic heating system, or other new ducted heating-only system

- New row U in logic table

| u | no | no | yes | no | no | no | Altered space conditioning system | none | e.g. new ducted hydronic fan coil unit or new hydronic heating boiler |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CF1R-ENV-04

- B01 – revised static text

  - Is Aged Reflectance Listed with CRRC? (Yes or No)

- C01 – revised static text

  - Solar Reflective Reflectance Index

CF1R-NCB-01

- K06 – revised pseudo code

  - <<If value in K05 = no cooling, then value = N/A; Else user selects from list:  SEER, EER, CEER>>>

CF1R-PLB-01

- Section A header – revised pseudo code

  - <<if ALT-01 or ALT-02 is registered, then display the “section does not apply” message; else display this table>>

CF2R-MCH-01a

- B03 and D04 – add new allowed values

  - SPVHP

  - PTHP

- B04 and D05 – add new allowed values

  - SPVAC

  - SPVHP

  - PTAC

  - PTHP

- D05 – revised pseudo code

  - <<auto filled text: reference value from B04 as default >>

- D07 – revised pseudo code

  - <<if D04= *VCHP-Ducted then value in this field= *LowLlCod - Verified low-leakage ducts in conditioned space, elseif D04= *VCHP-Ductless then value in this field= *DuctsNone - Air distribution systems without ducts, elseif D04= *VCHP-Ducted+Ductless then value in this field= *Multiple split Indoor Units combined Ducted and Ductless.

else reference value from B06 as default.  Allow user to overwrite only the following three default values from B06: *DuctsAttic *DuctsGarage *DuctsOutdoor; *N/A;

If overriding pick one from list: *DuctsAttic - Ducts located overhead in unconditioned attic …>>

- J09 – revised schema – add value

  - <xsd:restriction base="comp:DuctFilterGrilleSizingComplianceMethod">			<xsd:enumeration value="ExemptEvaporativeSystem"/>

<xsd:enumeration value="ExemptVCHPSystem "/>

<xsd:enumeration value="ExemptNoCooling"/>

<xsd:enumeration value="ExemptRA3_3Protocols"/>

<xsd:enumeration value="HERS_FanEfficacyAirflowRate"/>

<xsd:enumeration value="HERS_ReturnDuctDesignTable150"/>					</xsd:restriction>

- N04 – revised pseudo code

  - <<if N01 is one of the HP systems listed in H01, then result = yes;

elseif B03 or B04=one of the following three system types:

*ductless mini-split AC *ductless mini-split HP *ductless VRF AC; *ductless VRF HP; *ductless multi-split AC *ductless multi-split HP *ducted mini-split AC *ducted mini-split HP, then result=no

elseif B04={Small Duct High Velocity AC system}, and C06 > 12, then result=yes.

elseif C06 > 14, then result=yes;

elseif N01 is one of the HP systems listed in H01, then result = yes;

elseif the following three conditions are true: 1:[B04 = {central packaged AC}], 2:[C07 ≠N/A], 3:[C07 > 11.0], then result = yes…>>

CF2R-MCH-01b

- C03 – add new allowed values

  - SPVHP

  - PTHP

- C07 – add new allowed values

  - SPVAC

  - SPVHP

  - PTAC

  - PTHP

- C09 – revised pseudo code

  - <<reference value from CF1R as default;if C08= no cooling component altered, then value =n/a else allow user to override the default; to enter value: user pick from list:

*SEER;

*EER;

*CEER;…>>

- C09 of Logic Table – revised pseudo code

  - e.g. new ducted hydronic AHU fan coil unit or furnace

- F12 – revised pseudo code

  - condition 3: [one of the following two (a, or b below) are true:

a: {Result from applying the same rules applicable to determining the value for K03=yes} and {F11=yes}  J08=yes},

b: {Responses in B04, B05 , B06, B07, B08, B09 and use of Logic Table for Determining Alteration Type and HERS Verification Requirements result in the term "DctLk" appears in the HERS column}], then user input numeric value, x.xx, else text value= n/a>>

- G15 – revised pseudo code

  - condition 3: [one of the following two (a or b below) are true: a:{Result from applying the same rules applicable to determining the value for K03=yes} and {F11=yes} J08=yes}, b:{Responses in B04, B05 , B06, B07, B08, B09 and use of Logic Table for Determining Alteration Type and HERS Verification Requirements result in the term "DctLk" appears in the HERS column}], then user input numeric value, x.xx, else text value= n/a>>

- M09 of Logic Table – revised pseudo code

  - e.g. entirely new ductless hydronic heating system (boiler heating only); or new wall heater.

- O09 of logic table – revised pseudo code

  - e.g. new ducted hydronic heating system, or other new ducted heating-only system

- New row U in logic table

| u | no | no | yes | no | no | no | Altered space conditioning system | none | e.g. new ducted hydronic fan coil unit or new hydronic heating boiler |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

- J08 – revised pseudo code

  - << Calculated field: if the value in F11 or G13=no, then result ="no";

elseif the value in G11= "HERS Verified Fan Efficacy (W/cfm) and Airflow Rate (cfm/ton)", then display text result in this field="yes";

elseif the result from applying the same rules applicable to determining the value for value in K03=yes, AND the value in J09=no, then text result in this field=yes…>>

CF2R-MCH-01c

- B02 and C04 – add new allowed values

  - SPVHP

  - PTHP

- B05 and C05 – add new allowed values

  - SPVAC

  - SPVHP

  - PTAC

  - PTHP

- B06 – add allowed value

  - CEER

- E03 – revised pseudo code

  - <<as default autofill value from B06

allow user to override the default and pick one value from following two list:

*SEER;

*EER;

*CEER;…>>

- H07 – revised pseudo code

  - <<as default reference value from B06.

allow user to override the default and pick one value from following two list:

*SEER;

*EER;

*CEER;…>>

CF2R-MCH-01d

- B03 and D04 – add new allowed values

  - SPVHP

  - PTHP

- B04 and D05 – add new allowed values

  - SPVAC

  - SPVHP

  - PTAC

  - PTHP

- C09 of Logic Table – revised pseudo code

  - e.g. new ducted hydronic AHU fan coil unit or furnace

- D07 – revised pseudo code

  - << if SC system is not shown in section B, then user pick one from list below, elseif D04=

*VCHP-Ducted then value in this field= *LowLlCod - Verified low-leakage ducts in conditioned space, elseif D04= *VCHP-Ductless then value in this field= *DuctsNone - Air distribution systems without ducts, elseif D04= *VCHP-Ducted+Ductless then value in this field= *Multiple split Indoor Units combined Ducted and Ductless.

else:reference value from B06 as default.  Allow user to overwrite only the following default values from B06: *DuctsAttic *DuctsGarage *DuctsOutdoor; *N/A;

If overriding pick one from list: *DuctsAttic - Ducts located overhead in unconditioned attic…>>

- Section K header – revised pseudo code

  - <<… A: require one row of data in this table for each space conditioning system in section F field F02 for which D04=Packaged Gas Furnace. B: require one row of data in this table for each indoor unit in section F field F03 that meets both of the following two conditions: 1:[value in D04=central gas furnace], 2:[the value in F03 ≠ H03]; for each system where D04=central gas furnace, IF [the value in F03 ≠ H03] THEN require one row of data in this table for each indoor unit in section F field F03 ELSE IF no corresponding records exist in F03 or H03 AND a corresponding record exists in G01 THEN require one row of data in this table for that system;…>>

- Section L header – revised pseudo code

  - <<… A: require one row of data in this table for each space conditioning system in section F field F02 for which D04=Packaged Gas Furnace. B: require one row of data in this table for each indoor unit in section F field F03 that meets both of the following two conditions: 1:[value in D04=central gas furnace], 2:[the value in F03 ≠ H03]; for each system where D04=central gas furnace, IF [the value in F03 ≠ H03] THEN require one row of data in this table for each indoor unit in section F field F03 ELSE IF no corresponding records exist in F03 or H03 AND a corresponding record exists in G01 THEN require one row of data in this table for that system;…>>

- L11 – revised schema – add value

  - <xsd:restriction base="comp:DuctFilterGrilleSizingComplianceMethod">			<xsd:enumeration value="ExemptDuctSystemNotAllNew"/>				<xsd:enumeration value="ExemptEvaporativeSystem"/>

<xsd:enumeration value="ExemptVCHPSystem"/>

<xsd:enumeration value="ExemptNoCooling"/>

<xsd:enumeration value="ExemptRA3_3Protocols"/>

<xsd:enumeration value="HERS_FanEfficacyAirflowRate"/>

<xsd:enumeration value="HERS_ReturnDuctDesignTable150"/>					</xsd:restriction>

- M09 of Logic Table – revised pseudo code

  - e.g. entirely new ductless hydronic heating system (boiler heating only); or new wall heater.

- O09 of logic table – revised pseudo code

  - e.g. new ducted hydronic heating system, or other new ducted heating-only system

- New row U in logic table

| u | no | no | yes | no | no | no | Altered space conditioning system | none | e.g. new ducted hydronic fan coil unit or new hydronic heating boiler |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

- O08 – revised pseudo code

  - <<calculated field: if the value in K11 or L13=no, then result ="no";

elseif D04 or D05 = one of the following two system types:

*VCHP-Ducted *VCHP-Ducted+Ductless, then result=yes;

elseif L11 result is Fan Efficacy, and Airflow Rate, then result = yes;

elseif the result from applying the same rules applicable to determining the value for P03=yes, and value in O09=no, then value in this field=yes…>>

- P04 – revised pseudo code

  - <<if P01 is one of the HP systems listed in I01, then result = yes;

elseif B03 or B04=one of the following three system types: *ductless mini-split AC *ductless mini-split HP *ductless VRF AC; *ductless VRF HP; *ductless multi-split AC *ductless multi-split HP *ducted mini-split AC *ducted mini-split HP, then result=no

elseif B04={Small Duct High Velocity AC system}, and C06 > 12, then result=yes.

elseif both of the following two criteria are true:  1: [C06≠N/A]; 2: [C06 > 14]; then result=yes;

elseif P01 is one of the HP systems listed in I01, then result = yes;

elseif the following three conditions are true: 1: [B04 = {central packaged AC}], 2:[C07≠N/A]; 3:[C07 > 11.0]; then result = yes…>>

CF2R/3R-MCH-25

- E02 (a, b, & e ), D02 (c & CF3R-d only), C02 (CF2R-f only)  – revised pseudo code

  - <<if the CF2R-MCH-01 indicates a MCH-28 is required for alternate minimum airflow rate compliance, then text value in this field=Verification of Table 150.0-B or C Alternative Return Duct Design Criteria is Required; calculated field, numeric xxxx:

else reference numeric xxxx value from applicable MCH-23 field for the indoor unit in E01 according to the following list:

MCH-23a  field D02

MCH-23b  field E03

MCH-23c  field E02

(MCH-23d is not applicable)

MCH-23e  field D02

MCH-23f  field D02>>

CF2R-MCH-25c

- E01 – revised schema

  - <xsd:documentation source="CalculationsAndRules">User input numeric value xxx.x, check range = 0 to 130;  If all of the following condiitons are true:  A12 equals yes, A13 equals yes and A15 equals WeighIn or WeighInHERS And value entered is greater than or equal to 55 degrees F,  Then display message:  "For this system, compliance using Weigh-In with HERS Rater observation is allowed only when outside temperature…>

CF2R/3R-MCH-32

- A03 - revised pseudo code

  - <<User Entered Value (XX.XX), if A06 = Non-Enclosed and [C03 = VentedRangeHood & C08 = Demand Control for ALL systems], then allow N/A>>

- A04 – revised pseudo code

  - <<User Entered Value (XX.XX), if A06 = Non-Enclosed and [C03 = VentedRangeHood & C08 = Demand Control for ALL systems], then allow N/A>>

- A05 – revised pseudo code

  - <<calculated value, “Kitchen Floor Area (A03)” * “Kitchen Average Ceiling Height” (A04) (XX.XX); else if A03 or A04 = N/A, then value = N/A>>

CF2R-PLB-01b

- Section B – several new fields

- Section C – several new fields

CF2R-PVB-01

- A05 – revised pseudo code

  - << user pick from list:

No PV – limited solar access (Trigger CF2R-SRA-01)

CZ15 reduced PV size

2 habitable stories

3 habitable stories

Plan approved before 1/1/20

Battery storage (Trigger CF2R-PVB-02)

Community Solar

NA >>

- A06 – new field

  - Community Solar

  - <<Auto filled field text: Reference text from CF1R; allow NA >>

- Section B – F header – revised pseudo code

  - <<if A05 = “No PV – limited solar access” or “Community Solar”, then display the "section does not apply" message; else display this entire table >>

- B06 – revised pseudo code

  - <<If performance and CFI = Yes, then if CF1R-PRF Da07_AzimuthRange = 150 to 270, user input between 150 and 270; elseif CF1R-PRF Da07_AzimuthRange = 105 to 300, then user input between 105 and 300; else if performance and CFI = Yes and value is not on CF1R-PRF, then user input between 150 and 270; else if performance and CFI=No, use value from CF1R-PRF Da07_Azimuth; else if performance and CFI=No and value is not on CF1R-PRF, then user input between 0 and 359; then pull from CF1R (between 0 and 359) if prescriptive, then user input between 90 0 and 300 359>>

- B08 – revised pseudo code

  - <<If prescriptive and B07=Deg and (B06≤59 or B06≥301), then user input 0 ≤B08≤ 10; if prescriptive and B07=Deg and 90≤B06≤300, then user input 0 ≤B08<90; if prescriptive and B07=Pitch and (B06≤59 or B06≥301), then user input 0 ≤B08≤ 2; if prescriptive and B07=Pitch and 90≤B06≤300, then user input 0 ≤B08≤50; elseif performance and CFI = Yes, then value from CF1R-PRF and B08 ≤ 7; if performance and CFI = No, then value from CF1R-PRF>>

- B12 – new field

  - Array Type

  - <<From CF1R-PRF-01; Else = NA>>

- B13 – new field

  - Module Level Power Electronics

  - <<From CF1R-PRF-01; Else = NA>>

- Section C header – revised pseudo code

  - << For each record in table B, require a record in Table C.  If B05 is Yes for an array, allow user to add a record in Table C for that array>>

- C01 – revised pseudo code

  - <<auto filled text: referenced from CF1R; else user input >>

- C02 – revised pseudo code

  - <<If B05=No, then autofill from B03 but allow user to override only if ≥ B03; Else user input ≥ B03>>

- C07 – revised pseudo code

  - <<reference value from B09 as default, but allow user to override only if ≥ B09>>

- C08 – revised pseudo code

  - <<reference value from B10 as default, but allow user to override only if ≥ B10; else user input >>

- C09 – new field

  - Array Type

  - <<reference value from B12 >>

- C10 – new field

  - Module Level Power Electronics

  - <<reference value from B13 as default, if B13 = “none”, then allow user to override and pick from list: *Microinverters or *DC power Optimizers>>

- Section G header – revised pseudo code

  - <<If A05 “Qualifying Exceptions” = “NA” or “Community Solar”, then display the "section does not apply" message; else display this entire table >>

- New table H

| ## H. SMUD Solar Share Program <<If A05 ≠ “Community Solar”, then display the "section does not apply" message; else display this entire table >> |  |  |
| --- | --- | --- |
| 01 | Required kW | << From CF1R-PRF-01>> |
| 02 | Attach a copy of SMUD Attestation of Premise Registration in Neighborhood SolarShares (Attestation). |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

- Section I (was H) header – revised pseudo code

  - <<calculated field: if C0811 ≥ B142 or A05 = “No PV – limited solar access” or “Community Solar”, then display result: Pass - dwelling complies with the Photovoltaic Systems requirements; else display result: Fail - dwelling does not comply with the Photovoltaic System requirements>>

CF2R-STH-01

- A10 – Revised pseudo code

  - << if performance and SRRC Certification Type = OG-100, from CF1R-PRF; if performance and SRRC Certification Type = OG-300, then user input; elseif prescriptive, from CF1R-STH-01; else user input if SRCC Certification Type = OG-300>>

CF3R-MCH-31c

- E01 – revised schema

  - <xsd:element name="E01_DoesWHF_AirFlowEfficacyComply" type="comp:Does WHF_AirFlowEfficacyComply">