| Project Name and Address | Authority Having Jurisdiction |
| --- | --- |
| Name: Project Name | Enforcement Agency: Agency |
| Address: Project Address | Permit Number: Permit # |
| City, Zip: City, Zip Code | Permit Iss. Date: Date |

| Building: Enter Value | Floor: Enter Value | Room: Enter Value | Control: Enter Value |
| --- | --- | --- | --- |

| Construction Inspection Complies Does not comply | Date Submitted to AHJ: Date |
| --- | --- |

| Intent: | Each fenestration product must provide an NFRC Label Certificate or the California Energy Commission’s Fenestration Certificate to identify the thermal performance of each fenestration product being installed (NA7.4.1) and §10-111. The labels must be located at the job site for verification by the enforcement agency. In addition, the responsible party must fill out the Fenestration Acceptance Certificate. The responsible party must verify the thermal performance of each specified fenestration product being installed matches the label certificate, energy compliance documentation and building plans. A copy of the certificate and any associated documentation must be given to the building owner and the enforcement agency for their records. |
| --- | --- |

| Responsible Party | The responsible party must verify the following (NA7.4.1.1 and §10-103(a)): - Verify that the Fenestration Certificate of Compliance (NRCC-ENV-E) and Certificate of Installation (NRCI-ENV-01-E) are completed and approved by the enforcement agency; and - For non-rated fenestration, record the U-factor, solar heat gain coefficient (R)SHGC, and visible light transmitted (VT) for the installed fenestration product(s); and - For rated fenestration, record the installed fenestration product(s) NFRC’s Certified Product Directory (CPD) number or Certificate Number when the Component Modeling Approach Label is submitted; and - Verify that the delivery receipt, purchase order, or detailed receipt matches the delivered fenestration product(s); and - Verify that the thermal performance (U-Factor, (R)SHGC, VT) for the fenestration product(s) matches the building plans, energy compliance documentation (NRCC-ENV-E or NRCI-ENV-01-E), and the label certificate (b or c above); and - Verify that the Certificate of Acceptance (this form) is completed and signed. The Certificate of Acceptance form is limited to seven (7) fenestration types, use as many forms as needed to document all fenestrations. Certified Product Directory ¦ National Fenestration Rating Council (nfrc.org) |
| --- | --- |

Table A. Required Documentation (NA7.4.1.2)

| Fenestration Design-Plans Identification | Nonrated Fenestration | Rated Fenestration NFRC Label ID | Cross Reference Receipt | Cross Reference NRCA-ENV-E, Section K or NRCI-ENV-01-E |
| --- | --- | --- | --- | --- |
| Design ID | U-Factor (max) (R)SHGC (max) VT (min) | NFRC Label | Matches Delivery Receipt(s) Matches Purchase Order Matches Detailed Receipt Fails to match | Matches Designs Fails to match |
| Design ID | U-Factor (max) (R)SHGC (max) VT (min) | NFRC Label | Matches Delivery Receipt(s) Matches Purchase Order Matches Detailed Receipt Fails to match | Matches Designs Fails to match |
| Design ID | U-Factor (max) (R)SHGC (max) VT (min) | NFRC Label | Matches Delivery Receipt(s) Matches Purchase Order Matches Detailed Receipt Fails to match | Matches Designs Fails to match |
| Design ID | U-Factor (max) (R)SHGC (max) VT (min) | NFRC Label | Matches Delivery Receipt(s) Matches Purchase Order Matches Detailed Receipt Fails to match | Matches Designs Fails to match |
| Design ID | U-Factor (max) (R)SHGC (max) VT (min) | NFRC Label | Matches Delivery Receipt(s) Matches Purchase Order Matches Detailed Receipt Fails to match | Matches Designs Fails to match |
| Design ID | U-Factor (max) (R)SHGC (max) VT (min) | NFRC Label | Matches Delivery Receipt(s) Matches Purchase Order Matches Detailed Receipt Fails to match | Matches Designs Fails to match |
| Design ID | U-Factor (max) (R)SHGC (max) VT (min) | NFRC Label | Matches Delivery Receipt(s) Matches Purchase Order Matches Detailed Receipt Fails to match | Matches Designs Fails to match |

| Declaration Statement | Signatory |
| --- | --- |
| Document Author I assert that this Certificate of Acceptance documentation is accurate and complete. | Name Company Name Author Signature Date Signed |
| Field Technician I certify the following under penalty of perjury, under the laws of the State of California: The information provided on this Certificate of Acceptance is true and correct. I am the person who performed the acceptance verification reported on this Certificate of Acceptance (Field Technician). The construction or installation identified on this Certificate of Acceptance complies with the applicable acceptance requirements indicated in the plans and specifications approved by the enforcement agency, and conforms to the applicable acceptance requirements and procedures specified in Reference Nonresidential Appendix NA7. I have confirmed that the Certificate(s) of Installation for the construction or installation identified on this Certificate of Acceptance has been completed and signed by the responsible builder/installer and has been posted or made available with the building permit(s) issued for the building. | Name Company Name ATT No.: ATT Cert. No. Title Date Signed Phone Signature |
| Responsible Person I certify the following under penalty of perjury, under the laws of the State of California: I am the Field Technician, or the Field Technician is acting on my behalf as my employee or my agent and I have reviewed the information provided on this Certificate of Acceptance. I am eligible under Division 3 of the Business and Professions Code in the applicable classification to accept responsibility for the system design, construction or installation of features, materials, components, or manufactured devices for the scope of work identified on this Certificate of Acceptance and attest to the declarations in this statement (responsible acceptance person). The information provided on this Certificate of Acceptance substantiates that the construction or installation identified on this Certificate of Acceptance complies with the acceptance requirements indicated in the plans and specifications approved by the enforcement agency, and conforms to the applicable acceptance requirements and procedures specified in Reference Nonresidential Appendix NA7. I have confirmed that the Certificate(s) of Installation for the construction or installation identified on this Certificate of Acceptance has been completed and is posted or made available with the building permit(s) issued for the building. I will ensure that a completed, signed copy of this Certificate of Acceptance shall be posted, or made available with the building permit(s) issued for the building, and made available to the enforcement agency for all applicable inspections. I understand that a signed copy of this Certificate of Acceptance is required to be included with the documentation the builder provides to the building owner at occupancy. | Name Company Name Lic. No.: License No. Title Date Signed Phone Signature |