| CERTIFICATE OF COMPLIANCE |  |  |  |  |  |  |  |  |  | LMCC-PRC-E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This form is used to document any process systems that are within the scope of the permit application and are demonstrating compliance with mandatory requirements in §120.6/ §160.7, or prescriptive requirements in §140.9. This compliance document is used for newly constructed, addition and alteration projects. |  |  |  |  |  |  |  |  |  |  |
| Project Name: |  |  |  |  |  |  |  | Report Page: |  | Page 1 of X |
| Project Address: |  |  |  |  |  |  |  | Date Prepared: |  |  |

| A. GENERAL INFORMATION |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Project Location (city) |  |  | 04 | Total Conditioned Floor Area |  |  |
| 02 | Climate Zone |  |  | 05 | Total Unconditioned Floor Area |  |  |
| 03 | Occupancy Types Within Project: |  |  | 06 | # of Stories (Habitable Above Grade) |  |  |
| ¨ | Office | ¨ | Retail | ¨ | Warehouse | ¨ | Grocery |
| ¨ | Hotel/ Motel | ¨ | School or Classroom | ¨ | Healthcare facility | ¨ | Financial Institution |
| ¨ | Low-Rise Residential | ¨ | Relocatable Public School | ¨ | All Other Occupancy Types | ¨ | Unleased Tenant Space |
| ¨ | Auditorium | ¨ | Library | ¨ | Restaurant | ¨ | Parking Garage |
| ¨ | Convention Center | ¨ | Medical Office Bldg/ Clinic | ¨ | Theater | ¨ | Religious Facility |
| ¨ | Commercial Industrial | ¨ | Data Center | ¨ | Gymnasium | ¨ | Support Area |
| Alert! Healthcare Facilities do not have to meet the elevator, commercial kitchen, or lab exhaust requirements under Title 24, Part 6 and therefore are not documented on the NRCC-PRC-E. The corresponding tables (K, N, O) say "This section does not apply" when healthcare facility has been chosen as an occupancy within Table A. Systems serving these spaces shall meet the requirements of the Appliance Efficiency Regulations for walk-in coolers or freezers contained in the Appliance Efficiency Regulations (California Code of Regulations, Title 20, Sections 1601 through 1608). |  |  |  |  |  |  |  |

| CERTIFICATE OF COMPLIANCE |  |  |  |  |  |  |  |  |  | LMCC-PRC-E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Name: |  |  |  |  |  |  |  | Report Page: |  | Page 1 of X |
| Project Address: |  |  |  |  |  |  |  | Date Prepared: |  |  |

| B. PROJECT SCOPE |  |  |  |
| --- | --- | --- | --- |
| This table includes process systems that are within the scope of the permit application and are demonstrating compliance with mandatory requirements in §120.6/§160.7 for multifamily occupancies or prescriptive requirements in §140.9 for nonresidential occupancies in mixed-use buildings. |  |  |  |
| My project consists of (check all that apply): |  |  |  |
| 01 |  | 02 |  |
| ¨ | Enclosed Parking Garage Exhaust >= 10,000 cfm (mandatory §120.6(c)) | ¨ | Commercial Kitchen Ventilation/Exhaust (prescriptive §140.9(b))1 |
| ¨ | Elevator Lighting & Ventilation Controls (mandatory §120.6(f)/§160.7) | ¨ | Pool/Spa (mandatory §110.4/§160.7) |
| 1 FOOTNOTE: These building features can comply using the performance method. If using the performance method for these features, compliance should be demonstrated on the LMCC-PRF-E compliance document. |  |  |  |

| CERTIFICATE OF COMPLIANCE |  |  |  |  |  |  |  |  |  | LMCC-PRC-E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Name: |  |  |  |  |  |  |  | Report Page: |  | Page 1 of X |
| Project Address: |  |  |  |  |  |  |  | Date Prepared: |  |  |

| C. COMPLIANCE RESULTS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Results in this table are automatically calculated from data input and calculations in Tables F through R. Note: If any cell on this table says "COMPLIES with Exceptional Conditions" refer to Table D. Exceptional Conditions for guidance or see the applicable Table referenced below. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 |
| Refrigerated Warehouse/ Space §120.6(a) | Commercial Refrigeration §120.6(b | Parking Garage Exhaust §120.6(c) | Process Boilers §120.6(d) | Compressed Air Systems §120.6(e | Elevators §120.6(f)/ §160.7 | Escalators & Moving Walkways §120.6(g) | Computer Rooms §140.9(a) | Commercial Kitchens §140.9(b) | Laboratory/ Factory Exhaust §140.9(c) | Controlled Environment Horticulture §120.6(h) | Steam Traps §120.6(i) | Multifamily Pool/Spa §160.7 | Compliance Results |
| (See Table F) | (See Table G) | (See Table H) | (See Table I) | (See Table J) | (See Table K) | (See Table L) | (See Table M) | (See Table N) | (See Table O) | (See Table P) | (See Table Q) | (See Table R) |  |
| Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | COMPLIES or "COMPLIES WITH EXCEPTIONAL CONDITIONS" or DOES NOT COMPLY |

| CERTIFICATE OF COMPLIANCE |  |  |  |  |  |  |  |  |  | LMCC-PRC-E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Name: |  |  |  |  |  |  |  | Report Page: |  | Page 1 of X |
| Project Address: |  |  |  |  |  |  |  | Date Prepared: |  |  |

D. EXCEPTIONAL CONDITIONS

This table is auto-filled with uneditable comments because of selections made or data entered in tables throughout the form.

E. ADDITIONAL REMARKS

This table includes remarks made by the permit applicant to the Authority Having Jurisdiction.

| CERTIFICATE OF COMPLIANCE |  |  |  |  |  |  |  |  |  | LMCC-PRC-E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Name: |  |  |  |  |  |  |  | Report Page: |  | Page 1 of X |
| Project Address: |  |  |  |  |  |  |  | Date Prepared: |  |  |

| H. ENCLOSED PARKING GARAGE EXHAUST |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| This table includes all newly installed mechanical ventilation systems which serve parking garages and have a design exhaust rate greater than or equal to 10,000 cfm. The inputs of Table H are used to demonstrate compliance with the requirements of §120.6(c). |  |  |  |  |  |  |
|  | Yes | Exceptions |  |  |  |  |
| 01 | ¨ | Garage is expected to have vehicles with non-gasoline combustion engines for > 20% of the parked vehicles per Exception 1 to §120.6(c) |  |  |  |  |
| 02 | ¨ | Project scope includes an addition or alteration to an existing garage where < 10,000 cfm of new exhaust capacity is being added Exception 2 to §120.6(c) |  |  |  |  |
|  | Yes | Requirements |  |  |  |  |
| 03 | ¨ | Exhaust fan control modulates airflow rates <= 50% design capacity when contaminant levels are maintained per §120.6(c)1 |  |  |  |  |
| 04 | ¨ | Fan control or device allows fan motor demand ≤ 30% design wattages at 50% of design airflow per §120.6(c)2 |  |  |  |  |
| 05 | ¨ | Design includes monitoring CO with a sensor density >= 1 per 5,000 ft2 per §120.6(c)3 |  |  |  |  |
| 06 | ¨ | CO sensors are located in the highest expected concentration locations, with at least two per proximity zone per §120.6(c)3 |  |  |  |  |
| 07 | ¨ | Design CO sensor setpoint <= 25 ppm per §120.6(c)4 |  |  |  |  |
| 08 | ¨ | Occupied garage design maintains negative pressurization per §120.6(c)6 |  |  |  |  |
| 09 | ¨ | Designed occupied total ventilation rate >= 0.15 CFM/ ft2 §120.6(c)5 |  |  |  |  |
|  |  | 10 | 11 | 12 | 13 | 14 |
|  |  | Fan Name | Parking Garage Area (ft2) | Ventilation Fan Rate (CFM) | Minimum Ventilation Rate Required (CFM) | Compliant? |
| 15 | Indicate where in the construction documents these requirements can be verified |  |  |  |  |  |

| CERTIFICATE OF COMPLIANCE |  |  |  |  |  |  |  |  |  | LMCC-PRC-E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Name: |  |  |  |  |  |  |  | Report Page: |  | Page 1 of X |
| Project Address: |  |  |  |  |  |  |  | Date Prepared: |  |  |

| K. ELEVATOR LIGHTING AND VENTILATION |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| This table includes all elevator lighting and ventilation systems within the scope of the permit application to show compliance with the requirements of §120.6(f)/ §160.7. |  |  |  |  |  |  |  |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 |
| Lighting §120.6(f)1 & §120.6(f)3 / §160.7 |  |  |  |  |  |  |  |
| Elevator Name or Item Tag | Elevator Area (ft2) | Fixture Name or Item Tag | Watts per Fixture | Number of Fixtures | Power per Design (W) | Maximum Power Allowed1 (W) | Controls |
|  |  | Total Design Watts |  |  |  |  |  |
| 09 | 10 | 11 | 12 | 13 | 14 | 15 |  |
| Name or Item Tag | Conditioned Cab? | Ventilation §120.6(f)2 & §120.6(f)3/ §160.7 |  |  |  |  |
|  |  | Fan Power (Watts) | Design Airflow (CFM) | Design Watts per CFM | Maximum Watts per CFM Allowed | Controls |
| 16 | Indicate where in the construction documents these requirements can be verified |  |  |  |  |  |
| 1 FOOTNOTE: 0.6 watts per ft2 allowed per §120.6(f)1. Interior signal lighting and display lighting not included in power density calculation. |  |  |  |  |  |  |  |

| CERTIFICATE OF COMPLIANCE |  |  |  |  |  |  |  |  |  | LMCC-PRC-E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Name: |  |  |  |  |  |  |  | Report Page: |  | Page 1 of X |
| Project Address: |  |  |  |  |  |  |  | Date Prepared: |  |  |

| N. COMMERCIAL KITCHEN EXHAUST AND VENTILATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This table contains all new or replacement hoods being installed within the scope of the permit application. The inputs within Table N are used to demonstrate compliance within §140.9(b). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kitchen Ventilation §140.9(b)2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 | ¨ |  |  | Existing kitchen hoods not being replaced as part of an addition or alteration (do not need to meet requirements) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 02 | Replacement Air to Hood Compliance Method §140.9(b)1A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 03 | Mechanically cooled or heated makeup air delivered to any space with a kitchen hood is designed per 140.9(b)2A to not exceed the greater of: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 04 | Location that is supplying transfer air: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 05 | The kitchen /dining facility has a total Type I and Type II kitchen hood exhaust airflow rate > 5000 cfm and is designed to have one of the following per 140.9(b)2B: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kitchen Exhaust: Airflow Rate §140.9(b)1B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 |  | Kitchen Name or Tag |  |  |  |  |  |  | Compliance Method per §140.9(b)1B |  |  |  |  |  |  |  |  |  |  |  |
| 02 |  |  | 03 |  | 04 |  |  |  | 05 |  | 06 |  | 07 |  |  | 08 |  |  |  |  |
| Name or Item Tag |  |  | Hood Type1 |  | Hood Style |  |  |  | Hood Length (ft) |  | Equipment Duty |  | Design Hood Exhaust Rate (CFM) |  |  | Max Hood Exhaust Rate Allowed (CFM) |  |  |
| 1 FOOTNOTE: Type II hoods do not have a max hood exhaust air rate per Part 6 §140.9(b)1B. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| CERTIFICATE OF COMPLIANCE |  |  |  |  |  |  |  |  |  | LMCC-PRC-E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Name: |  |  |  |  |  |  |  | Report Page: |  | Page 1 of X |
| Project Address: |  |  |  |  |  |  |  | Date Prepared: |  |  |

| R. POOL & SPAs |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| This table documents compliance with mandatory pool/spa requirements in §110.4/§160.7. |  |  |  |  |  |  |  |
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 |
| Pool/ Spa Description | Pool/Spa Service Type | Efficiency1 | On/Off Control | Instructions & Covers | Electric Resistance Heating | Piping | Pool Directional Inlets & Pump Control |
| 1 FOOTNOTE: CEC's appliance efficiency database, the Modernized Appliance Efficiency Database System (MAEDBS), is available online. |  |  |  |  |  |  |  |

| Additional Requirements for Pool/ Spa Serving One Tenant §150.0(p) |  |  |  |
| --- | --- | --- | --- |
|  | Yes | Not Applicable | Requirement |
| 09 | ¨ |  | All pump flow rates shall be calculated using H = C × F2 WHERE: H is the total system head in feet of water F is the flow rate in gallons per minute (gpm) C is a coefficient based on the volume of the pool (0.0167 for pools less than or equal to 17,000 gallons & 0.0082 for pools greater than 17,000 gallons) |
| 10 | ¨ |  | Filtration pumps shall be sized, or if programmable, shall be programmed, so that the filtration flow rate is not greater than the rate needed to turn over the pool water volume in 6 hours or 36 gpm, whichever is greater. |
| 11 | ¨ |  | Pump motors used for filtration shall meet the applicable federal standard in 10 CFR 431.465. |
| 12 | ¨ | ¨ | Each auxiliary pool load shall be served by either separate pumps or the system shall be served by a multispeed pump if pump hp >= 1. - Multispeed pumps shall have controls which default to the filtration flow rate when no auxiliary pool loads are operating; and - For multispeed pumps, the controls shall default to the filtration flow rate setting within 24 hours and shall have an override capability for servicing. |
| 13 | ¨ |  | System Piping must meet the following requirements: - A length of straight pipe that is greater than or equal to at least 4 pipe diameters shall be installed before the pump; and - Pool piping shall be sized so that the velocity of the water at maximum flow for auxiliary pool loads does not exceed 8 feet per second in the return line and 6 feet per second in the suction line; and - All elbows shall be sweep elbows or of an elbow-type that has a pressure drop of less than the pressure drop of straight pipe with a length of 30 pipe diameters. |
| 14 | ¨ |  | Filters shall be at least the size specified in NSF/ANSI 50 for public pool intended applications. |
| 15 | ¨ |  | Minimum diameter of backwash valves shall be 2 inches or the diameter of the return pipe, whichever is greater. |

| S. DECLARATION OF REQUIRED CERTIFICATES OF INSTALLATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Selections have been made based on information provided in this document. If any selections have been changed by the permit applicant, an explanation should be included in Table E. Additional Remarks. These documents must be provided to the building inspector during construction and can be found online. |  |  |  |  |
| YES | NO | Form/Title | Field Inspector |  |
|  |  |  | Pass | Fail |
| ● | m | LMCI-PRC-01-E Covered Process | o | o |

A. General Information

- Enter the City the project is located in.

- Climate Zone: Select from dropdown.

- Select the applicable Occupancy Types within the Project.

- Enter the Total Conditioned Floor Area.

- Enter the Total Unconditioned Floor Area.

- Enter the Number of Stories Above Grade.

B. Project Scope

  - Select the process systems that are included in the project.

C. Compliance Results

Results in this table are automatically calculated from data input and calculations in Tables F through R.

D. Exceptional Conditions

This table is auto-filled with uneditable comments because of selections made or data entered in tables throughout the form.

E. Additional Remarks

Enter any notes or comments for the AHJ.

H. Enclosed Parking Garage Exhaust

1-9. Check Yes to verify your project meets the requirements.

- Enter the Fan Name.

- Enter the parking Garage Area.

- Enter the Ventilation Fan Rate.

- This field is filled out automatically.

- This field is filled out automatically.

K. Elevator Lighting and Ventilation

- Enter the Elevator Name or Item Tag.

- Enter the Elevator Area.

- Enter the Fixture Name or Item Tag.

- Enter the Watts per Fixture.

- Enter the Number of Fixtures.

- This field is filled out automatically.

- This field is filled out automatically.

- Controls: Select from dropdown.

- This field is filled out automatically.

- Conditioned Cab?: Select from dropdown.

- Enter the Fan Power.

- Enter the Design Airflow.

- This field is filled out automatically.

- This field is filled out automatically.

- Controls: Select from dropdown.

N. Commercial Kitchen Exhaust and Ventilation

Kitchen Ventilation

- Check if the existing kitchen hoods are not being replaced as part of an addition or alteration.

- Replacement Air to Hood Compliance Method: Select from dropdown.

- Mechanically cooled or heated makeup air delivered to any space with a kitchen hood is designed: Select from dropdown.

- Enter the Location that is Supplying Transfer Air.

- The kitchen /dining facility has a total Type I and Type II kitchen hood exhaust airflow rate > 5000 cfm and is designed to have one of the following: Select from dropdown.

Kitchen Exhaust: Airflow Rate

- Enter the Kitchen Name or Tag.

Compliance Method: Select from dropdown.

- Enter the Name or Item Tag.

- Hood Type: Select from dropdown.

- Hood Style: Select from dropdown.

- Enter the Hood Length.

- Equipment Duty: Select from dropdown.

- Enter the Design Hood Exhaust Rate.

- This field is filled out automatically.

R. Pool and Spas

- Enter the Pool/Spa Description.

- Pool/Spa Service Type: Select from dropdown.

- Efficiency: Select from dropdown.

- On/Off Control: Select from dropdown.

- Instructions & Covers: Select from dropdown.

- Electric Resistance Heating: Select from dropdown.

- Piping: Select from dropdown.

- Pool Directional Inlets & Pump Control: Select from dropdown.

Additional Requirements for Pool/ Spa Serving One Tenant

9-15. Select if the project meets the listed requirements.

S. Declaration of Required Certificates of Installation

Selections have been automatically made based on information provided in this document. If any selections have been changed by the permit applicant, an explanation should be included in Table E. Additional Remarks.