CERTIFICATE OF INSTALLATION

Note: This table completed by HERS Registry.

| Project Name: | Enforcement Agency: |
| --- | --- |
| Dwelling Address: | Permit Number: |
| City and Zip Code: | Permit Application Date: |

| ## A. General Information Only use this form if the newly constructed do not have a PV system installed. |  |  |
| --- | --- | --- |
| 01 | Method of Compliance: |  |

| B. Building Meets the Solar Readiness Requirements |  |  |
| --- | --- | --- |
| 01 | Compliance with Solar Readiness Requirements |  |
| 02 | The construction documents indicate: - The solar zone - A location for inverters and metering equipment - A pathway for routing of conduit from the solar zone to the point of interconnection with the electrical service - A Pathway for routing of plumbing from the solar zone to the water heating system - The structural design loads for roof dead load and roof live load, in the solar zone |  |
| 03 | A copy of the construction documents including all the information above will be provided to the occupant. |  |
| 04 | - The main electric service panel shall have a minimum busbar rating of 200 amps. - The main electric service panel shall have reserved space to allow for the installation of a double pole circuit breaker. The reserved space shall be positioned at the opposite (load) end from the input feeder location or main circuit location. The reserved space shall be permanently marked as “For Future Solar Electric”. |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| ## C. Residence Not in an Applicable Subdivision |  |
| --- | --- |
| 01 | The single family residence is located in a newly constructed subdivision with fewer than ten single family residences. |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |

| D. Permanently Installed Solar Water Heating System |  |  |
| --- | --- | --- |
| 01 | Solar Water Heating System Rating |  |
| 02 | Solar Savings Fraction of the Proposed Solar Water Heating System |  |
| 03 | Compliance Statement: |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| E. Smart Thermostats and Alternative Efficiency Measure |  |  |
| --- | --- | --- |
| 01 | All thermostats comply with Reference Joint Appendix JA5 and are capable of receiving and responding to Demand Response Signals prior to granting of an occupancy permit by the enforcing agency. |  |
| 02 | Alternative Efficiency Measure: |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| Documentation Author's Declaration Statement |  |  |  |
| --- | --- | --- | --- |
| - I certify that this Certificate of Installation documentation is accurate and complete. |  |  |  |
| Documentation Author Name: |  | Documentation Author Signature: |  |
| Documentation Author Company Name: |  | Date Signed: |  |
| Address: |  | CEA/HERS Certification Identification (If applicable): |  |
| City/State/Zip: |  | Phone: |  |
| Responsible Person's Declaration statement |  |  |  |
| ### I certify the following under penalty of perjury, under the laws of the State of California: - The information provided on this Certificate of Installation is true and correct. - I am either: a) a responsible person eligible under Division 3 of the Business and Professions Code in the applicable classification to accept responsibility for the system design, construction, or installation of features, materials, components, or manufactured devices for the scope of work identified on this Certificate of Installation, and attest to the declarations in this statement, or b) I am an authorized representative of the responsible person and attest to the declarations in this statement on the responsible person’s behalf. - The constructed or installed features, materials, components or manufactured devices (the installation) identified on this Certificate of Installation conforms to all applicable codes and regulations and the installation conforms to the requirements given on the Certificate of Compliance, plans, and specifications approved by the enforcement agency. - I understand that a registered copy of this Certificate of Installation shall be posted or made available with the building permit(s) issued for the building, and made available to the enforcement agency for all applicable inspections, and I will take the necessary steps to ensure this requirement is accomplished. - I understand that a registered copy of this Certificate of Installation is required to be included with the documentation the builder provides to the building owner at occupancy, and I will take the necessary steps to ensure this requirement is accomplished. |  |  |  |
| Responsible Builder/Installer Name: | Responsible Builder/Installer Signature: |  |  |
| Company Name: (Installing Subcontractor or General Contractor or Builder/Owner) | Position With Company (Title): |  |  |
| Address: | CSLB License: |  |  |
| City/State/Zip: | Phone: |  | Date Signed: |

CF2R-SRA-01-E User Instructions

A. General Information

- Method of Compliance: User selects Method of Compliance from the available options.

B. Building Meets the Solar Readiness Requirements – Optional table based on user selection in cell A02:

- Compliance with Solar Readiness Requirement: Auto filled text based on the existence of a registered CF2R-SRA-02.

C. Residence is not in Applicable Subdivision – Optional table based on user selection in cell A01.

D. Permanently Installed Solar Water Heating System – Optional table based on user selection in cell A01:

- Solar Water Heating System Rating: User selects Solar Water Heating System Rating from the available options.

- Required Minimum Solar Savings Fraction of the Proposed Solar Water Heating System: Auto filled minimum solar savings fraction required.

- Solar Savings Fraction of the Proposed Solar Water Heating System: Auto filled proposed solar savings fraction from a registered CF1R-STH-01 or CF1R-STH-02.

- Compliance Statement: Auto filled compliance statement text, based on the answers to questions E01 through E03.

E. Smart Thermostats and Alternative Efficiency Measure  – Optional table based on user selection in cell A01.

- Alternative Efficiency Measure: User selects the alternative efficiency option installed.

| ## A. General Information Only use this form if the newly constructed do not have a PV system installed. |  |  |
| --- | --- | --- |
| 01 | Method of compliance: | <<user pick from list - Building meets the solar ready requirements - Residence not in an Applicable Subdivision - Permanently Installed Solar Water Heating System - Smart Thermostats and Alternative Efficiency Measure >> |

| ## B. Building Meets the Solar Readiness Requirements << If Method of Compliance A01 = “Building meets the solar readiness requirements”, then display this table; Else display the section does not apply message>> |  |  |
| --- | --- | --- |
| 01 | Compliance with Solar Readiness Requirements | <<calculated field: if compliant CF2R-SRA-02 is registered, then display = "Design complies”; else display = "Registered CF2R-SRA-02 required to continue”>> |
| 02 | The construction documents indicate: - The solar zone - A location for inverters and metering equipment - A pathway for routing of conduit from the solar zone to the point of interconnection with the electrical service - A Pathway for routing of plumbing from the solar zone to the water heating system - The structural design loads for roof dead load and roof live load, in the solar zone |  |
| 03 | A copy of the construction documents including all the information above will be provided to the occupant. |  |
| 04 | - The main electric service panel shall have a minimum busbar rating of 200 amps. - The main electric service panel shall have reserved space to allow for the installation of a double pole circuit breaker. The reserved space shall be positioned at the opposite (load) end from the input feeder location or main circuit location. The reserved space shall be permanently marked as “For Future Solar Electric”. |  |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| ## C. Residence not in an Applicable Subdivision << If Method of Compliance A01 = “Residence not in an Applicable Subdivision”, then display this table; Else display the section does not apply message>> |  |
| --- | --- |
| 01 | The single family residence is located in a newly constructed subdivision with fewer than ten single family residences. |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |

| D. Permanently Installed Solar Water Heating System << If Method of Compliance A01 = “Permanently Installed Solar Water Heating System”, then display this table; Else display the section does not apply message>> |  |  |
| --- | --- | --- |
| 01 | Solar Water Heating System Rating | <<user pick from list” *OG-100 *OG-300>> |
| 02 | Solar Savings Fraction of the Proposed Solar Water Heating System: | <<calculated field: If D01 (Solar Water Heating System Rating) = OG-100, then display the solar savings fraction from the registered CF1R-STH-01; Else if D01 (Solar Water Heating System Rating) = OG-300, then user input solar savings fraction; else if no registered solar water heating forms are found, then display message “Registered CF1R-STH-01 required to continue”>> |
| 03 | Compliance Statement: | <<calculated field: If D02 (solar savings fraction) is equal to or greater than 0.5, then the “System complies”; else display “System does not comply”>> |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |

| E. Smart Thermostats and Alternative Efficiency Measure <<If Method of Compliance A01 = “Smart Thermostats and Alternative Efficiency Measure”, then display this table; Else display the section does not apply message>> |  |  |
| --- | --- | --- |
| 01 | All thermostats comply with Section 110.12(a) and are capable of receiving and responding to Demand Response Signals prior to granting of an occupancy permit by the enforcing agency. |  |
| 02 | Alternative Efficiency Measure: | <<user selects one from list: *Install a dishwasher that meets or exceeds ENERGY STAR Program requirements with either a refrigerator that meets or exceeds the ENERGY STAR Program requirements or a whole house fan driven by an electronically commutated motor or a Level 2 EVSE/EV Charger; or *Install a home automation system capable of, at a minimum, controlling the appliances and lighting of the dwelling and responding to demand response signals; or *Install alternative plumbing piping to permit the discharge from the clothes washer and all showers and bathtubs to be used for an irrigation system in compliance with the California Plumbing Code and any applicable local ordinances; or *Install a rainwater catchment system designed to comply with the California Plumbing Code and any applicable local ordinances, and that uses rainwater flowing from at least 65% of the available roof area>> |
| The responsible person’s signature on this compliance document affirms that all applicable requirements in this table have been met. |  |  |