RB V2022.1.000 – Change Notes

Single Family

CF1R-ADD-01

- A06 – revised field B06 and split into:(already done in schema) - doc layout change only

  - B06a – Cavity R-value

  - B06b – Continuous Insulation R-value

CF1R-ALT-02

- D09, E09, and F09 – revised pseudo code

  - Added allowed value = EER/SEER, EER2/SEER2, CEER, EER or EER2

CF1R-NCB-01

- A08 – Schema needs to include the "Electricity" option DSP: Electricity is already available

- A13 – revised pseudo code

  - removed "as many as are applicable" from the list. DSP: Fixed - changed pseudo code and set maxOccurs to “1” from “unbounded”

- M03 – Schema needs to include the “option 1” to the option list. DSP: fixed added display term 1 for OptionSingleHWH that has this text

  - A single 240 volt heat pump water heater (HPWH).   Installed in conditioned space or garage.

- In climate zone 1, compact hot water distribution is required.

- In climate zone 16, compact hot water distribution and a drain water heat recovery system (HERS) is required

- K06 – revised pseudo code DSP: fixed

  - Added allowed value = EER/SEER, EER2/SEER2, CEER, EER or EER2

CF2R-ENV-03

- A06 – revised pseudo code to include value None DSP: fixed BUT change is to the base schema ResEnvelope: InsulationType added NoInsulation display term None

CF3R-EXC-20

- J03 – revised filed name to EER/EER2/CEER DSP: fixed

- J04 - revised filed name to SEER/SEER2 DSP: Fixed

  - Allow NA DSP: Already has choice with NA

CF2R-MCH-01a

- F04, N04 – revised pseudo code – doc. layout change only

  - EER/SEER, EER2/SEER2 instead of SEER/EER, SEER2/EER2

- J12, J13 – revised pseudo code

  - EER or SEER instead of SEER or EER

CF2R-MCH-01b

- C06 – revised pseudo code

  - AFUE = 0.80

- C03 – revert the deleted language from C03 to their original state

- C07 – revert the deleted language from C07 to their original state

- C09, C10, C10b – revised pseudo code – doc. layout change only

  - EER/SEER, EER2/SEER2 instead of SEER/EER, SEER2/EER2

CF2R-MCH-01c

- Sections D, E, G, H – CalculationsAndRules – revised pseudo code

  - added to the heat pump types list the following:

    - *SPVHP;

    - *PTHP

- B07 – added SEER/SEER2 to the top of layout - doc. layout change only

- B07a – added Cooling Efficiency Value EER/EER2/CEER to the top of layout – doc. layout change only

- D07 – deleted ”(%)“ and added “Value” to the top of doc layout – doc. layout change only

- E04 – added SEER/SEER2 to the top of layout – doc. layout change only

- E04b – added Cooling Efficiency Value EER/EER2/CEER to the top of doc layout – doc. layout change only

- E03, E04, E04b – revised pseudo code – doc. layout change only

  - EER/SEER, EER2/SEER2 instead of SEER/EER, SEER2/EER2

- H07, H08, H08b – revised pseudo code – doc. layout change only

  - EER/SEER, EER2/SEER2 instead of SEER/EER, SEER2/EER2

- H08 – added SEER/SEER2 to the top of layout – doc. layout change only

- H08b – added Cooling Efficiency Value EER/EER2/CEER to the top of doc layout – doc. layout change only

- E04 – revised pseudo code

  - added CEER=N/A value

- H08 – revised pseudo code

  - added CEER=N/A value

CF2R-MCH-01d

- G04 – revised pseudo code – doc. layout change only

  - EER/SEER, EER2/SEER2 instead of SEER/EER, SEER2/EER2

- L13, L14 – revised pseudo code

  - EER or SEER instead of SEER or EER

- P04 – revised pseudo code – doc. layout change only

  - EER/SEER, EER2/SEER2 instead of SEER/EER, SEER2/EER2

CF2R-MCH-21

- A06 – revised pseudo code

  - MCH-01 = Ducts uninsulated or < R-6 ducts entirely in conditioned space

- A07 – revised pseudo code

  - MCH-01 = Portions of uninsulated or < R-6 ducts in conditioned space

- A08 – deleted

CF3R-MCH-21

- A06 – revised pseudo code – doc. layout change only

- A06 – revised pseudo code

  - MCH-01 = Ducts uninsulated or < R-6 ducts entirely in conditioned space

- A07 – revised pseudo code

  - MCH-01 = Portions of uninsulated or < R-6 ducts in conditioned space

- A08 – deleted

CF2R/CF3R-MCH-24a,b

- Create 2022 compliance document from old 2019-CF2R/CF3R-MCH-24

CF2R-MCH-25’s

- A17 – Remove Winter Setup 25e. Winter Setup for Standard Charge Verification; - doc. layout change only

CF3R-MCH-25’s

- A17 – Remove Winter Setup 25e. Winter Setup for Standard Charge Verification; - doc. layout change only

CF2R-MCH-25a

- E02 – revised pseudo code

CF3R-MCH-25a

- E02 – revised pseudo code

CF2R-MCH-25b

- E02 – revised pseudo code

CF3R-MCH-25b

- E02 – revised pseudo code

CF2R-MCH-25c

- D02 – revised pseudo code

CF3R-MCH-25c

- C02 – revised pseudo code

CF2R-MCH-25f

- C02 – revised pseudo code

CF3R-MCH-25d

- D02 – revised pseudo code

CF2R/CF3R-MCH-25e

- Removed the variant of CF2R/CF3R-MCH-25e from compliance documents

CF2R-MCH-26

- A03a– revised pseudo code

  - Added selection option EER/SEER or EER2/SEER2

CF3R-MCH-26

- Add Section J. Verified Space Conditioning System TXV (in Schema only)

- Rename existing Section J to be K (in Schema only)

- Document header-top layout changed to (-E) instead of (-H)

CF2R/CF3R-MCH-27a

- A01, A04, A05 – revised pseudo code to allow for user input if the information is now available.

- A08 – revised pseudo code

  - remove Scheduled and Real-time Control options

- D2-03 – revised pseudo code

  - need to be added schema “Range check: User entered value must be ≤ 1.0”

CF2R-MCH-27d

- A01, A04, A05 – revised pseudo code to allow for user input if the information is now available.

- A08 – revised pseudo code

  - Remove Scheduled and Real-time Control options

- Removed Table B. HRV/ERV and renumber Section C to B

CF2R/CF3R-MCH-27c

- Removed this variant from the compliance documents

CF2R-MCH-32

- A01 – revised pseudo code

  - Add Prescriptive

  - Allow for user input if the information is not available.

- A02- revised pseudo code

  - field A02 - update pseudo code; remove multifamily option

- C09- revised pseudo code

  - update the pseudo code "Elseif A07 = <750, then result = 280;”

- C10a – need to be added to schema “Exception to Maximum Sound Rating”

- A07 – revised pseudo code

  - Add Prescriptive

  - Allow for user input if the information is not available.

CF3R-MCH-32

- A01 – revised pseudo code

  - Add Prescriptive

- A02- revised pseudo code

  - field A02 - update pseudo code; remove multifamily option

- B09- revised pseudo code

  - update the pseudo code "Elseif A07 = <750, then result = 280;”

- B10a – need to be added to schema “Exception to Maximum Sound Rating”

- A07 – revised pseudo code

  - Add Prescriptive

CF2R/CF3R-MCH-32

- A01 – revised pseudo code

  - Add Prescriptive

- A07 – revised pseudo code

  - Add Prescriptive

CF2R-PLB-02

- A10 – revised pseudo code

  - update the pseudo code to provide a reference for the NCB-01 (field M09)

- A2.08 – revised pseudo code

  - update the pseudo code to provide a reference for the NCB-01 (field M09)

- C06 – revised pseudo code

- D02 – revised pseudo code

  - Allow user input.

CF2R-PLB-22

- A09 – Removed

  - Field no longer needed; only applies to multifamily

- B09 – Removed

  - Field no longer needed; only applies to multifamily

- A11 – revised pseudo code

  - update the pseudo code to provide a reference for the NCB-01 (field M09)

- A2.08 – revised pseudo code

  - update the pseudo code to provide a reference for the NCB-01 (field M09)

- A12 – revised pseudo code

- A2.09 – revised pseudo code

- A2.09 - “Drain Water Recovery” added to the Top section in Doc layout only to match with bottom section – doc. layout change only

- B2.09 - “Drain Water Recovery” added to the Top section in Doc layout only to match with bottom section – doc. layout change only

- D02 – revised pseudo code

  - Allow user input.

CF3R-PLB-22

- A09 – Removed

  - Field no longer needed; only applies to multifamily

- B09 – Removed

  - Field no longer needed; only applies to multifamily

- A11 – revised pseudo code

  - update the pseudo code to provide a reference for the NCB-01 (field M09)

- A2.08 – revised pseudo code

  - update the pseudo code to provide a reference for the NCB-01 (field M09)

- A12 – revised pseudo code

- A2.09 – revised pseudo code

- Added Heater Pump Water Heater models to schema base.

  - <xsd:enumeration value="RheemPROPH50RH350"/>

  - <xsd:enumeration value="RheemXE50T10HD22U0"/>

  - <xsd:enumeration value="Richmond10E50HP4D15"/>

  - <xsd:enumeration value="RuudPROUH50RU350D15"/>

- A2.09 - “Drain Water Recovery” added to Top section in Doc layout only to match with bottom section – doc. layout change only

- B2.09 - “Drain Water Recovery” added to Top section in Doc layout only to match with bottom section - doc. layout change only

- D02 – revised pseudo code

  - Allow user input.

CF2R-PVB-01

Section B – revised pseudo code (CalculationsAndRules)

Section C – revised pseudo code (CalculationsAndRules),

  - reject deletion of “Community Solar”

  - delete “or (if A06 ≠“Opt-out”)”

Section D – revised pseudo code (CalculationsAndRules)

  - reject deletion of “Community Solar”

  - delete “or (if A06 ≠“Opt-out”)”

Section E – revised pseudo code (CalculationsAndRules)

  - reject deletion of “Community Solar”

  - delete “or (if A06 ≠“Opt-out”)”

G02 – Added (CFI1 orientation and 98% solar access)

CF2R-PVB-02

B05 – “Round Trip Efficiency (%)” added to the section B

C006b – “Round Trip Efficiency (%)” added to the section C

CF2R-STH-01

- A05 – revised pseudo code

  - add N/A if OG-300

- A08 – revised pseudo code

  - add N/A if OG-300

- Updated all the sections

Update NEEA HPWH list à Robert let’s discuss this item at our next Forms/Schema/RG meeting