## Change Log
Date | Table | Description | Colors
2024-12-04 | Footers | Changed date in footer and added an LMCC Footer | Yellow with red text
2024-12-04 | Signature Block | Add "Responsible Person Scope" field | Yellow with red text
2024-12-04 | Signature Block | Added AEA and replaced "HERS" with "ECC" | Yellow with red text
2024-12-04 | NRCC, Section A - A03 | Changed from "Conditioned Floor Area (ft2)" to "Square footage of building (ft2)" | Yellow with red text
2024-12-04 | NRCC, Section A - A04 | Revised dropdown options | Yellow with red text
2024-12-04 | NRCC, Section A - A04 | When "All other building types" is selected, trigger question in UI | Yellow with red text
2024-12-04 | NRCC, Section B - PV subtable | Revised text in fields, deleted an exception, and added an exception | Yellow with red text
| LMCC, Section B - PV subtable | Deleted an exception
2024-12-04 | Section C, C03 | Changed note to clarify logic | Yellow with red text
| Section H | Updated section references
2024-12-04 | NRCC, Section J - PV subtable | Split into two tables and added fields and calculations - fully changed the way this section works and calculates | Yellow with red text
2024-12-04 | NRCC, Section J - Battery subtable | Revised Column 01 header text and added clarifying note | Yellow with red text
2024-12-04 | NRCC, Section J - Battery subtable | Added calculations in Column 04 (and added logic) and 05 | Yellow with red text
2024-12-04 | LMCC, Section J, Column 01 | New field - Roof Slope (renumbered subsequent columns) | Yellow with red text
2024-12-04 | LMCC, Section J, Column 02 | Revised column header | Yellow with red text
2024-12-04 | LMCC, Section J, Column 06 | Deleted column | Yellow with red text
2024-12-04 | LMCC, Section J, Column 09 | Revised logic | Yellow with red text
2024-12-04 | LMCC, Section J | Added "Add Roof" and "Remove Last" buttons | Yellow with red text
CEC
2025-01-15 | NRCC J. PV&Batt - Photovoltaic (PV) System | See the Sahar's note on J06 and J08
2025-01-09 | NRCC J. PV&Batt - Battery Energy Storage System (BESS) | See the Sahar's note on top note
2025-01-14 | NRCC J. PV&Batt - NRCC B. Project Scope | See the Sahar's note on "Compliance with Solar Thermal Water Heating Requirements"
2025-01-13 | LMCC J. PV&Batt - Photovoltaic (PV) System | See the Sahar's note on J09

## Table Sequence
Label | Table Title | Trigger within:
Table A | General Information | ALWAYS
Table B | Project Scope | ALWAYS
Table C | Compliance Results | ALWAYS
Table D | Exceptional Conditions | ALWAYS
Table E | Additional Remarks | ALWAYS
Table F | Allocated Solar Zone | Table B
Table G | Permanently Installed Solar Photovoltaic (PV) System | Table B
Table H | Permanently Installed Solar Water Heating System | Table B
Table I | Smart Thermostats and Alternative Efficiency Measure | Table B
Table J | Photovoltaic and Battery Systems | Table A & B
Table K | Declaration of Required Certificates of Installation | ALWAYS
Table L | Declaration of Required Certificates of Acceptance | ALWAYS
- | Signature Page | ALWAYS

## Hyperlinks
Label | Tables
§110.10 | Header 1st page, A
§110.10(b) | B
§110.10(b)1B | B, F, G, H, I, J
§110.12(a) | B, I
§150.1(c)8Biii | B
Reference Joint Appendix 5 JA5 | B
Reference Residential Appendix RA 4 | B
§110.10(b)3A | F
§110.10(b)3B | F
§110.10(c) | F
§140.10
§170.2(f-h)

## NRCC Headers
| User input |  | auto calculated | From another Table |  | From look up table
STATE OF CALIFORNIA
Solar And Battery
NRCC-SAB-E |  |  |  |  | CALIFORNIA ENERGY COMMISSION
CERTIFICATE OF COMPLIANCE | [5 empty] | NRCC-SAB-E
This document is used to demonstrate compliance with prescriptive PV and battery requirements in §140.10/§170.2 for nonresidential, multifamily and mixed-use buildings and prescriptive solar thermal requirements in §170.2(d)3C for multifamilyand hotel/ motel occupancies. When PV/battery/solar thermal requirements don't apply or are traded using the performance approach, this document demonstrates compliance with mandatory solar readiness requirements in §110.10/ §160.8 for newly constructed buildings which are either multifamily ten stories or fewer, hotel/motel ten stories or fewer or all other nonresidential buildings three stories or fewer. It is also used to demonstrate compliance with solar readiness in §110.10/ §160.8 for additions to nonresidential, multifamily or hotel/motel building types which add more than 2,000 ft2 of roof area. Alterations, or additions of less than 2,000 ft2 of roof area, are not required to comply with solar readiness, solar PV and battery requirements and do not need to complete this document.
Project Name: |  |  |  |  | Report Page: | Page 1 of ??
Project Address: |  |  |  |  | Date Prepared:
This is a heading. The project name, address and date prepared should be a user input on the first page, but that should populate the heading on all other pages.
STATE OF CALIFORNIA
Solar And Battery
NRCC-SAB-E |  |  |  |  | CALIFORNIA ENERGY COMMISSION
CERTIFICATE OF COMPLIANCE | [5 empty] | NRCC-SAB-E
Project Name: |  |  |  |  | Report Page: | Page 1 of ??
Project Address: |  | Remove this field on all but first & last page header |  |  | Date Prepared:
First & Last Page Heading
Heading all other pages
Note on C8: 2/17/23 This cell grays out on all pages other than Page 1 and the last page.

## LMCC Headers
| User input |  | auto calculated | From another Table |  | From look up table
STATE OF CALIFORNIA
Solar And Battery
LMCC-SAB-01-E |  |  |  |  | CALIFORNIA ENERGY COMMISSION
CERTIFICATE OF COMPLIANCE | [5 empty] | LMCC-SAB-01-E
This document is used to demonstrate compliance with prescriptive PV and battery requirements in §140.10/§170.2 for low-rise multifamily and low-rise mixed-use buildings and prescriptive solar thermal requirements in §170.2(d)3C for low-rise multifamily and hotel/motel occupancies. When PV/battery/solar thermal requirements don't apply or are traded using the performance approach, this document demonstrates compliance with mandatory solar readiness requirements in §110.10/ §160.8 for newly constructed buildings which are low-rise multifamily or low-rise mixed-use. It is also used to demonstrate compliance with solar readiness in §160.8 for additions to low-rise multifamily which add more than 2,000 ft2 of roof area. Alterations, or additions of less than 2,000 ft2 of roof area, are not required to comply with solar readiness, solar PV and battery requirements and do not need to complete this document.
Project Name: |  |  |  |  | Report Page: | Page 1 of ??
Project Address: |  |  |  |  | Date Prepared:
This is a heading. The project name, address and date prepared should be a user input on the first page, but that should populate the heading on all other pages.
STATE OF CALIFORNIA
Solar And Battery
LMCC-SAB-01-E |  |  |  |  | CALIFORNIA ENERGY COMMISSION
CERTIFICATE OF COMPLIANCE | [5 empty] | LMCC-SAB-01-E
Project Name: |  |  |  |  | Report Page: | Page 1 of ??
Project Address: |  | Remove this field on all but first & last page header |  |  | Date Prepared:
First & Last Page Heading
Heading all other pages
Note on C8: 2/17/23 This cell grays out on all pages other than Page 1 and the last page.

## NRCC Footer
| User input | auto calculated |  | From another Table |  | From look up table
Footer for every page:
Registration Number: |  | Registration Date/Time: |  |  | Registration Provider:
|  |  | Report Version: |  | Compliance ID:
|  |  | Schema Version: |  | Report Generated:
CA Building Energy Efficiency Standards - 2022 2025 Nonresidential Compliance

## LMCC Footer
| User input | auto calculated |  | From another Table |  | From look up table
Footer for every page:
Registration Number: |  | Registration Date/Time: |  |  | Registration Provider:
|  |  | Report Version: |  | Compliance ID:
|  |  | Schema Version: |  | Report Generated:
CA Building Energy Efficiency Standards - 2022 2025 Low-rise Multifamily Compliance

## NRCC A. General Info
|  | User input |  | auto calculated |  |  | From another Table |  | From look up table
A. GENERAL INFORMATION
01 | Project Location (city) |  |  |  | 04 | Building Occupancies |  | Dropdown (select all that apply), see below for list
02 | Climate Zone |  | Dropdown, see below for list |  | 05 | Construction Type |  | Dropdown, see below for list
03 | Conditioned Floor Area (ft2) Square footage of building (ft2) |  | user input |  | 06 | Number of Stories |  | Dropdown, see below for list
STOP! Alterations, or additions that increase roof area by ≤ 2,000 ft2, are not required to comply with requirements in §110.10/§140.10/§170.2(g and h) and do not need to complete this compliance document.
STOP! Healthcare facilities are not required to comply with the requirements of §110.10/§140.10/§170.2(g and h) and do not need to complete this compliance document.
|  |  | Climate Zone Dropdown |  |  |  |  | Building Type Dropdown
|  |  | 1 |  |  |  |  | Hotel/Motel | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 2 |  |  |  |  | High-rise multifamily | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf OR Declared Emergency Area Rebuild
|  |  | 3 |  |  |  |  | Grocery | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 4 |  |  |  |  | Office | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 5 |  |  |  |  | Financial Institution | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 6 |  |  |  |  | Unleased Tenant Space | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 7 |  |  |  |  | Retail | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 8 |  |  |  |  | School or Classroom | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 9 |  |  |  |  | Warehouse | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 10 |  |  |  |  | Sports & Recreation | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 11 |  |  |  |  | Events & Exhibits | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 12 |  |  |  |  | Library | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 13 |  |  |  |  | Medical Office Bldg/ Clinic | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 14 |  |  |  |  | Restaurant | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
|  |  | 15 |  |  |  |  | Religious Facility Worship | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add> 2000sf
16
Theater
Parking Garage
Auditorium
Commercial Industrial
Data Center
Gymnasium
Relocatable Public School
Support Area
Convention Center
[8 empty] | All other building types | < triggers Solar Ready if New Const. or Add >2,000ft2 in col 05 AND <= 3 stories in col 06
[8 empty] | I-2 and I-2.1 Healthcare Facilities | < triggers none, Healthcare is exempt from all requirements
Construction Type Dropdown
New Construction
[8 empty] | New Construction w roof <= 533ft2 | < exception to Solar Ready requirements.
Additionincreases roof area > 2,000 ft2
Alteration/ Additionincreases roof area ≤ 2,000 ft2
Declared Emergency Area Rebuild
Number of Stories Dropdown
Bldg <= 3 stories
Bldg 4-10 stories
Bldg > 10 stories
Note on A7: Joe Singer: shows up if user selects "Addition/Alteration increases roof ≤ 2,000 ft2" in Construction Type dropdown.
Note on A8: Joe Singer: shows up if "Healthcare facilities", OR "Bldg with total roof area < 533ft2" OR "All other building types" is selected in col 04
Note on K10: 11.5.12: This is select all that apply
Note on K36: Alexis Markstrum: Add question in UI - What is square footage of "All Other Building types"? If this is selected along with a PV required Occupancy above, AND "this square footage/total square footage of building (A03)" is ≥ 20%, don't trigger PV table, just Solar Ready table. If < 20%, trigger PV table, not Solar Ready
Note on K37: 10.27.21: This Healthcare option triggers "STOP! Healthcare facilities..." message
Note on K45: Sally Blair: Triggers "STOP! Alterations, or..." Note Above
Note on K46: Alexis Markstrum: Remove from UI, but keep in schema - there are no current exceptions approved but maybe in the future

## LMCC A. General Info
|  | User input |  | auto calculated |  |  | From another Table |  | From look up table
A. GENERAL INFORMATION
01 | Project Location (city) |  |  |  | 04 | Building Occupancies |  | Dropdown (select all that apply), see below for list
02 | Climate Zone |  | Dropdown, see below for list |  | 05 | Construction Type |  | Dropdown, see below for list
03 | Conditioned Floor Area (ft2) |  | user input |  | 06 | Number of Stories |  | Dropdown, see below for list
STOP! Alterations, or additions that increase roof area by ≤ 2,000 ft2, are not required to comply with requirements in §110.10/§170.2(f) and do not need to complete this compliance document.
|  |  | Climate Zone Dropdown |  |  |  |  | Building Type Dropdown
|  |  | 1 |  |  |  |  | Multifamily/ Mixed-Use | <triggers PV/Battery subtable in Table B if either New Construction choices in col05; triggers Solar Ready in Table B if Add > 2000sf OR Declared Emergency Area Rebuild
|  |  | 2 |  |  |  |  | Multifamily in Trinity Public Utility Dist. | <triggers Solar Ready in Table B if either New Construction choices in col05 OR Add > 2000sf OR Declared Emergency Area Rebuild
|  |  | 3 |  |  |  |  | Multifamily in City of Needles | <triggers Solar Ready in Table B if either New Construction choices in col05 OR Add > 2000sf OR Declared Emergency Area Rebuild
4
|  |  | 5 |  |  |  |  | Construction Type Dropdown
|  |  | 6 |  |  |  |  | New Construction
|  |  | 7 |  |  |  |  | New Construction w roof <= 533ft2
|  |  | 8 |  |  |  |  | Addition increases roof area > 2,000 ft2
|  |  | 9 |  |  |  |  | Alteration/ Addition increases roof area ≤ 2,000 ft2
|  |  | 10 |  |  |  |  | Declared Emergency Area Rebuild
11
|  |  | 12 |  |  |  |  | Number of Stories Dropdown
|  |  | 13 |  |  |  |  | Bldg <= 3 stories
14
15
16
Note on A7: Joe Singer: shows up if user selects "Addition/Alteration increases roof ≤ 2,000 ft2" in Construction Type dropdown.
Note on K12: 4.27.22: Added these exceptions per CEC direction.
Note on K18: Sally Blair: Triggers "STOP! Alterations, or additions…" Note
Note on K19: Alexis Markstrum: Remove from UI, but keep in schema - there are no current exceptions approved but maybe in the future

## NRCC B. Project Scope
|  | User input |  | auto calculated | From another Table |  | From look up table
B. PROJECT SCOPE
The compliance path the project is using to comply per §110.10(b)1B/§140.10/§170.2(g and h) is indicated below.
Compliance with Solar Readiness Requirements in §110.10(b)1B
01
¨ | Provide Solar Ready Area no exceptions |  | The project has allocated a solar zone on the roof plan per requirements in §110.10(b), as documented in Table F. |  |  | << triggers Table F.
¨ | Exception to Solar Ready Area: Installed Solar Photovoltaic System |  | The project includes a permanently installed solar electric system having a nameplate DC power rating, measured under Standard Test Conditions, of no less than one watt per square foot of roof area, as documented in Table G. |  |  | << triggers Table G
¨ | Exception to Solar Ready Area: Installed Solar Water Heating System |  | The project is a hotel/motel or high-rise multifamily occupancy and includes a permanently installed domestic solar water-heating system complying with §170.2(d)32CBii and Reference Residential Appendix RA4, as documented in Table H. |  |  | << triggers Table H.
¨ | Exception to Solar Ready Area: Smart Thermostat and Alternative Energy Efficiency Measure |  | The project is a multifamily occupancy where all thermostats in each dwelling unit comply with §110.12(a) AND at least one additional measure listed in Exception 4 to §110.10(b)1B is installed, as documented in Table I. |  |  | << triggers Table I.
¨ | Exception to Solar Ready Area: Roof is designed for vehicular traffic, parking or for heliport |  | Plan sheet showing roof designed for vehiclar traffic, parking, or heliport: |  |  | << triggers "COMPLIES with Exceptions" in Table C
¨ | Exception to Solar Ready Area: Roof too small |  | The project is new construction and has a total roof area <= 533 square feet.1 |  |  | << triggers "COMPLIES with Exceptions" in Table C
¨ | Exception to Solar Ready Area: Number of building stories |  | The project is nonresidential > 3 stories or multifamily/hotel/motel > 10 stories. |  |  | << triggers "COMPLIES with Exceptions" in Table C
1 FOOTNOTE: Buildings with roof area <= 533 ft2 would have a required solar zone < 80ft2 and are therefore exempt per §110.10(b)1.
Compliance with Solar Photovoltaic (PV) and Battery Requirements in §140.10/§170.2 (g & h)
01
¨ | Provided PV system and battery storage sized per §140.10/§170.2 (g & h) |  | The project has included an installed PV system and battery storage system per requirements in §140.10/ §170.2(g & h), as documented in Table J.
¨ | Exception to PV & Battery: Not enough Solar Access Roof Area |  | The total of all available Solar Access Roof Area(s) of the project site is less than three percent of the conditioned floor area as documented in Table J. |  |  | <<triggers Solar Readiness subtable
¨ | Exception to PV & Battery: Required PV < 4kW |  | The required PV system size capacity is less than 4 kWdc as documented in Table J. |  |  | <<triggers Solar Readiness subtable
¨ | Exception to PV & Battery: No contiguous Solar Access Roof Area |  | The Solar Access Roof Area(s) of the project site contains less than 80 contiguous square feet as documented in Table J. |  |  | <<triggers Solar Readiness subtable
¨ | Exception to PV & Battery: Can't meet snow load |  | The project has a roof design where the enforcement authority has verified it is not possible for the PV system, including panels, modules, components, supports, and attachments to the roof structure, to meet ASCE 7-16, Chapter 7, Snow Loads. |  |  | <<triggers Solar Readiness subtable
¨ | Exception to PV & Battery: Multi-tenant VNEM or Community Solar Multifamily without virtual energy credits |  | The project is a multifamily mulit-tenant building in an area where a load serving entity does not provide either a program where PV generation is compensated through virtual energy bill credits. Also, there is no community solar program and the utility does not support a virtual energy bill program. Virtual Net Metering (VNEM) or community solar program. |  |  | <<triggers Solar Readiness subtable
¨ | The prescriptive PV/battery requirement has been traded off using the performance compliance approach as documented on the PRF Certificate of Compliance form. |  |  |  |  | <<triggers Solar Readiness subtable
¨ | Exception to PV & Battery: < 80% of Occupancy listed in Table 140.10-A |  | The project has a building where < 80% of the floor area is an occupancy in Table 140.10-A |  |  | <<triggers Solar Readiness subtable
Compliance with Solar Thermal Water Heating Requirements in §170.2(d)3C (Multifamily and hotel/ motel occupancies only)
01
¨ | The project includes a hotel/motel or multifamily occupancy with a gas or propane central water-heating system (serves 2+ dwelling units) and includes a permanently installed domestic solar water-heating system to comply with §170.2(d)32CBii and Reference Residential Appendix RA4, as documented in Table H. Compliance meets Exception 2 to solar ready requirements in §110.10(b). |  |  |  |  | <<triggers Table H.
Note on A6: 10.26.21: This has become a subtable that is triggered if PV/battery requirements don't apply but SR requirements do (either from Table A selections or because the project meets an exception in the PV/Battery subtable below.) If it's because of an exception in PV/battery subtable, need to still show that subtable so AHJ understands they met an exception.
Note on A10: 2019 Update: This should only be available if the form user selects the Hotel/Motel or High-rise multifamily options in A.04.
Note on A11: Rebecca Rice: The smart thermostat + EE option checkbox should only be available if the form user selects the high-rise multi-family option on Table A
Note on A13: 10.29.21: = true if "New Construction w roof <= 533ft2" selected in A05
Note on A14: 10.29.21: = true if: - Highrise MF, hotel/motel in A04 AND Bldg > 10 stories in A06 OR - Any other occupancy selected in A04 AND Bldg > 3 stories in A06
Note on A22: 10.26.21: This subtable is triggered if PV/battery requirements apply from Table A.
Note on A24: 10.31.21: = True if: - Table J "Total Design PV" >= "Total Required PV" AND - Table J "Total Energy Capacity Designed" >= "Total Required Energy Capacity" AND - Table J "Total Power Capacity Designed" >= "Total Required Power Capacity"
Note on A25: 10.31..21: = True if: - Table J "Total Required PV" = 0 because Sum col 07 < 0.03 x Sum col 02 (See Table J logic.) Bless us all.
Note on A26: 10.31.21: = True if: - Table J "Total Required PV" = 0 because Sum col 03 (Occupancy table) or col 08 (Roof table) < 4 (See Table J logic.)
Note on A27: 10.31.21: = True if: - Table J "Total Required PV" = 0 because Sum col 07 < 80 (See Table J logic.)
Note on A29: Alexis Markstrum: Only allow this for user input if A04 = High-rise multifamily ELSE This is automatically checked if alll exceptions in J02 are met/checked for all spaces
Note on A30: Alexis Markstrum: Only allow this if A04 = High-rise multifamily
Note on A31: Alexis Markstrum: = True if: - Table A, square footage of "All Other Building types" / "square footage of building" is ≥ 20%
Note on A38: 11.5.21: This subtable is triggered by a question in the UI asking if they are documenting compliance with Solar Thermal Water heating per §170.2(d)2Bii for multifamilyand hotel/ motel occupancies.
Note on A39: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Saeed, Muhammad@Energy It seems the 170.2(d) 3 has changed to 170.2(d)Bii @Alhabibi, Haider@Energy

## LMCC B. Project Scope
|  | User input |  | auto calculated | From another Table |  | From look up table
B. PROJECT SCOPE
The compliance path the project is using to comply per §110.10(b)1B/§170.2(f) is indicated below.
Compliance with Solar Readiness Requirements in §110.10(b)1B
01
¨ | Provide Solar Ready Area no exceptions |  | The project has allocated a solar zone on the roof plan per requirements in §110.10(b), as documented in Table F. |  |  | << triggers Table F.
¨ | Exception to Solar Ready Area: Smart Thermostat and Alternative Energy Efficiency Measure |  | The project is a multifamily occupancy where all thermostats in each dwelling unit comply with §110.12(a) AND at least one additional measure listed in Exception 4 to §110.10(b)1B is installed, as documented in Table I. |  |  | << triggers Table I.
¨ | Exception to Solar Ready Area: Roof is designed for vehicular traffic, parking or for heliport |  | Plan sheet showing roof designed for vehiclar traffic, parking, or heliport: |  |  | << triggers "COMPLIES with Exceptions" in Table C
¨ | Exception to Solar Ready Area: Roof too small |  | The project is new construction and has a total roof area <= 533 square feet.1 |  |  | << triggers "COMPLIES with Exceptions" in Table C
1 FOOTNOTE: Buildings with roof area <= 533 ft2 would have a required solar zone < 80ft2 and are therefore exempt per §110.10(b)1.
Compliance with Solar Photovoltaic (PV) Requirements in §170.2 (f)
01
¨ | Provided PV system sized per §170.2 (f) |  | The project has included an installed PV system per requirements in §170.2(f), as documented in Table J.
¨ | Exception to PV & Battery: Required PV < 4 1.8 kW |  | The required PV system size is less than 4 1.8 kWdc as documented in Table J. |  |  | <<triggers Solar Readiness subtable
¨ | Exception to PV & Battery: No contiguous Solar Access Roof Area |  | The Solar Access Roof Area(s) of the project site contains less than 80 contiguous square feet as documented in Table J. |  |  | <<triggers Solar Readiness subtable
¨ | Exception to PV & Battery: Can't meet snow load |  | The project has a roof design where the enforcement authority has verified it is not possible for the PV system, including panels, modules, components, supports, and attachments to the roof structure, to meet ASCE 7-16, Chapter 7, Snow Loads. |  |  | <<triggers Solar Readiness subtable
¨ | The prescriptive PV/battery requirement has been traded off using the performance compliance approach as documented on the PRF Certificate of Compliance form. |  |  |  |  | <<triggers Solar Readiness subtable
Compliance with Solar Thermal Water Heating Requirements in §170.2(d)3C (Multifamily and hotel/ motel occupancies only)
01
¨ | The project includes a hotel/motel or multifamily occupancy with a gas or propane central water-heating system (serves 2+ dwelling units) and includes a permanently installed domestic solar water-heating system to comply with §170.2(d)32CBii and Reference Residential Appendix RA4, as documented in Table H. |  |  |  |  | <<triggers Table H.
Note on A6: 10.26.21: This has become a subtable that is triggered if PV/battery requirements don't apply but SR requirements do (either from Table A selections or because the project meets an exception in the PV/Battery subtable below.) If it's because of an exception in PV/battery subtable, need to still show that subtable so AHJ understands they met an exception.
Note on A9: 10.29.21: The smart thermostat + EE option checkbox should only be available if the form user selects the low-rise multifamily option on Table A
Note on A11: 10.29.21: = true if "New Construction w roof <= 533ft2" selected in A05
Note on A19: 10.26.21: This subtable is triggered if PV/battery requirements apply from Table A.
Note on A21: 10.31.21: = True if: - Table J col 10 >= Table J col 09
Note on A22: 10.31.21: = True if: - Table J "Total Required PV" = 0 because Sum col 09 < 4 1.8 (See Table J logic.)
Note on A23: 10.31.21: = True if: - Table J "Total Required PV" = 0 because Sum col 05 06 < 80 (See Table J logic.)
Note on A25: Alexis Markstrum: Only allow this if A04 = High-rise multifamily
Note on A34: 11.5.21: This subtable is triggered by a question in the UI asking if they are documenting compliance with Solar Thermal Water heating per §170.2(d)2Bii for multifamilyand hotel/ motel occupancies

## C. Compliance
|  | User input |  |  |  | auto calculated | [5 empty] | From another Table |  |  | From look up table
C. COMPLIANCE RESULTS
Results in this table are automatically calculated from data input and calculations in Tables F through I. Note: If any cell on this table says "COMPLIES with Exceptional Conditions" refer to Table D. Exceptional Conditions for guidance or see the applicable Table referenced below.
Allocated Solar Zone |  |  | OR | Installed PV System |  |  | OR | Installed SWH System |  |  | OR | Smart Tstat and Alternative EE Measure |  | Compliance Results
01 | < | 02 |  | 03 | < | 04 |  | 05 | < | 06 |  | 07 | 08 | 09
Required Minimum Area (ft2) |  | Designated Area (ft2) |  | Required Minimum DC Power Rating (Watts) |  | Designed DC Power Rating (Watts) |  | Required Minimum Solar Savings Fraction |  | Designed/Rated Solar Savings Fraction |  | JA5 Compliant Thermostat Specified? | Alternative Energy Efficiency Measure | COMPLIES or DOES NOT COMPLY or COMPLIES with Exceptions
(See Table F) |  |  |  | (See Tables G or J) |  |  |  | (See Table H) |  |  |  | (See Table I)
0 | < | sum of column 18 for subareas that say "COMPLIES" in column 19 | OR |  | < |  | OR |  | < | Table H, column 03 | OR | YES/NO | Measure from Table I column 02
|  |  | Location in construction documents showing the location for inverters and metering equipment and a pathway for the routing of conduit/ plumbing to the electrical service/ water heating system per §110.10(c). | [10 empty] | COMPLIES or DOES NOT COMPLY or Not Applicable
Battery storage system design meets the minimum requirements in Joint Appendix JA12 and the minimum energy (kWh)/ power (kW) capacity per Table J. | [13 empty] | COMPLIES or DOES NOT COMPLY or Not Applicable
Note on O8: 10.29.31: Compliance depends on the path taken. Here is what would make each path say "COMPLIES" Allocated Solar Zone: If 02 >= 01 and all subareas in Table F say "COMPLIES" OR If 01 says "0" and 02 says "NA" Installed PV System: If 04 >= 03 Installed SHW System: If 06 >= 05 AND Table H column 03 says "Yes" if not greyed out. Smart Tsat + EE Measure: If 07 says "YES" AND 08 is populated. Otherwise this is blank until the user selects a compliance path in Table B. Once the user selects a path, this should say "DOES NOT COMPLY" until one of the criteria above is met. Here is what would make this say "COMPLIES with Exceptions": B01 Solar Readiness subtable says: - Roof designed for vehicular traffic OR - Roof too small OR - Number of building stories
Note on C10: Sally Blair: If Table F column 19 is greyed out, this says "NA"
Note on E10: col 02 for Table G OR col 09 x 1000 for LMCC Table J OR "Total Required" "Total Min Size PV System Required (H21)" x 1000 for NRCC Table J
Note on G10: 10.29.21: col 03 for Table G OR col 10 x 1000 for LMCC Table J OR "Total Size PV System in Design" x 1000 for NRCC Table J
Note on I10: Sally Blair: Gray out any of these cells that do not hold a value Usability Update: If the "Drain water heat recovery" box in Table H is unchecked, here are the values for this cell: 0.2 for CZ 1-9 and 0.35 for CZ 10-16 (this did not change from 2016 form). If the "Drain water heat recovery" box in Table H is checked, here are the values for this cell: 0.15 for CZ 1-9 and 0.30 for CZ 10-16
Note on M10: Sally Blair: Says "Yes" if checkbox in Table I is checked and location in contract documents is indicated in Table I.
Note on N10: Sally Blair: Measure is brought in from Table I when checkbox is checked AND location in contract documents is indicated.
Note on A11: Sally Blair: grey out unless Allocated Solar Zone in Table B is checked. If not grey out, then fill with "Interconnection Pathways" field in Table F under "F. ALLOCATED SOLAR ZONE"
Note on O11: Sally Blair: Says "COMPLIES" if sheet # is populated. Says "DOES NOT COMPLY" if Allocated Solar Zone is checked in Table B, but sheet # is left blank. Says "Not Applicable" if Installed PV, Installed SHW or Tstat paths are selected in Table B.
Note on O12: 5.11.22: NRCC Says "COMPLIES" if - Table J Battery Storage System Designed Total Energy Capacity is >= Required Min AND - Table J Battery Storage System Designed Total POwer Capacity >= Required Min Says "Not Applicable" if - Battery Subtable in Table J is not triggered Else Says "DOES NOT COMPLY" LMCC always says "Not Applicable" here.

## D. Exceptional Conditions
| User input | auto calculated | From another Table | From look up table
D. EXCEPTIONAL CONDITIONS
This table is auto-filled with uneditable comments because of selections made or data entered in tables throughout the form.
Comment:
1 | The note about making changes in the NRCI table need to show up too just like on LTI. Note Table letters will need to be updated to match this form.
2 | Table F indicates a subarea that is not in compliance with the requirements. Please revisit Table F.
3 | Table H column 03 does not indicate the output from CEC's Solar Water Heating Calculator has been attached. Please attach the output and indicate this in Table H.
4 | See Table J for minimim battery capacity (kWh) being used to reduce required PV system size (kW).
5 | The permit applicant has indicated in Table J that the the projects roof space SARA is not able to fit the minimum system size per Equation 170.2-C. Please ensure the permit applicant has included documenation using an approved solar assessement tool found here https://www.energy.ca.gov/programs-and-topics/programs/building-energy-efficiency-standards/solar-assessment-tools
Note on B10: 12/8/22: If any of the sub areas in Table F say "Does not comply" this note should be triggered.
Note on B11: 12/8/22: If Table H is triggered and column 03 is not greyed out, but does not say "Yes", this note should be triggered.
Note on B12: 12/8/22: J.08 >=7.5
Note on B13: Ben Lalor: Triggers only for LMCC J.09 == column 6 rather than the result of equation 170.2-C

## E. Additional Remarks
| User input | auto calculated | From another Table | From look up table
E. ADDITIONAL REMARKS
This table includes remarks made by the permit applicant to the Authority Having Jurisdiction.
Table Tip:
[d:OnlyUI] Table E allows user input of additional information to support the compliance documentation. [d:/OnlyUI]
Note on B10: UI Only: Table tip only applies to UI, does not apply to report generator.

## F. Allocated Zone
| User input |  |  | auto calculated |  |  | From another Table |  |  |  |  | From look up table
F. ALLOCATED SOLAR ZONE
This table is completed if the project is designating a solar zone to comply with §110.10(b)1B. New construction considers the total roof area; Additions consider only newly added roof area. This table demonstrates that the project has designated the minimum area required for the Allocated Solar Zone, and also that the requirements for Solar Zone Subareas have been met. Each subarea must be shown on a roof plan or documented in construction documents. The solar zones must also comply with fire code requirements, including, but not limited to, setback and pathway requirements. Requirements for interconnection pathways must also be included in construction documents, and the location is specified in this table.
Required Minimum Solar Zone
01 | 02 | 03 | 04 |  | 05 |  | 06 |  |  |  | 07 |  | 08
Minimum Solar Zone Area Calculation Method | Total New or Added Roof Area (ft2) | Total New or Added Roof Area Covered with Skylights (ft2) | Minimum Solar Zone Based on Total or Added Roof Area (0.15 x (Roof-Skylt)) (ft2) |  | Method/Tool(s) Used to Determine Annual Solar Access for Potential Zones1 |  | Potential Solar Zone Areas: Roof Areas with ≥ 70% Solar Access |  |  |  | Minimum Solar Zone Based on Potential Zone (0.5 x (Total Potential Zone)) (ft2) |  | Required Minimum Solar Zone Area (ft2)
[7 empty] | Low-Sloped Area (≤ 2:12 pitch) (ft2) |  | Steep-Sloped Area (> 2:12 pitch), Oriented 90° - 300° (ft2) | Total Potential Solar Zone Area (ft2)
See dropdown |  |  | 0 |  | Need to to give enough room for user text |  |  |  |  | 0 | 0
Designated Solar Zone Subareas
09 | 10 | 11 |  | 12 | 13 | 14 |  | 15 |  | 16 | 17 | 18 | 19
Subarea Name or Tag | Building Plan Reference | Roof or Overhang Slope (Low < 2:12 pitch) (Steep > 2:12 pitch) |  | Is Steep-Sloped Roof or Overhang between 90 and 300 degrees? | Subarea Complies with Title 24, Part 9 | Solar Zone Subarea Free of Obstructions per §110.10(b)3A |  | Subarea is Required Distance from Potential Obstructions per §110.10(b)3B |  | Is the Smallest Dimension 5 feet or greater? | Min. Area Required per Subarea (ft2) | Designated Area (ft2) | Subarea Complies?
|  | See dropdown |  | See dropdown | See dropdown | See dropdown |  | See dropdown |  | See dropdown
Total Designated Solar Zone Area (ft2): | [11 empty] | sum of column 18 for subareas that say "COMPLIES" in column 19
[12 empty] | Add Subarea | Remove Last
Interconnection Pathways
Location in construction documents showing the location for inverters and metering equipment and a pathway for the routing of conduit/ plumbing to the electrical service/ water heating system per §110.10(c).
1 FOOTNOTE: This field is used to document how the percentage of annual solar access was determined per §110.10(b)1B. Solar access is the ratio of solar insolation including shade to the solar insolation without shade. Shading from obstructions located on the roof or any other part of the building shall not be included in the determination of annual solar access.
Minimum Solar Zone Area Calculation Method Dropdown |  | Roof/ Overhang Slope dropdown |  | Steep-Sloped Roof or Overhang dropdown | Complies with Title 24, Part 9 dropdown | Solar Zone Free of Obstructions dropdown |  | Solar Zone Distance from Obstructions dropdown |  | The Smallest Dimension dropdown
Total New or Added Roof Area |  | Low-Sloped |  | Yes | Yes | Yes |  | Yes |  | Yes
Potential Solar Zone |  | Steep-Sloped |  | No | No | No |  | No |  | No
Note on D9: Sally Blair: Columns 03 - 04 open for user input when "Total New or Added Roof Area" is selected in column 01- otherwise, they grey out because they're NA. If the user changes the selection in column 01, this need to update accordingly
Note on M9: Sally Blair: Columns 05-07 open for user input when "Potential Solar Zone" is selected in column 01- otherwise, they grey out because they're NA. If the user changes the selection in column 01, this need to update accordingly.
Note on O9: Sally Blair: Column 04 OR 07 depending on calculation method selected in column 01 -- This value is tranferred to Table C, Column 01 If this value is 0, column 09 - 19 need to grey out.
Note on E12: Sally Blair: This cell is only accessible if user selects "Steep-Sloped" in column 11. Otherwise it is greyed out. Needs to adjust if user changes selection in column 11.
Note on M12: Sally Blair: If column 02 is <= 10,000 ft2, then this = 80 ft2; If column 02 is > 10,000 ft2, then this =160 ft2.
Note on O14: Sally Blair: Says "COMPLIES" if: - column 12 is greyed out - columns 13/14/15 all say "Yes" AND - column 16 input is > 5 AND - column 18 is > column 17 OR - column 12 is not greyed out and has a value between 110-270 input AND - columns 13/14/15 all say "Yes" AND - column 16 input is > 5 AND - column 18 is > column 17 Column 19 goes blank and greys out if column 08 = 0 Otherwise, says DOES NOT COMPLY If any of the sub areas say "Does not comply" then a note should be triggered in Table D about a subarea being out of compliance: "Table F indicates a subarea that is not in compliance with the requirements. Please revisit Table F."
Note on N15: Sally Blair: Transferred to Table C. column 02
Note on K18: Sally Blair: Transfers to Table C Row 11

## G. PV
| User input |  | auto calculated |  | From another Table | From look up table
G. PERMANENTLY INSTALLED SOLAR PV FOR SOLAR READY EXCEPTION
This table is completed if the project is installing a PV system to comply with §110.10(b)1B Exception 1.
01 | 02 | 03 | 04 | 05
Total Roof Area1 (ft2) | Required Minimum DC Power Rating (Watts) | Designed System DC Power Rating (Watts) | Location in Construction Documents showing PV System/ Components | Field Inspector
|  |  |  | Pass | Fail
| 0 | This value is transferred to Table C, Column 04 |  | o | o
1 FOOTNOTES: Newly Constructed Projects should report total roof area; Additions should report newly added roof area.
Note on B8: Rebecca Rice: This value is transferred to Table C, Column 03.

## H. SWH_NOT USED (hidden)
|  | User input |  | auto calculated |  | From another Table |  |  | From look up table
H. PERMANENTLY INSTALLED SOLAR HOT WATER SYSTEM
Table Instructions: Complete this table if the project is installing a solar water heating (SWH) system to comply with §110.10(b)1B Exception 2.
¨ | OG-100 Certified Collectors |  | The collectors specified are certified by the Solar Rating and Certification Company (SRCC) as OG-100. | [6 empty] | SRCC #
¨ | OG-300 Certified System |  | The system specified is certified by the Solar Rating and Certification Company (SRCC) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated. | [6 empty] | SRCC #
01 |  | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11
Panel Type |  | Collector Fluid | # of Collectors | Panel Orientation |  | Tank Volume (gal) | Conditioned Floor Area Served (ft2) | # of Residential Units or Hotel/Motel Rooms Served | Designed Solar Savings Fraction for OG-100 | Rated Solar Savings Fraction for OG-300 | Field Inspector
|  | The system specified is certified by the Solar Rating and Certification Company (SRCC) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated. 04: Tilt (deg); The system specified is certified by the Solar Rating and Certification Company (SRCC) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated. 05: Azimuth (deg); SRCC # 11: Pass | Fail
Dropdown See list below |  | 02: Dropdown See list below; SRCC # 11: o | o
Panel Type Dropdown |  | 02: Collector Fluid Dropdown
Model #'s from CEC Panel Database |  | 02: Water
Glycol
Air
Table Tip: | bar: 02 to The system specified is certified by the Solar Rating and Certification Company (SRCC) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated. 06
Depending on whether the project is using OG-100 Certified Collectors or an OG-300 Certified System, the Solar Savings Fraction is either calculated by Table H., or the Rated Solar Savings Fraction is entered. This Solar Savings Fraction (SSF) is transferred to Table C. and compared to the Required Minimum SSF. For OG-100 Certified Collectors, the calculations performed using CEC's T24 Solar Calculator have been built into this table. The T24 Solar Calculator refers to "Solar Fraction", which is the same as the Solar Savings Fraction.
Note on L6: Sally Blair: Gray until associated checkbox on the far left is clicked. Then opens for user input.
Note on J10: Rebecca Rice: Unless this says "NA" Transferred to Table C, Column 6
Note on K10: Sally Blair: Ben. If the user selects OG-100 above, this field turns gray because it's NA. If the user selects OG-300 above, columns 01-09 turn gray and this field is active. Unless this is gray, transfer to Table C, Column 6
Note on B17: Rosemary Howley: Sally, the panel type has two parts in the CEC calculator: the "Model" which is the model name and number, and the "SRCC #". The SRCC# is from the ICC-SRCC directory of OG-100 rated solar panels. See screen shots below. When you pick something from the T24 Solar Calc dropdown for either Model or SRCC#, the other part of the Panel Type description automatically comes up. The T24 solar calculator has a database of maybe 400 panel types with information about them such as collector size that is used in the calculation. I printed out a sample report to give you an idea of what's in there. If you actually want to recreate the calculation here, then I think you'll have to get the database from the CEC. CEC, does it make sense to build the panel type database in the T24 Solar Calculator into the form? I'm thinking yes, can we get the data in the database? Alexis: I emailed Danny to ensure that this was okay to do. He does not think we should incorporate the Solar Calculator into the table because "the programming language behind the calculator is some rare programming language called flat assembler. Additionally, the underlining method is very old and not worth the time to translate." He is trying to get a more up to date and appropriate tool to use. I don't know how you want to proceed... Ben, let's build this table and then wait and see what the CEC can give us as far as database goes.

## H. SWH
|  |  | User input |  | auto calculated |  | From another Table | From look up table
H. PERMANENTLY INSTALLED SOLAR HOT WATER SYSTEM
This table is completed if the project is installing a solar water heating (SWH) system to comply with §110.10(b)1B Exception 2 or for multifamily/ hotel/ motel occupancies to demonstrate compliance with §170.2(d)32CBii.
☑ | OG-100 Certified Collectors |  |  | The SWH system is built-up and specifies collectors certified by the Solar Rating & Certification Company (SRCC) or the International Association of Plumbing & Mechanical Officials (IAPMO) as OG-100.
¨ | Drain Water Heat Recovery |  |  | A drain water heat recovery system that is field verified by a HERS Rater as specified in the Reference Appendix RA3.6.9 is being used to lower the required Solar Savings Fraction per §170.2(d)32CBii.
01 |  | 02 | 03 | 04 | 05
SRCC # or IAPMO File # |  | Certification # | Designed Solar Savings Fraction for OG-100 | Output from CEC's T24 SWH Calculator Attached1 | Field Inspector
[5 empty] | Pass | Fail
Dropdown See list below |  |  |  | Dropdown See list below | o | o
1 FOOTNOTES: Built-up SWH systems using OG-100 collectors must calculate the Designed Solar Savings Fraction using the SWH module in the CEC's CBECC software. The calculation output must be included within the permit application.
SRCC # or IAPMO File # dropdown |  |  |  | Dropdown for Output
SRCC # |  |  |  | Yes
IAPMO File #
Note on A5: 4.15.24: Always checked, not able to be modified
Note on A6: 2.15.22: If this box is checked it updates the required SSF in Table C column 05.
Note on D10: 3.14.22: H.03 transferres to C.06

## I. Tstat+EE
|  | User input |  | auto calculated | From another Table | From look up table
I. SMART THERMOSTATS AND ALTERNATIVE EFFICIENCY MEASURE FOR SOLAR READY EXCEPTION
This table indicates thermostats compliant with §110.12(a) have been specified and which additional energy efficiency measure has been included in the design for multifamily occupancies complying with Exception 4 to §110.10(b)1B.
01
Smart Thermostats
¨ | The contract documents clearly specify that all thermostats in each dwelling unit comply with §110.12(a) prior to granting of an occupancy permit by the enforcing agency.
Location in contract documents:
02
Alternative Efficiency Measure
In addition, my project consists of (check at least one):
¨ | Energy Star Appliances and EC Motor |  | The contract documents include an ENERGY STAR dishwasher AND EITHER an ENERGY STAR refrigerator OR a whole house fan driven by an electronically commutated motor.
¨ | Home Automation System |  | The contract documents include a home automation system that is capable of, at a minimum, controlling the appliances and lighting of the dwelling and responding to demand response signals.
¨ | Greywater irrigation system |  | The contract documents include alternative plumbing piping to permit the discharge from the clothes washer and all showers and bathtubs to be used for an irrigation system in compliance with the California Plumbing Code and any applicable local ordinances.
¨ | Rainwater Catchment System |  | The contract documents include a rainwater catchment system designed to comply with the California Plumbing Code and any applicable local ordinances, and that uses rainwater flowing from at least 65% of the available roof area.
¨ | Part 11: Electric Vehicle Charging Space |  | The contract documents demonstrate compliance with Title 24, Part 11, §A4.106.8.2 requirements for electric vehicle charging spaces.
Location in contract documents:
Note on A7: Sally Blair: when this box is checked AND the location in contract documents is indicated, Table C column 07 turns to "YES". It turns to "NO" if unchecked OR if the location in contract documents is blank.
Note on B12: Sally Blair: Depending on which box they check, this EE measure "name" will show up in Table C column 08.

## NRCC J. PV&Batt
|  | User input |  | auto calculated |  |  |  | From another Table | From look up table
J. PHOTOVOLTAIC (PV) AND BATTERY ENERGY STORAGE SYSTEMS
This table documents compliance with prescriptive photovoltaic and battery system requirements in §140.10/§170.2(g & h). Unless the project meets one of the listed exceptions or trades-off PV in an energy model using the performance path, §140.10/§170.2(g & h) requires installed photovoltaic and battery systems for newly constructed buildings. The installed PV systems must meet the minimum requirements in Joint Appendix 11. | [9 empty] | NR Eq 140.10-A (same as HRR Eq 170.2-D)
Photovoltaic (PV) System
Occupancy Type
01 | 02 | 03 | 04
Building Type Occupancy | Tenant Space Exception to Section 140.10(a) | Conditioned Floor Area (ft2) | Min Size of PV System Required (kWdc)
Dropdown | Dropdown
Total Min Size PV System Required for all Spaces (kWdc):
|  |  | Add Space Building Type | Remove Last
1 FOOTNOTES: Includes the area of the building’s roof space capable of structurally supporting a PV system, and the area of all roof space on covered parking areas, carports, and all other newly constructed structures on the site that are compatible with supporting a PV system per Title 24, Part 2, Section 1511.2.
2 Solar access must be determined using CEC approved solar access calculation tools found at: https://www.energy.ca.gov/programs-and-topics/programs/building-energy-efficiency-standards/solar-assessment-tools
3 As specified by CBC Section 503.1.4
Roof Type
01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 |  |  |  | CZ from A02, Bldg type from Col 01
Roof Name | Roof Slope | Area of New Roof1 (ft2) | Roof Area < 70% Solar Access2 (ft2) | Plansheet or Document showing Solar Access Calculations | Occupied Roof Area3 (ft2) | Solar Access Roof Area (SARA) (ft2) | Min capacity of PV System Required (kWdc)
|  |  | zero is acceptable |  | zero is acceptable | equals col03-col04-col06
Total Min Size PV System Required for all Roofs (kWdc):
Total Min Size PV System Required (kWdc):
Total Size PV System in Design (kWdc):
[6 empty] | Add Roof | Remove Last
Exception Dropdown
Tenant space < 2,000 ft2 of conditioned space
Tenant space served by an HVAC system that does not serve other tenant spaces in building
Occupancy Dropdown | Tenant space has individual utility meter to track electricity
Grocery | No approved community solar program
High-rise Multifamily | Utility does not support a virtual energy bill program
Financial Institution | NA
Office (NA CZ 1)
Unleased Tenant Space in Multitenant Building
Retail
School (NA CZ 1) | Roof Slope Dropdown
Warehouse (NA CZ 1) | <2:12
Auditorium Sports & Recreation | >= 2:12
Convention Center Events & Exhibits
Hotel/Motel
Library
Medical Office/Clinic
Restaurant
Theater Religious Worship
Battery Energy Storage System (BESS)
Installed battery energy storage systems must meet the minimum requirements in Joint Appendix JA12. + ADD CEC CERTIFIED BY JA12 control install requirements
01 | 02 | 03 | 04 | 05
Building Type Occupancy | Min Size of PV Applicable To Battery Sizing (kWdc) | Rated Single Charge-Discharge AC Efficiency of Battery System1 | Min Battery Rated Energy Capacity Required (kWh) | Min Power Capacity of Battery Required (kWdc)
from Col 01 above | from Col 0803 above |  | Equation 140.10-B is (CFA x B)/(1000 * col03^0.5) Equation 140.10-C is ((CFA x B)/(1000 * col03^0.5)) * (H20/D10) | equals Col04 / 4
Total Min Energy (kWh) and Power (kW) Capacity Required: |  |  | equals Sum Col04 for all spaces | equals Sum Col05 for all spaces
Total Energy (kWh) and Power (kW) Capacity in Design:
1 FOOTNOTE: Rated single charge-discharge cycle AC to AC (round-trip) efficiency of the battery storage system
Note on B8: Daemi, Sahar@Energy: Daemi, Sahar@Energy: The intend of adding this exception is to include all the following language in one exception, meaning that if you satisfy all the condition, then you are allowed to use exceptio. This tenant space is then qualified to be substracted from the whole CFA. So it should be one dropdown option.
Note on B9: Alexis Markstrum: If ALL of these are selected except NA, gray out rest of table for that row and do not include in 03 equation
Note on D9: Alexis Markstrum: Use Equation 140.10-A Eq 140.10-A is to the right. A depends on occupancy from col 01 & CZ from A02. CFA comes from col 02
Note on D10: 10.31.21: Equals - Sum col 03 for all spaces OR - 0 if Sum col 03 < 4
Note on F17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Alhabibi, Haider@Energy Please consider adding a column for the exception of SARA for roof area that is not available due to state and local building codes.
Note on F18: Saeed, Muhammad@Energy:
Note on H18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Change “size” to “capacity”
Note on B19: Daemi, Sahar@Energy: Should we write dropdown here?
Note on H19: 10.31.21: if Col 02 = <2:12, equals ((col 07 x 14)/1000) if Col 02 = >2:12, equals ((col 07 x 18)/1000)
Note on H20: 10.31.21: Equals - Sum col 08 for all roofs OR - 0 if Sum col 08 < 4 OR - 0 if Sum col 07 < 0.03 x Sum col 02 (CFA from Occupancy table) OR - 0 if Sum col 07 < 80
Note on H21: Alexis Markstrum: Take smaller of Occupancy Type table total (D10) and Roof Type table total (H20)
Note on B25: Daemi, Sahar@Energy: The intend of adding this exception is to include all the following language in one exception, meaning that if you satisfy all the condition, then you are allowed to use exceptio. This tenant space is then qualified to be substracted from the whole CFA.
Note on A46: Joe Singer: Triggered if "Total PV Required" above is >0 AND - Total Size of PV System in Design >= 0.15* sum(Min size of PV system required using Eq. 140.10-A) for all occupancies AND - Sum (PV table col 02) for all occupancies >= 5,000
Note on A47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Saeed, Muhammad@EnergyException 1 and 3 are here.
Note on A50: Alexis Markstrum: There should be one row per row from the Occupancy table
Note on D50: 10..31.21: If Equation 140.10-A (from Occupancy table) is the smaller PV capacity, then use Equation 140.10-B to the right If SARA equation (from Roof Type table) is the smaller PV capacity, then use Equation 140.10-C to the right Use Table 140.10-B for B factor based on Building Type in Col 01 of Occupancy table See Eq 140.10-B to the right & Table for B factors based on occupancy in Col01
Note on E50: 10.31.21: See Table 140.10-B to the right for C factors based on occupancy in Col01
Note on D51: 5.11.22: = 0 if calculated value is < 10 col 05 Min Required also = 0 if col04 < 10

## LMCC J. PV&Batt
|  | User input |  | auto calculated |  |  |  | From another Table |  |  | From look up table
J. PHOTOVOLTAIC (PV) SYSTEMS
This table documents compliance with prescriptive photovoltaic system requirements in §170.2(f). Unless the project meets one of the listed exceptions or trades-off PV in an energy model using the performance path, §170.2(f) requires installed photovoltaic systems for newly constructed buildings. The installed PV systems must meet the minimum requirements in Joint Appendix 11. | [11 empty] | Eq 170.2-C should be: ((CFA x A)/1000) + (Ndu x B)
Photovoltaic (PV) System
01 | 01 02 | 02 03 | 03 04 | 04 05 | 05 06 | 06 | 07 | 08 | 09 | 10
Roof Slope | Area of New Roof (with that slope)1 (ft2) | Roof Area < 70% Solar Access2 (ft2) | Plansheet or Document showing Solar Access Calculations | Occupied Roof Area3 (ft2) | Solar Access Roof Area (SARA) (ft2) | Max Size of PV system that will fit on SARA (kWdc) | # of Dwelling Units | Usable Capacity of Battery Storage4 (kWh) | Min Size of PV System Required (kWdc) | Size of PV system in Design (kWdc)
|  | zero is acceptable |  | zero is acceptable | equals col0102-col0203-col0405 |  |  | zero is acceptable
Total Min Size PV System Required for all Roofs (kWdc):
[9 empty] | Add Roof | Remove Last
1 FOOTNOTES: Includes the area of the building’s roof space capable of structurally supporting a PV system, and the area of all roof space on covered parking areas, carports, and all other newly constructed structures on the site that are compatible with supporting a PV system per Title 24, Part 2, Section 1511.2.
2 Solar access must be determined using CEC approved solar access calculation tools found at: https://www.energy.ca.gov/programs-and-topics/programs/building-energy-efficiency-standards/solar-assessment-tools
3 As specified by CBC Section 503.1.4
4 PV system sizes determined using Equation 170.2-C may be reduced by 25% if installed in conjunction with a battery storage system. The battery storage system shall meet the qualification requirements specified in Joint Appendix JA12 and have a minimum usable capacity of 7.5 kWh.
^ If J.08 >=7.5, reduce PV system size calc'd by Equation 170.2-C (in J.08) by 25% & trigger note 4 in Table D.
Roof Slope Dropdown
Photovoltaic (PV) System 01: <2:12 |  | CZ from A02 & CFA from A03
>2:12
Note on J7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Saeed, Muhammad@Energy I think column names are not correct, for example “If I.08>=7.5” Also ((A.03 * Aper Tabl 170.2-T)/1000 + H.07 * Bper Tabl 170.2-T), and CFA is not A.03. Reply: @Alhabibi, Haider@Energy
Note on J8: If J.08>=7.5: Then: equals minimum of: if Col 01 = <2:12, equals ((col 06 x 14)/1000) if Col 01 = >2:12, equals ((col 06 x 18)/1000) OR ((A.03 * Aper Equ 170.2-C)/1000 + J.07 * Bper Equ 170.2-C)*0.25 ELSE: equals minimum of: if Col 01 = <2:12, equals ((col 06 x 14)/1000) if Col 01 = >2:12, equals ((col 06 x 18)/1000) OR ((A.03 * Aper Equ 170.2-C)/1000 + J.07 * Bper Equ 170.2-C)
Note on J9: Equals - Sum col 09 for all roofs OR - 0 if Sum col 09 < 4 OR - 0 if Sum col 06 < 80

## K. NRCI
| User input |  |  | auto calculated | From another Table | From look up table
K. DECLARATION OF REQUIRED CERTIFICATES OF INSTALLATION
Selections have been made based on information provided in this document. If any selections have been changed by the permit applicant, an explanation should be included in Table E. Additional Remarks. These documents must be provided to the building inspector during construction and can be found online.
YES | NO | Form/Title | Field Inspector
|  |  | Pass | Fail
● |  | NRCI-SAB-E - Must be submitted for all buildings that must comply with solar readiness or PV/Battery requirements. | o | o
m | ● | NRCI-PLB-E - Must be submitted for all buildings that must comply with solar water heating requirements. | o | o
Note on A4: Need to update URL when available.
Note on A7: 10.31.21: Defaults to Yes and can not be changed to No.
Note on B8: 10.26.23: This form defaults to "No", but changes to "Yes" if solar water heating is selected in Table B.

## K. LMCI
| User input |  |  | auto calculated | From another Table | From look up table
K. DECLARATION OF REQUIRED CERTIFICATES OF INSTALLATION
Selections have been made based on information provided in this document. If any selections have been changed by the permit applicant, an explanation should be included in Table E. Additional Remarks. These documents must be provided to the building inspector during construction and can be found online.
YES | NO | Form/Title | Field Inspector
|  |  | Pass | Fail
● |  | LMCI-SAB-E - Must be submitted for all buildings that must comply with solar readiness or PV/Battery requirements. | o | o
m | ● | NRCI-PLB-E - Must be submitted for all buildings that must comply with solar water heating requirements. | o | o
Note on A4: Need to update URL when available.
Note on A7: 10.31.21: Defaults to Yes and can not be changed to No.
Note on B8: 10.26.23: This form defaults to "No", but changes to "Yes" if solar water heating is selected in Table B.

## L. NRCA
| User input | auto calculated | From another Table | From look up table
L. DECLARATION OF REQUIRED CERTIFICATES OF ACCEPTANCE
There are no Certificates of Acceptance applicable to solar readiness or PV/battery requirements.

## Signature
DOCUMENTATION AUTHOR'S DECLARATION STATEMENT
Documentation Author Name: | Documentation Author Signature:
Company: | Signature Date:
Address: | CEA/AEA/ECC HERS Certification Identification (if applicable):
City/State/Zip: | Phone:
RESPONSIBLE PERSON'S DECLARATION STATEMENT I certify the following under penalty of perjury, under the laws of the State of California: 1. The information provided on this Certificate of Compliance is true and correct. 2. I am eligible under Division 3 of the Business and Professions Code to accept responsibility for the building design or system design identified on this Certificate of Compliance (responsible designer) 3. The energy features and performance specifications, materials, components, and manufactured devices for the building design or system design identified on this Certificate of Compliance conform to the requirements of Title 24, Part 1 and Part 6 of the California Code of Regulations. 4. The building design features or system design features identified on this Certificate of Compliance are consistent with the information provided on other applicable compliance documents, worksheets, calculations, plans and specifications submitted to the enforcement agency for approval with this building permit application. 5. I will ensure that a completed signed copy of this Certificate of Compliance shall be made available with the building permit(s) issued for the building, and made available to the enforcement agency for all applicable inspections. I understand that a completed signed copy of this Certificate of Compliance is required to be included with the documentation the builder provides to the building owner at occupancy.
Responsible Designer Name: | Responsible Designer Signature:
Responsible Person Scope
Company: | Date Signed:
Address: | License:
City/State/Zip: | Phone:
Remove Last
Add Responsible Person